S11Table. Coefficient of variation (CV) values (%) for endocannabinoids in the fasting state and postprandial state (at 0.5, 1, 3 hours after the meal), and in quality control (QC) samples [32].

|  |  |  | Usual Diet |  |  | Modified Diet |  |  |  |  |  |  |  | QC1 8.10 ng/mL |  |  | QC2 325 pg/mL |  |  | QC3 64.9 pg/mL |  |  | QC4 8.11 pg/mL |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | baseline | 0.5 h |  | 1 h | 3 h |  | baseline |  | 0.5 h | 1 h | 3 h |  | intraday |  | interday | intraday |  | interday | intraday |  | interday | intraday |  | interday |
| 2AG | 34 | 49 |  | 135 | 51 |  | 95 |  | 20 | 65 | 43 |  | 7.7 |  | 6.8 | 0.8 |  | 5.5 | 4.8 |  | 5.5 | 7.9 |  | 9.5 |
| 2-LG | 55 | 67 |  | 61 | 24 |  | 41 |  | 18 | 44 | 18 |  | 7.9 |  | 5.3 | 2.9 |  | 11 | ND |  | ND | ND |  | ND |
| AEA | 32 | 21 |  | 27 | 51 |  | 44 |  | 27 | 28 | 24 |  | 0.9 |  | 8.5 | 6.5 |  | 12 | 11 |  | 19 | 6.8 |  | 8.8 |
| DEA | 48 | 50 |  | 42 | 59 |  | 22 |  | 31 | 13 | 35 |  | 2.3 |  | 9.5 | 2.5 |  | 6.6 | 3.9 |  | 8.6 | 9.8 |  | 9.5 |
| DHEA |  | 39 |  | 32 | 58 |  | 25 |  | 8 | 13 | 41 |  | 4.5 |  | 14 | 2.9 |  | 6.8 | 1.2 |  | 12 | ND |  | ND |
| LEA | 29 | 22 |  | 14 | 16 |  | 15 |  | 9 | 49 | 44 |  | 1.6 |  | 6.8 | 0.9 |  | 5.5 | 5.0 |  | 4.3 | 2.7 |  | 4.9 |
| NAGLy | 37 | 15 |  | 37 | 58 |  | 27 |  | 22 | 25 | 88 |  | 1.2 |  | 16 | 9.4 |  | 13 | 4.2 |  | 8.8 | 6.6 |  | 14 |
| OEA | 40 | 22 |  | 16 | 36 |  | 10 |  | 29 | 51 | 65 |  | 1.6 |  | 7.3 | 5.8 |  | 4.4 | 7.0 |  | 5.0 | 5.5 |  | 3.8 |
| PEA | 31 | 21 |  | 11 | 49 |  | 32 |  | 19 | 35 | 36 |  | 1.4 |  | 4.1 | 2.4 |  | 4.8 | 1.3 |  | 3.4 | 1.5 |  | 10 |
| POEA | 54 | 19 |  | 30 | 24 |  | 69 |  | 56 | 50 | 72 |  | 0.87 |  | 5.6 | 4.7 |  | 7.2 | 1.0 |  | 16 | 6.5 |  | 11 |
| SEA | 7 | 25 |  | 47 | 18 |  | 19 |  | 18 | 26 | 43 |  | 1.4 |  | 2.9 | 9.3 |  | 7.5 | 5.8 |  | 5.9 | 3.5 |  | 6.4 |