------------------------------------------------------------------

The pipeline tree:

------------------------------------------------------------------

|-(0) Spectrum Files

|-(1) Spectrum Selector

|-(3) Sequest HT

|-(4) Percolator

|-(2) Minora Feature Detector

------------------------------------------------------------------

Processing node 0: Spectrum Files

------------------------------------------------------------------

------------------------------------------------------------------

Processing node 1: Spectrum Selector

------------------------------------------------------------------

1. General Settings:

- Precursor Selection:  Use MS1 Precursor

- Use New Precursor Reevaluation:  True

- Use Isotope Pattern in Precursor Reevaluation:  True

2. Spectrum Properties Filter:

- Lower RT Limit:  0

- Upper RT Limit:  0

- First Scan:  0

- Last Scan:  0

- Lowest Charge State:  0

- Highest Charge State:  0

- Min. Precursor Mass:  350 Da

- Max. Precursor Mass:  5000 Da

- Total Intensity Threshold:  0

- Minimum Peak Count:  1

3. Scan Event Filters:

- MS Order:  Is Not MS1

- Min. Collision Energy:  0

- Max. Collision Energy:  1000

- Scan Type:  Is Full

4. Peak Filters:

- S/N Threshold (FT-only):  1.5

5. Replacements for Unrecognized Properties:

- Unrecognized Charge Replacements:  Automatic

- Unrecognized Mass Analyzer Replacements:  ITMS

- Unrecognized MS Order Replacements:  MS2

- Unrecognized Activation Type Replacements:  CID

- Unrecognized Polarity Replacements:  +

- Unrecognized MS Resolution@200 Replacements:  60000

- Unrecognized MSn Resolution@200 Replacements:  30000

6. Precursor Pattern Extraction:

- Precursor Clipping Range Before:  2.5 Da

- Precursor Clipping Range After:  5.5 Da

------------------------------------------------------------------

Processing node 3: Sequest HT

------------------------------------------------------------------

1. Input Data:

- Protein Database:

canSat3_genome.out.fasta

contaminants.fasta

finola1.out.fasta

Jamaican_Lion_polished_primary_181018.out.fasta

viridiplantae_reviewed_fasta.fasta

- Enzyme Name:  Trypsin (Full)

- Max. Missed Cleavage Sites:  2

- Min. Peptide Length:  6

- Max. Peptide Length:  150

- Max. Number of Peptides Reported:  10

2. Tolerances:

- Precursor Mass Tolerance:  10 ppm

- Fragment Mass Tolerance:  0.02 Da

- Use Average Precursor Mass:  False

- Use Average Fragment Mass:  False

3. Spectrum Matching:

- Use Neutral Loss a Ions:  True

- Use Neutral Loss b Ions:  True

- Use Neutral Loss y Ions:  True

- Use Flanking Ions:  True

- Weight of a Ions:  0

- Weight of b Ions:  1

- Weight of c Ions:  0

- Weight of x Ions:  0

- Weight of y Ions:  1

- Weight of z Ions:  0

4. Dynamic Modifications:

- Max. Equal Modifications Per Peptide:  3

- Max. Dynamic Modifications Per Peptide:  4

7. Static Modifications:

- 1. Static Modification:  Carbamidomethyl / +57.021 Da (C)

------------------------------------------------------------------

Processing node 4: Percolator

------------------------------------------------------------------

1. Input Data:

- Maximum Delta Cn:  0.05

- Maximum Rank:  0

2. Decoy Database Search:

- Target FDR (Strict):  0.01

- Target FDR (Relaxed):  0.05

- Validation based on:  q-Value

------------------------------------------------------------------

Processing node 2: Minora Feature Detector

------------------------------------------------------------------

1. Peak & Feature Detection:

- Min. Trace Length:  5

- Min. # Isotopes:  2 Peaks

- Max. ΔRT of Isotope Pattern Multiplets [min]:  0.2

2. Feature to ID Linking:

- PSM Confidence At Least:  High