## Week 0
Freeze-thaw cycling
Measurements
RAW values |  | OD620 (multiscan)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.089 | 0.084 | 0.086 | 0.377 | 0.367 | 0.361 | 0.367 | 0.356 | 0.343 | 0.358 | 0.361 | 0.364
B | 0.144 | 0.142 | 0.138 | 0.354 | 0.356 | 0.257 | 0.36 | 0.361 | 0.25 | 0.344 | 0.342 | 0.26
C | 0.199 | 0.208 | 0.193 | 0.38 | 0.351 | 0.395 | 0.373 | 0.339 | 0.373 | 0.353 | 0.324 | 0.37
D | 0.321 | 0.35 | 0.339 | 0.258 | 0.26 | 0.258 | 0.261 | 0.259 | 0.26 | 0.253 | 0.262 | 0.266
E | 0.467 | 0.537 | 0.498 | 0.14 | 0.141 | 0.137
F | 0.642 | 0.631 | 0.61
G | 0.797 | 0.799 | 0.73
H | 0.907 | 0.956 | 0.804
Pi calibration
Pi calibration
mass in detection reaction(pmol) | Rep1 | Rep2 | Rep3 | Average | Norm average (to 0) | Std | norm. std
0 | 0.089 | 0.084 | 0.086 | 0.086333 | 0 | 0.0025166 | 0.050166
300 | 0.144 | 0.142 | 0.138 | 0.14133 | 0.055 | 0.0030551 | 0.055273
600 | 0.199 | 0.208 | 0.193 | 0.2 | 0.11367 | 0.0075498 | 0.08689
1200 | 0.321 | 0.35 | 0.339 | 0.33667 | 0.25033 | 0.01464 | 0.121
2000 | 0.467 | 0.537 | 0.498 | 0.50067 | 0.41433 | 0.035076 | 0.18729
2500 | 0.642 | 0.631 | 0.61 | 0.62767 | 0.54133 | 0.016258 | 0.12751
3200 | 0.797 | 0.799 | 0.73 | 0.77533 | 0.689 | 0.039273 | 0.19817
4000 | 0.907 | 0.956 | 0.804 | 0.889 | 0.80267 | 0.077582 | 0.27854
Activity calculations
MarathonRT reaction |  | +RT |  |  | -RT |  |  | A620
Sample | *multiplication factor | Rep1 | Rep2 | Rep3 | Rep1 | Rep2 | Rep3 | average (+RT) | average - control (-RT) | (-)RT average
|  | -RT Rep1: 0.14; -RT Rep2: 0.141; -RT Rep3: 0.137 |  |  | 0.13933
MRT 0.6 µg (1) | 4 | 0.377 | 0.367 | 0.361 | 0.14 | 0.141 | 0.137 | 0.36833 | 0.229 | 0.13933
MRT 0.6 µg (2) | 4 | 0.367 | 0.356 | 0.343 | 0.14 | 0.141 | 0.137 | 0.35533 | 0.216 | 0.13933
MRT 0.6 µg (3) | 4 | 0.358 | 0.361 | 0.364 | 0.14 | 0.141 | 0.137 | 0.361 | 0.22167 | 0.13933
MRT-CBD 0.6 µg (1) | 4 | 0.38 | 0.351 | 0.395 | 0.14 | 0.141 | 0.137 | 0.37533 | 0.236 | 0.13933
MRT-CBD 0.6 µg (2) | 4 | 0.373 | 0.339 | 0.373 | 0.14 | 0.141 | 0.137 | 0.36167 | 0.22233 | 0.13933
MRT-CBD 0.6 µg (3) | 4 | 0.353 | 0.324 | 0.37 | 0.14 | 0.141 | 0.137 | 0.349 | 0.20967 | 0.13933
*Dilution factor of the reverse transcription reaction, that is pipetted to the multiwell plate for activity measurement.
from Pi calibration (0 not included)
Sample | result (from calibration) pmols Pi | Reaction time (min) | conc. PPi | nmol | Activity (U/rxn) | Enzyme conc. Used for assay (ug/uL) | Volume of enzyme used for assay (uL) | Activity (U/uL enzyme) | Activity (U/ug enzyme) | Average Activity (U/µg enzyme) | Average Activity (U/µL enzyme)
MRT 0.6 µg (1) | 1106.5617 | 60 | 2213.1233 | 2.2131 | 1.1066 | 0.6 | 1 | 1.1066 | 1.8443 | 1.7901 | 1.0741 |  | Regression values (0 not included)
MRT 0.6 µg (2) | 1044.2639 | 60 | 2088.5277 | 2.0885 | 1.0443 | 0.6 | 1 | 1.0443 | 1.7404 |  |  | slope | 0.00020868
MRT 0.6 µg (3) | 1071.4193 | 60 | 2142.8386 | 2.1428 | 1.0714 | 0.6 | 1 | 1.0714 | 1.7857 |  |  | intercept | -0.0019119
MRT-CBD 0.6 µg (1) | 1140.1066 | 60 | 2280.2133 | 2.2802 | 1.1401 | 0.6 | 1 | 1.1401 | 1.9002 | 1.7937 | 1.0762
MRT-CBD 0.6 µg (2) | 1074.6141 | 60 | 2149.2282 | 2.1492 | 1.0746 | 0.6 | 1 | 1.0746 | 1.791
MRT-CBD 0.6 µg (3) | 1013.9137 | 60 | 2027.8273 | 2.0278 | 1.0139 | 0.6 | 1 | 1.0139 | 1.6899

## Week 8 -20
Strored at -20°C
Pi calibration |  |  | OD620 (multiscan) | [9 empty] | RAW values
mass in detection reaction(pmol) | Rep1 | Rep2 | Rep3 | Average | Norm average (to 0) | Std | norm. std | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
0 | 0.078 | 0.076 | 0.076 | 0.076667 | 0 | 0.0011547 | 0.033981 | [5 empty] | A | 0.078 | 0.076 | 0.076 | 0.269 | 0.266 | 0.256 | 0.249 | 0.253 | 0.244
300 |  | 0.117 |  | 0.117 | 0.040333 | #DIV/0! | #DIV/0! | [5 empty] | B | 0.325 | 0.117 | 0.146 | 0.278 | 0.272 | 0.275 | 0.268 | 0.261 | 0.255
600 | 0.149 | 0.148 | 0.149 | 0.14867 | 0.072 | 0.00057735 | 0.024028 | [5 empty] | C | 0.149 | 0.148 | 0.149 | 0.266 | 0.282 | 0.272 | 0.278 | 0.269 | 0.272
1200 | 0.27 | 0.272 | 0.271 | 0.271 | 0.19433 | 0.001 | 0.031623 | [5 empty] | D | 0.27 | 0.272 | 0.271 | 0.269 | 0.263 | 0.259 | 0.256 | 0.26 | 0.255
2000 | 0.424 | 0.426 | 0.433 | 0.42767 | 0.351 | 0.0047258 | 0.068745 | [5 empty] | E | 0.424 | 0.426 | 0.433 | 0.27 | 0.292 | 0.287 | 0.307 | 0.311 | 0.309
2500 | 0.509 | 0.569 | 0.546 | 0.54133 | 0.46467 | 0.030271 | 0.17399 | [5 empty] | F | 0.509 | 0.569 | 0.546 | 0.302 | 0.275 | 0.278 | 0.273 | 0.278 | 0.271
3200 | 0.738 | 0.729 | 0.726 | 0.731 | 0.65433 | 0.006245 | 0.079025 | [5 empty] | G | 1: 0.738; 2: 0.729; 3: 0.726; 4: 0.113; 5: 0.11; 6: 0.111
4000 | 0.863 | 0.883 | 0.946 | 0.89733 | 0.82067 | 0.043317 | 0.20813 | [5 empty] | H | 1: 0.863; 2: 0.883; 3: 0.946
MarathonRT reaction |  | +RT |  |  | -RT |  |  | A620
Sample | multiplication factor | Rep1 | Rep2 | Rep3 | Rep1 | Rep2 | Rep3 | average (+RT) | average - control (-RT) | RT average
MRT 0.6 µg (1) | 4 | 0.278 | 0.272 | 0.275 | 0.113 | 0.11 | 0.111 | 0.275 | 0.16367 | 0.11133
MRT 0.6 µg (2) | 4 | 0.268 | 0.261 | 0.255 | 0.113 | 0.11 | 0.111 | 0.26133 | 0.15 | 0.11133
MRT-CBD 0.6 µg (1) | 4 | 0.302 | 0.275 | 0.278 | 0.113 | 0.11 | 0.111 | 0.285 | 0.17367 | 0.11133
MRT-CBD 0.6 µg (2) | 4 | 0.273 | 0.278 | 0.271 | 0.113 | 0.11 | 0.111 | 0.274 | 0.16267 | 0.11133
from Pi calibration (0 not included)
Sample | result (from calibration) pmols Pi | Reaction time (min) | conc. PPi | nmol | Activity (U/rxn) | Enzyme conc. Used for assay (ug/uL) | Volume of enzyme used for assay (uL) | Activity (U/uL enzyme) | Activity (U/ug enzyme) | Average Activity (U/µg enzyme) | Average Activity (U/µL enzyme)
MRT 0.6 µg (1) | 1009.1776 | 60 | 2018.3552 | 2.0184 | 1.0092 | 0.6 | 1 | 1.0092 | 1.682 | 1.6291 | 0.97747 |  | Regression values (0 not included)
MRT 0.6 µg (2) | 945.7641 | 60 | 1891.5281 | 1.8915 | 0.94576 | 0.6 | 1 | 0.94576 | 1.5763 |  |  | slope | 0.00021552
MRT-CBD 0.6 µg (1) | 1055.5778 | 60 | 2111.1555 | 2.1112 | 1.0556 | 0.6 | 1 | 1.0556 | 1.7593 | 1.7168 | 1.0301 | intercept | -0.053828
MRT-CBD 0.6 µg (2) | 1004.5376 | 60 | 2009.0752 | 2.0091 | 1.0045 | 0.6 | 1 | 1.0045 | 1.6742

## Week 8 -70
Strored at -70°C
Pi calibration |  |  | OD620 (multiscan) | [9 empty] | RAW values
mass in detection reaction(pmol) | Rep1 | Rep2 | Rep3 | Average | Norm average (to 0) | Std | norm. std | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
0 | 0.078 | 0.076 | 0.076 | 0.076667 | 0 | 0.0011547 | 0.033981 | [5 empty] | A | 0.078 | 0.076 | 0.076 | 0.269 | 0.266 | 0.256 | 0.249 | 0.253 | 0.244
300 |  | 0.117 |  | 0.117 | 0.040333 | #DIV/0! | #DIV/0! | [5 empty] | B | 0.325 | 0.117 | 0.146 | 0.278 | 0.272 | 0.275 | 0.268 | 0.261 | 0.255
600 | 0.149 | 0.148 | 0.149 | 0.14867 | 0.072 | 0.00057735 | 0.024028 | [5 empty] | C | 0.149 | 0.148 | 0.149 | 0.266 | 0.282 | 0.272 | 0.278 | 0.269 | 0.272
1200 | 0.27 | 0.272 | 0.271 | 0.271 | 0.19433 | 0.001 | 0.031623 | [5 empty] | D | 0.27 | 0.272 | 0.271 | 0.269 | 0.263 | 0.259 | 0.256 | 0.26 | 0.255
2000 | 0.424 | 0.426 | 0.433 | 0.42767 | 0.351 | 0.0047258 | 0.068745 | [5 empty] | E | 0.424 | 0.426 | 0.433 | 0.27 | 0.292 | 0.287 | 0.307 | 0.311 | 0.309
2500 | 0.509 | 0.569 | 0.546 | 0.54133 | 0.46467 | 0.030271 | 0.17399 | [5 empty] | F | 0.509 | 0.569 | 0.546 | 0.302 | 0.275 | 0.278 | 0.273 | 0.278 | 0.271
3200 | 0.738 | 0.729 | 0.726 | 0.731 | 0.65433 | 0.006245 | 0.079025 | [5 empty] | G | 1: 0.738; 2: 0.729; 3: 0.726; 4: 0.113; 5: 0.11; 6: 0.111
4000 | 0.863 | 0.883 | 0.946 | 0.89733 | 0.82067 | 0.043317 | 0.20813 | [5 empty] | H | 1: 0.863; 2: 0.883; 3: 0.946
MarathonRT reaction |  | +RT |  |  | -RT |  |  | A620
Sample | multiplication factor | Rep1 | Rep2 | Rep3 | Rep1 | Rep2 | Rep3 | average (+RT) | average - control (-RT) | RT average
MRT 0.6 µg (1) | 4 | 0.269 | 0.266 | 0.256 | 0.113 | 0.11 | 0.111 | 0.26367 | 0.15233 | 0.11133
MRT 0.6 µg (2) | 4 | 0.249 | 0.253 | 0.244 | 0.113 | 0.11 | 0.111 | 0.24867 | 0.13733 | 0.11133
MRT-CBD 0.6 µg (1) | 4 | 0.27 | 0.292 | 0.287 | 0.113 | 0.11 | 0.111 | 0.283 | 0.17167 | 0.11133
MRT-CBD 0.6 µg (2) | 4 | 0.307 | 0.311 | 0.309 | 0.113 | 0.11 | 0.111 | 0.309 | 0.19767 | 0.11133
from Pi calibration (0 not included)
Sample | result (from calibration) pmols Pi | Reaction time (min) | conc. PPi | nmol | Activity (U/rxn) | Enzyme conc. Used for assay (ug/uL) | Volume of enzyme used for assay (uL) | Activity (U/uL enzyme) | Activity (U/ug enzyme) | Average Activity (U/µg enzyme) | Average Activity (U/µL enzyme)
MRT 0.6 µg (1) | 956.5908 | 60 | 1913.1815 | 1.9132 | 0.95659 | 0.6 | 1 | 0.95659 | 1.5943 | 1.5363 | 0.92179 |  | Regression values (0 not included)
MRT 0.6 µg (2) | 886.9905 | 60 | 1773.981 | 1.774 | 0.88699 | 0.6 | 1 | 0.88699 | 1.4783 |  |  | slope | 0.00021552
MRT-CBD 0.6 µg (1) | 1046.2977 | 60 | 2092.5955 | 2.0926 | 1.0463 | 0.6 | 1 | 1.0463 | 1.7438 | 1.8444 | 1.1066 | intercept | -0.053828
MRT-CBD 0.6 µg (2) | 1166.9382 | 60 | 2333.8763 | 2.3339 | 1.1669 | 0.6 | 1 | 1.1669 | 1.9449

## Week 12 -20
Strored at -20°C
Pi calibration |  |  | OD620 (multiscan) | [9 empty] | RAW values | [12 empty] | RAW values
mass in detection reaction(pmol) | Rep1 | Rep2 | Rep3 | Average | Norm average (to 0) | Std | norm. std | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
0 | 0.074 | 0.076 | 0.075 | 0.075 | 0 | 0.001 | 0.031623 | [5 empty] | A | 0.248 | 0.269 | 0.264 | 0.262 | 0.263 | 0.259 | 0.264 | 0.258 | 0.26 | 0.257 | 0.258 | 0.261 | A | 0,074 | 0,076 | 0,075
300 | 0.113 | 0.109 | 0.111 | 0.111 | 0.036 | 0.002 | 0.044721 | [5 empty] | B | 0.269 | 0.284 | 0.277 | 0.283 | 0.272 | 0.274 | 0.243 | 0.248 | 0.247 | 0.242 | 0.238 | 0.241 | B | 0,113 | 0,109 | 0,111
600 | 0.158 | 0.155 | 0.154 | 0.15567 | 0.080667 | 0.0020817 | 0.045625 | [5 empty] | C | 0.234 | 0.234 | 0.233 | 0.239 | 0.242 | 0.247 | 0.264 | 0.269 | 0.263 | 0.261 | 0.263 | 0.263 | C | 0,158 | 0,155 | 0,154
1200 | 0.278 | 0.268 | 0.269 | 0.27167 | 0.19667 | 0.0055076 | 0.074213 | [5 empty] | D | 0.266 | 0.261 | 0.259 | 0.255 | 0.258 | 0.259 | 0.251 | 0.245 | 0.244 | 0.241 | 0.238 | 0.237 | D | 0,278 | 0,268 | 0,269
2000 | 0.427 | 0.442 | 0.445 | 0.438 | 0.363 | 0.0096437 | 0.098202 | [5 empty] | E | 0.264 | 0.265 | 0.261 | 0.264 | 0.266 | 0.265 | 0.101 | 0.101 | 0.1 |  |  |  | E | 0,427 | 0,442 | 0,445
2500 | 0.518 | 0.523 | 0.542 | 0.52767 | 0.45267 | 0.012662 | 0.11253 | [5 empty] | F | [12 empty] | F | 0,518 | 0,523 | 0,542
3200 | 0.632 | 0.686 | 0.682 | 0.66667 | 0.59167 | 0.030089 | 0.17346 | [5 empty] | G | [12 empty] | G | 0,632 | 0,686 | 0,682
4000 | 0.851 | 0.842 | 0.862 | 0.85167 | 0.77667 | 0.010017 | 0.10008 | [5 empty] | H | [12 empty] | H | 0,851 | 0,842 | 0,862
MarathonRT reaction |  | +RT |  |  | -RT |  |  | A620
Sample | multiplication factor | Rep1 | Rep2 | Rep3 | Rep1 | Rep2 | Rep3 | average (+RT) | average - control (-RT) | RT average
MRT 0.6 µg (1) | 4 | 0.243 | 0.248 | 0.247 | 0.101 | 0.101 | 0.1 | 0.246 | 0.14533 | 0.10067
MRT 0.6 µg (2) | 4 | 0.242 | 0.238 | 0.241 | 0.101 | 0.101 | 0.1 | 0.24033 | 0.13967 | 0.10067
MRT-CBD 0.6 µg (1) | 4 | 0.264 | 0.269 | 0.263 | 0.101 | 0.101 | 0.1 | 0.26533 | 0.16467 | 0.10067
MRT-CBD 0.6 µg (2) | 4 | 0.261 | 0.263 | 0.263 | 0.101 | 0.101 | 0.1 | 0.26233 | 0.16167 | 0.10067
from Pi calibration (0 not included)
Sample | result (from calibration) pmols Pi | Reaction time (min) | conc. PPi | nmol | Activity (U/rxn) | Enzyme conc. Used for assay (ug/uL) | Volume of enzyme used for assay (uL) | Activity (U/uL enzyme) | Activity (U/ug enzyme) | Average Activity (U/µg enzyme) | Average Activity (U/µL enzyme)
MRT 0.6 µg (1) | 911.7705 | 60 | 1823.5409 | 1.8235 | 0.91177 | 0.6 | 1 | 0.91177 | 1.5196 | 1.496 | 0.89757 |  | Regression values (0 not included)
MRT 0.6 µg (2) | 883.3697 | 60 | 1766.7394 | 1.7667 | 0.88337 | 0.6 | 1 | 0.88337 | 1.4723 |  |  | slope | 0.00019953
MRT-CBD 0.6 µg (1) | 1008.6671 | 60 | 2017.3343 | 2.0173 | 1.0087 | 0.6 | 1 | 1.0087 | 1.6811 | 1.6686 | 1.0011 | intercept | -0.036588
MRT-CBD 0.6 µg (2) | 993.6314 | 60 | 1987.2629 | 1.9873 | 0.99363 | 0.6 | 1 | 0.99363 | 1.6561

## Week 12 -70
Strored at -70°C
Pi calibration |  |  | OD620 (multiscan) | [9 empty] | RAW values | [12 empty] | RAW values
mass in detection reaction(pmol) | Rep1 | Rep2 | Rep3 | Average | Norm average (to 0) | Std | norm. std | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
0 | 0.074 | 0.076 | 0.075 | 0.075 | 0 | 0.001 | 0.031623 | [5 empty] | A | 0.248 | 0.269 | 0.264 | 0.262 | 0.263 | 0.259 | 0.264 | 0.258 | 0.26 | 0.257 | 0.258 | 0.261 | A | 0,074 | 0,076 | 0,075
300 | 0.113 | 0.109 | 0.111 | 0.111 | 0.036 | 0.002 | 0.044721 | [5 empty] | B | 0.269 | 0.284 | 0.277 | 0.283 | 0.272 | 0.274 | 0.243 | 0.248 | 0.247 | 0.242 | 0.238 | 0.241 | B | 0,113 | 0,109 | 0,111
600 | 0.158 | 0.155 | 0.154 | 0.15567 | 0.080667 | 0.0020817 | 0.045625 | [5 empty] | C | 0.234 | 0.234 | 0.233 | 0.239 | 0.242 | 0.247 | 0.264 | 0.269 | 0.263 | 0.261 | 0.263 | 0.263 | C | 0,158 | 0,155 | 0,154
1200 | 0.278 | 0.268 | 0.269 | 0.27167 | 0.19667 | 0.0055076 | 0.074213 | [5 empty] | D | 0.266 | 0.261 | 0.259 | 0.255 | 0.258 | 0.259 | 0.251 | 0.245 | 0.244 | 0.241 | 0.238 | 0.237 | D | 0,278 | 0,268 | 0,269
2000 | 0.427 | 0.442 | 0.445 | 0.438 | 0.363 | 0.0096437 | 0.098202 | [5 empty] | E | 0.264 | 0.265 | 0.261 | 0.264 | 0.266 | 0.265 | 0.101 | 0.101 | 0.1 |  |  |  | E | 0,427 | 0,442 | 0,445
2500 | 0.518 | 0.523 | 0.542 | 0.52767 | 0.45267 | 0.012662 | 0.11253 | [5 empty] | F | [12 empty] | F | 0,518 | 0,523 | 0,542
3200 | 0.632 | 0.686 | 0.682 | 0.66667 | 0.59167 | 0.030089 | 0.17346 | [5 empty] | G | [12 empty] | G | 0,632 | 0,686 | 0,682
4000 | 0.851 | 0.842 | 0.862 | 0.85167 | 0.77667 | 0.010017 | 0.10008 | [5 empty] | H | [12 empty] | H | 0,851 | 0,842 | 0,862
MarathonRT reaction |  | +RT |  |  | -RT |  |  | A620
Sample | multiplication factor | Rep1 | Rep2 | Rep3 | Rep1 | Rep2 | Rep3 | average (+RT) | average - control (-RT) | RT average
MRT 0.6 µg (1) | 4 | 0.248 | 0.269 | 0.264 | 0.101 | 0.101 | 0.1 | 0.26033 | 0.15967 | 0.10067
MRT 0.6 µg (2) | 4 | 0.262 | 0.263 | 0.259 | 0.101 | 0.101 | 0.1 | 0.26133 | 0.16067 | 0.10067
MRT-CBD 0.6 µg (1) | 4 | 0.269 | 0.284 | 0.277 | 0.101 | 0.101 | 0.1 | 0.27667 | 0.176 | 0.10067
MRT-CBD 0.6 µg (2) | 4 | 0.283 | 0.272 | 0.274 | 0.101 | 0.101 | 0.1 | 0.27633 | 0.17567 | 0.10067
from Pi calibration (0 not included)
Sample | result (from calibration) pmols Pi | Reaction time (min) | conc. PPi | nmol | Activity (U/rxn) | Enzyme conc. Used for assay (ug/uL) | Volume of enzyme used for assay (uL) | Activity (U/uL enzyme) | Activity (U/ug enzyme) | Average Activity (U/µg enzyme) | Average Activity (U/µL enzyme)
MRT 0.6 µg (1) | 983.6076 | 60 | 1967.2153 | 1.9672 | 0.98361 | 0.6 | 1 | 0.98361 | 1.6393 | 1.6435 | 0.98611 |  | Regression values (0 not included)
MRT 0.6 µg (2) | 988.6195 | 60 | 1977.2391 | 1.9772 | 0.98862 | 0.6 | 1 | 0.98862 | 1.6477 |  |  | slope | 0.00019953
MRT-CBD 0.6 µg (1) | 1065.4686 | 60 | 2130.9372 | 2.1309 | 1.0655 | 0.6 | 1 | 1.0655 | 1.7758 | 1.7744 | 1.0646 | intercept | -0.036588
MRT-CBD 0.6 µg (2) | 1063.798 | 60 | 2127.596 | 2.1276 | 1.0638 | 0.6 | 1 | 1.0638 | 1.773

## Week 16 -20
Strored at -20°C
Pi calibration |  |  | OD620 (multiscan) | [9 empty] | RAW values
mass in detection reaction(pmol) | Rep1 | Rep2 | Rep3 | Average | Norm average (to 0) | Std | norm. std | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
0 | 0.079 | 0.076 | 0.077 | 0.077333 | 0 | 0.0015275 | 0.039084 | [5 empty] | A | 0.079 | 0.076 | 0.077 | 0.262 | 0.239 | 0.254 | 0.257 | 0.258 | 0.265 | 0.239 | 0.227 | 0.229
300 | 0.121 | 0.124 | 0.122 | 0.12233 | 0.045 | 0.0015275 | 0.039084 | [5 empty] | B | 0.121 | 0.124 | 0.122 | 0.247 | 0.246 | 0.245 | 0.278 | 0.284 | 0.276 | 0.282 | 0.276 | 0.279
600 | 0.166 | 0.171 | 0.165 | 0.16733 | 0.09 | 0.0032146 | 0.056697 | [5 empty] | C | 0.166 | 0.171 | 0.165 | 0.256 | 0.256 | 0.253 | 0.266 | 0.261 | 0.257 | 0.248 | 0.251 | 0.25
1200 | 0.284 | 0.283 | 0.282 | 0.283 | 0.20567 | 0.001 | 0.031623 | [5 empty] | D | 0.284 | 0.283 | 0.282 | 0.246 | 0.244 | 0.244 | 0.274 | 0.267 | 0.266 | 0.259 | 0.271 | 0.263
2000 | 0.461 | 0.44 | 0.444 | 0.44833 | 0.371 | 0.01115 | 0.1056 | [5 empty] | E | 0.461 | 0.44 | 0.444 | 0.276 | 0.278 | 0.28 | 0.283 | 0.273 | 0.277 | 0.264 | 0.272 | 0.265
2500 | 0.613 | 0.582 | 0.603 | 0.59933 | 0.522 | 0.015822 | 0.12579 | [5 empty] | F | 0.613 | 0.582 | 0.603 | 0.252 | 0.257 | 0.252 | 0.279 | 0.27 | 0.267 | 0.27 | 0.265 | 0.272
3200 | 0.765 | 0.643 | 0.742 | 0.71667 | 0.63933 | 0.064825 | 0.25461 | [5 empty] | G | 1: 0.765; 2: 0.643; 3: 0.742; 4: 0.114; 5: 0.107; 6: 0.109
4000 | 0.926 | 0.959 | 0.922 | 0.93567 | 0.85833 | 0.020306 | 0.1425 | [5 empty] | H | 1: 0.926; 2: 0.959; 3: 0.922
MarathonRT reaction |  | +RT |  |  | -RT |  |  | A620
Sample | multiplication factor | Rep1 | Rep2 | Rep3 | Rep1 | Rep2 | Rep3 | average (+RT) | average - control (-RT) | RT average
MRT 0.6 µg (1) | 4 | 0.239 | 0.227 | 0.229 | 0.114 | 0.107 | 0.109 | 0.23167 | 0.12167 | 0.11
MRT 0.6 µg (2) | 4 | 0.247 | 0.246 | 0.245 | 0.114 | 0.107 | 0.109 | 0.246 | 0.136 | 0.11
MRT-CBD 0.6 µg (1) | 4 | 0.264 | 0.272 | 0.265 | 0.114 | 0.107 | 0.109 | 0.267 | 0.157 | 0.11
MRT-CBD 0.6 µg (2) | 4 | 0.252 | 0.257 | 0.252 | 0.114 | 0.107 | 0.109 | 0.25367 | 0.14367 | 0.11
from Pi calibration (0 not included)
Sample | result (from calibration) pmols Pi | Reaction time (min) | conc. PPi | nmol | Activity (U/rxn) | Enzyme conc. Used for assay (ug/uL) | Volume of enzyme used for assay (uL) | Activity (U/uL enzyme) | Activity (U/ug enzyme) | Average Activity (U/µg enzyme) | Average Activity (U/µL enzyme)
MRT 0.6 µg (1) | 749.6375 | 60 | 1499.275 | 1.4993 | 0.74964 | 0.6 | 1 | 0.74964 | 1.2494 | 1.3037 | 0.78225 |  | Regression values (0 not included)
MRT 0.6 µg (2) | 814.8546 | 60 | 1629.7092 | 1.6297 | 0.81485 | 0.6 | 1 | 0.81485 | 1.3581 |  |  | slope | 0.00021978
MRT-CBD 0.6 µg (1) | 910.4052 | 60 | 1820.8104 | 1.8208 | 0.91041 | 0.6 | 1 | 0.91041 | 1.5173 | 1.4668 | 0.88007 | intercept | -0.043088
MRT-CBD 0.6 µg (2) | 849.7381 | 60 | 1699.4763 | 1.6995 | 0.84974 | 0.6 | 1 | 0.84974 | 1.4162

## Week 16 -70
Strored at -70°C
Pi calibration |  |  | OD620 (multiscan) | [9 empty] | RAW values
mass in detection reaction(pmol) | Rep1 | Rep2 | Rep3 | Average | Norm average (to 0) | Std | norm. std | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
0 | 0.079 | 0.076 | 0.077 | 0.077333 | 0 | 0.0015275 | 0.039084 | [5 empty] | A | 0.079 | 0.076 | 0.077 | 0.262 | 0.239 | 0.254 | 0.257 | 0.258 | 0.265 | 0.239 | 0.227 | 0.229
300 | 0.121 | 0.124 | 0.122 | 0.12233 | 0.045 | 0.0015275 | 0.039084 | [5 empty] | B | 0.121 | 0.124 | 0.122 | 0.247 | 0.246 | 0.245 | 0.278 | 0.284 | 0.276 | 0.282 | 0.276 | 0.279
600 | 0.166 | 0.171 | 0.165 | 0.16733 | 0.09 | 0.0032146 | 0.056697 | [5 empty] | C | 0.166 | 0.171 | 0.165 | 0.256 | 0.256 | 0.253 | 0.266 | 0.261 | 0.257 | 0.248 | 0.251 | 0.25
1200 | 0.284 | 0.283 | 0.282 | 0.283 | 0.20567 | 0.001 | 0.031623 | [5 empty] | D | 0.284 | 0.283 | 0.282 | 0.246 | 0.244 | 0.244 | 0.274 | 0.267 | 0.266 | 0.259 | 0.271 | 0.263
2000 | 0.461 | 0.44 | 0.444 | 0.44833 | 0.371 | 0.01115 | 0.1056 | [5 empty] | E | 0.461 | 0.44 | 0.444 | 0.276 | 0.278 | 0.28 | 0.283 | 0.273 | 0.277 | 0.264 | 0.272 | 0.265
2500 | 0.613 | 0.582 | 0.603 | 0.59933 | 0.522 | 0.015822 | 0.12579 | [5 empty] | F | 0.613 | 0.582 | 0.603 | 0.252 | 0.257 | 0.252 | 0.279 | 0.27 | 0.267 | 0.27 | 0.265 | 0.272
3200 | 0.765 | 0.643 | 0.742 | 0.71667 | 0.63933 | 0.064825 | 0.25461 | [5 empty] | G | 1: 0.765; 2: 0.643; 3: 0.742; 4: 0.114; 5: 0.107; 6: 0.109
4000 | 0.926 | 0.959 | 0.922 | 0.93567 | 0.85833 | 0.020306 | 0.1425 | [5 empty] | H | 1: 0.926; 2: 0.959; 3: 0.922
MarathonRT reaction |  | +RT |  |  | -RT |  |  | A620
Sample | multiplication factor | Rep1 | Rep2 | Rep3 | Rep1 | Rep2 | Rep3 | average (+RT) | average - control (-RT) | RT average
MRT 0.6 µg (1) | 4 | 0.262 | 0.239 | 0.254 | 0.114 | 0.107 | 0.109 | 0.25167 | 0.14167 | 0.11
MRT 0.6 µg (2) | 4 | 0.257 | 0.258 | 0.265 | 0.114 | 0.107 | 0.109 | 0.26 | 0.15 | 0.11
MRT-CBD 0.6 µg (1) | 4 | 0.276 | 0.278 | 0.28 | 0.114 | 0.107 | 0.109 | 0.278 | 0.168 | 0.11
MRT-CBD 0.6 µg (2) | 4 | 0.283 | 0.273 | 0.277 | 0.114 | 0.107 | 0.109 | 0.27767 | 0.16767 | 0.11
from Pi calibration (0 not included)
Sample | result (from calibration) pmols Pi | Reaction time (min) | conc. PPi | nmol | Activity (U/rxn) | Enzyme conc. Used for assay (ug/uL) | Volume of enzyme used for assay (uL) | Activity (U/uL enzyme) | Activity (U/ug enzyme) | Average Activity (U/µg enzyme) | Average Activity (U/µL enzyme)
MRT 0.6 µg (1) | 840.6381 | 60 | 1681.2762 | 1.6813 | 0.84064 | 0.6 | 1 | 0.84064 | 1.4011 | 1.4327 | 0.8596 |  | Regression values (0 not included)
MRT 0.6 µg (2) | 878.555 | 60 | 1757.11 | 1.7571 | 0.87855 | 0.6 | 1 | 0.87855 | 1.4643 |  |  | slope | 0.00021978
MRT-CBD 0.6 µg (1) | 960.4555 | 60 | 1920.911 | 1.9209 | 0.96046 | 0.6 | 1 | 0.96046 | 1.6008 | 1.5995 | 0.9597 | intercept | -0.043088
MRT-CBD 0.6 µg (2) | 958.9388 | 60 | 1917.8777 | 1.9179 | 0.95894 | 0.6 | 1 | 0.95894 | 1.5982

## Week 20 -20
Strored at -20°C
Pi calibration |  |  | OD620 (multiscan) | [9 empty] | RAW values
mass in detection reaction(pmol) | Rep1 | Rep2 | Rep3 | Average | Norm average (to 0) | Std | norm. std | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
0 | 0.076 | 0.076 | 0.076 | 0.076 | 0 | 0 | 0 | [5 empty] | A | 0.076 | 0.076 | 0.076 | 0.249 | 0.244 | 0.246 | 0.243 | 0.237 | 0.242
300 | 0.116 | 0.119 | 0.119 | 0.118 | 0.042 | 0.0017321 | 0.041618 | [5 empty] | B | 0.116 | 0.119 | 0.119 | 0.234 | 0.232 | 0.231 | 0.235 | 0.235 | 0.237
600 | 0.165 | 0.164 | 0.168 | 0.16567 | 0.089667 | 0.0020817 | 0.045625 | [5 empty] | C | 0.165 | 0.164 | 0.168 | 0.238 | 0.24 | 0.24 | 0.243 | 0.247 | 0.248
1200 | 0.288 | 0.289 | 0.294 | 0.29033 | 0.21433 | 0.0032146 | 0.056697 | [5 empty] | D | 0.288 | 0.289 | 0.294 | 0.228 | 0.227 | 0.223 | 0.228 | 0.227 | 0.221
2000 | 0.465 | 0.474 | 0.469 | 0.46933 | 0.39333 | 0.0045092 | 0.067151 | [5 empty] | E | 0.465 | 0.474 | 0.469 | 0.264 | 0.261 | 0.259 | 0.263 | 0.269 | 0.268
2500 | 0.57 | 0.558 | 0.576 | 0.568 | 0.492 | 0.0091652 | 0.095735 | [5 empty] | F | 0.57 | 0.558 | 0.576 | 0.26 | 0.265 | 0.257 | 0.264 | 0.265 | 0.265
3200 | 0.727 | 0.681 | 0.72 | 0.70933 | 0.63333 | 0.024786 | 0.15743 | [5 empty] | G | 1: 0.727; 2: 0.681; 3: 0.72; 4: 0.106; 5: 0.108; 6: 0.106
4000 | 0.841 |  | 0.809 | 0.825 | 0.749 | 0.022627 | 0.15042 | [5 empty] | H | 1: 0.841; 2: 0.773; 3: 0.809
MarathonRT reaction |  | +RT |  |  | -RT |  |  | A620
Sample | multiplication factor | Rep1 | Rep2 | Rep3 | Rep1 | Rep2 | Rep3 | average (+RT) | average - control (-RT) | RT average
MRT 0.6 µg (1) | 4 | 0.234 | 0.232 | 0.231 | 0.106 | 0.108 | 0.106 | 0.23233 | 0.12567 | 0.10667
MRT 0.6 µg (2) | 4 | 0.235 | 0.235 | 0.237 | 0.106 | 0.108 | 0.106 | 0.23567 | 0.129 | 0.10667
MRT-CBD 0.6 µg (1) | 4 | 0.26 | 0.265 | 0.257 | 0.106 | 0.108 | 0.106 | 0.26067 | 0.154 | 0.10667
MRT-CBD 0.6 µg (2) | 4 | 0.264 | 0.265 | 0.265 | 0.106 | 0.108 | 0.106 | 0.26467 | 0.158 | 0.10667
from Pi calibration (0 not included)
Sample | result (from calibration) pmols Pi | Reaction time (min) | conc. PPi | nmol | Activity (U/rxn) | Enzyme conc. Used for assay (ug/uL) | Volume of enzyme used for assay (uL) | Activity (U/uL enzyme) | Activity (U/ug enzyme) | Average Activity (U/µg enzyme) | Average Activity (U/µL enzyme) |  |  |  |  | St.dev.
MRT 0.6 µg (1) | 719.0827 | 60 | 1438.1655 | 1.4382 | 0.71908 | 0.6 | 1 | 0.71908 | 1.1985 | 1.2125 | 0.72751 |  | Regression values (0 not included) |  |  | 0.01986
MRT 0.6 µg (2) | 735.9347 | 60 | 1471.8695 | 1.4719 | 0.73593 | 0.6 | 1 | 0.73593 | 1.2266 |  |  | slope | 0.0001978
MRT-CBD 0.6 µg (1) | 862.3249 | 60 | 1724.6498 | 1.7246 | 0.86232 | 0.6 | 1 | 0.86232 | 1.4372 | 1.4541 | 0.87244 | intercept | -0.016568 |  |  | 0.023832
MRT-CBD 0.6 µg (2) | 882.5473 | 60 | 1765.0946 | 1.7651 | 0.88255 | 0.6 | 1 | 0.88255 | 1.4709

## Week 20 -70
Strored at -70°C
Pi calibration |  |  | OD620 (multiscan) | [9 empty] | RAW values
mass in detection reaction(pmol) | Rep1 | Rep2 | Rep3 | Average | Norm average (to 0) | Std | norm. std | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
0 | 0.076 | 0.076 | 0.076 | 0.076 | 0 | 0 | 0 | [5 empty] | A | 0.076 | 0.076 | 0.076 | 0.249 | 0.244 | 0.246 | 0.243 | 0.237 | 0.242
300 | 0.116 | 0.119 | 0.119 | 0.118 | 0.042 | 0.0017321 | 0.041618 | [5 empty] | B | 0.116 | 0.119 | 0.119 | 0.234 | 0.232 | 0.231 | 0.235 | 0.235 | 0.237
600 | 0.165 | 0.164 | 0.168 | 0.16567 | 0.089667 | 0.0020817 | 0.045625 | [5 empty] | C | 0.165 | 0.164 | 0.168 | 0.238 | 0.24 | 0.24 | 0.243 | 0.247 | 0.248
1200 | 0.288 | 0.289 | 0.294 | 0.29033 | 0.21433 | 0.0032146 | 0.056697 | [5 empty] | D | 0.288 | 0.289 | 0.294 | 0.228 | 0.227 | 0.223 | 0.228 | 0.227 | 0.221
2000 | 0.465 | 0.474 | 0.469 | 0.46933 | 0.39333 | 0.0045092 | 0.067151 | [5 empty] | E | 0.465 | 0.474 | 0.469 | 0.264 | 0.261 | 0.259 | 0.263 | 0.269 | 0.268
2500 | 0.57 | 0.558 | 0.576 | 0.568 | 0.492 | 0.0091652 | 0.095735 | [5 empty] | F | 0.57 | 0.558 | 0.576 | 0.26 | 0.265 | 0.257 | 0.264 | 0.265 | 0.265
3200 | 0.727 | 0.681 | 0.72 | 0.70933 | 0.63333 | 0.024786 | 0.15743 | [5 empty] | G | 1: 0.727; 2: 0.681; 3: 0.72; 4: 0.106; 5: 0.108; 6: 0.106
4000 | 0.841 | 0.773 | 0.809 | 0.80767 | 0.73167 | 0.03402 | 0.18444 | [5 empty] | H | 1: 0.841; 2: 0.773; 3: 0.809
MarathonRT reaction |  | +RT |  |  | -RT |  |  | A620
Sample | multiplication factor | Rep1 | Rep2 | Rep3 | Rep1 | Rep2 | Rep3 | average (+RT) | average - control (-RT) | RT average
MRT 0.6 µg (1) | 4 | 0.249 | 0.244 | 0.246 | 0.106 | 0.108 | 0.106 | 0.24633 | 0.13967 | 0.10667
MRT 0.6 µg (2) | 4 | 0.243 | 0.237 | 0.242 | 0.106 | 0.108 | 0.106 | 0.24067 | 0.134 | 0.10667
MRT-CBD 0.6 µg (1) | 4 | 0.264 | 0.261 | 0.259 | 0.106 | 0.108 | 0.106 | 0.26133 | 0.15467 | 0.10667
MRT-CBD 0.6 µg (2) | 4 | 0.263 | 0.269 | 0.268 | 0.106 | 0.108 | 0.106 | 0.26667 | 0.16 | 0.10667
from Pi calibration (0 not included)
Sample | result (from calibration) pmols Pi | Reaction time (min) | conc. PPi | nmol | Activity (U/rxn) | Enzyme conc. Used for assay (ug/uL) | Volume of enzyme used for assay (uL) | Activity (U/uL enzyme) | Activity (U/ug enzyme) | Average Activity (U/µg enzyme) | Average Activity (U/µL enzyme) |  |  |  |  | St.dev.
MRT 0.6 µg (1) | 783.4815 | 60 | 1566.9631 | 1.567 | 0.78348 | 0.6 | 1 | 0.78348 | 1.3058 | 1.2815 | 0.76893 |  | Regression values (0 not included) |  |  | 0.034308
MRT 0.6 µg (2) | 754.37 | 60 | 1508.74 | 1.5087 | 0.75437 | 0.6 | 1 | 0.75437 | 1.2573 |  |  | slope | 0.00019465
MRT-CBD 0.6 µg (1) | 860.5415 | 60 | 1721.0831 | 1.7211 | 0.86054 | 0.6 | 1 | 0.86054 | 1.4342 | 1.4571 | 0.87424 | intercept | -0.012841 |  |  | 0.03229
MRT-CBD 0.6 µg (2) | 887.9406 | 60 | 1775.8813 | 1.7759 | 0.88794 | 0.6 | 1 | 0.88794 | 1.4799