Figure S1. Calibration curves for 11 different target cannabinoids; a best-fit was selected for linear regression for calibration curve quantification.

Table S1. Matrix effect, extraction recovery of cannabinoids in samples (n=5).

| No. | Compound | Matrix effect (%) (n=5) |  |  | Recovery effect (%) (n= 5) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | LOQ | MOQ | HOQ | LOQ | MOQ | HOQ |
| 1 | Δ9 THCA | 86.02131 | 102.1277 | 100.7203 | 103.8612 | 99.29563 | 98.83107 |
| 2 | CBDA | 109.0575 | 105.3236 | 94.85469 | 98.79760 | 101.3986 | 99.16057 |
| 3 | CBGA | 89.16667 | 98.58949 | 95.30389 | 99.74222 | 100.4052 | 98.80204 |
| 4 | CBG | 110.8807 | 99.33633 | 116.0664 | 99.54491 | 104.6276 | 99.97514 |
| 5 | CBD | 102.9615 | 100.4051 | 91.92202 | 95.21277 | 99.69491 | 100.1846 |
| 6 | THCV | 102.4593 | 99.77023 | 101.8441 | 97.97338 | 98.44045 | 98.88971 |
| 7 | CBN | 100.0200 | 98.36181 | 95.85626 | 95.03395 | 97.19333 | 99.80557 |
| 8 | Δ8 THC | 107.3693 | 104.1000 | 110.1894 | 111.4478 | 97.36602 | 91.9883 |
| 9 | Δ9 THC | 100.2807 | 101.81124 | 108.1627 | 110.76889 | 105.8895 | 102.3063 |
| 10 | CBC | 108.3621 | 89.68326 | 98.61793 | 97.255370 | 101.7457 | 99.55316 |
| 11 | CBDV | 107.8351 | 102.1978 | 100.4622 | 94.302100 | 98.95406 | 97.75887 |

LOQ: Lower of Quantification, MOQ: Middle of Quantification, HOQ: High of Quantification.