## Analyte List with Chemical IDs
| Endocannabinoid and endocannabinoid-like compounds (Quantified with Oxylipins) | [10 empty] | Newman Lab Oxylipins (Quantified with Endocannabinoids)
| Common Abbreviaton | JWN Abbreviations | Parent Lipid | Observation Frequency | Class | InChIKey | PubChem CID | HMDB ID | KEGG |  |  | Common Abbreviaton | JWN Abbreviations | Pseudo Quant | Parent Lipid | Observation Frequency | Class | Assay quality | InChIKey | PubChem CID | HMDB ID | KEGG
1 | PEA | N-C16:0_EA | C16:0 | common | N-Acyl Ethanolamide | HXYVTAGFYLMHSO-UHFFFAOYSA-N | 4671 | HMDB02100 | C16512 |  | 1 | 9,10-DiHO (trans) | 9,10-DiHO (trans) |  | C18:1n9 | common | Diol | excellent | VACHUYIREGFMSP-UHFFFAOYSA-N | 441460 | ---
2 | SEA | N-C18:0_EA | C18:0 | common | N-Acyl Ethanolamide | OTGQIQQTPXJQRG-UHFFFAOYSA-N | 27902 | HMDB13078 |  |  | 2 | cis-9(10)-EpO | cis-9(10)-EpO |  | C18:1n9 | common | Epox | excellent | IMYZYCNQZDBZBQ-SJORKVTESA-N | 15868 | HMDB0247617
3 | POEA | N-C16:1n7_EA | C16:1n7 | common | N-Acyl Ethanolamide | WFRLANWAASSSFV-FPLPWBNLSA-N | 9835868 | HMDB13648 |  |  | 3 | 9,12,13-TriHOME | 9,12,13-TriHOME |  | C18:2n6 | common | Triol | excellent | MDIUMSLCYIJBQC-MVFSOIOZSA-N | 9858729 | HMDB04708 | C14833
4 | OEA | N-C18:1n9_EA | C18:1n9 | common | N-Acyl Ethanolamide | BOWVQLFMWHZBEF-KTKRTIGZSA-N | 5283454 | HMDB02088 |  |  | 4 | 12,13-DiHOME | 12,13-DiHOME |  | C18:2n6 | common | Diol | excellent | CQSLTKIXAJTQGA-FLIBITNWSA-N | 10236635 | HMDB04705 | C14829
5 | LEA | N-C18:2n6_EA | C18:2n6 | common | N-Acyl Ethanolamide | KQXDGUVSAAQARU-HZJYTTRNSA-N | 5283446 | HMDB12252 |  |  | 5 | 9,10-DiHOME | 9,10-DiHOME |  | C18:2n6 | common | Diol | excellent | XEBKSQSGNGRGDW-YFHOEESVSA-N | 9966640 | HMDB04704 | C14828
6 | aLEA | N-C18:3n3_EA | C18:3n3 | common | N-Acyl Ethanolamide | HBJXRRXWHSHZPU-PDBXOOCHSA-N | 5283449 | HMDB13624 |  |  | 6 | 12(13)-EpOME | 12(13)-EpOME |  | C18:2n6 | common | Epox | excellent | CCPPLLJZDQAOHD-FLIBITNWSA-N | 5356421 | HMDB04702
7 | DGLEA | N-C20:3n6_EA | C20:3n6 | common | N-Acyl Ethanolamide | ULQWKETUACYZLI-QNEBEIHSSA-N | 5282272 | HMDB13625 | C13828 |  | 7 | 9(10)-EpOME | 9(10)-EpOME |  | C18:2n6 | common | Epox | excellent | FBUKMFOXMZRGRB-YFHOEESVSA-N | 6246154 | HMDB04701 | C14825
8 | AEA | N-C20:4n6_EA | C20:4n6 | common | N-Acyl Ethanolamide | LGEQQWMQCRIYKG-DOFZRALJSA-N | 5281969 | HMDB04080 | C11695 |  | 8 | 13-HODE | 13-HODE |  | C18:2n6 | common | R-OH | excellent | HNICUWMFWZBIFP-IRQZEAMPSA-N | 6443013 | HMDB04667 | C14762
9 | DEA | N-C22:4n6_EA | C22:4n6 | common | N-Acyl Ethanolamide | FMVHVRYFQIXOAF-DOFZRALJSA-N | 5282273 | HMDB13626 | C13829 |  | 9 | 12-HODE | 12-HODE |  | C18:2n6 | common | R-OH | excellent | VNRNQMIMEDREKD-GRKONUDFSA-N | ---
10 | EPEA | N-C20:5n3_EA | C20:5n3 | common | N-Acyl Ethanolamide | OVKKNJPJQKTXIT-JLNKQSITSA-N | 5283450 | HMDB13649 |  |  | 10 | 10-HODE | 10-HODE |  | C18:2n6 | common | R-OH | excellent | LEQFZPFZNAEQPM-RBDUDSBRSA-N | ---
11 | DHEA | N-C22:6n3_EA | C22:6n3 | common | N-Acyl Ethanolamide | CXWASNUDKUTFPQ-KUBAVDMBSA-N | 53245830 | HMDB13627 |  |  | 11 | 9-HODE | 9-HODE |  | C18:2n6 | common | R-OH | excellent | NPDSHTNEKLQQIJ-SIGMCMEVSA-N | 5282945 | HMDB10223
12 | ArEA | N-C:20:0-EA | C20:0 | common | N-Acyl Ethanolamide | AUJVQJHODMISJP-UHFFFAOYSA-N | 3787294 |  |  |  | 12 | 13-HpODE | 13-HpODE | x | C18:2n6 | common | R-OOH | excellent | JDSRHVWSAMTSSN-IRQZEAMPSA-N | 5280720 | HMDB03871 | C04717
13 | NEA | N-C24:1n9_EA | C24:1 | common | N-Acyl Ethanolamide | LISKWSFNVJTQKH-KTKRTIGZSA-N | 24762162 |  |  |  | 13 | 9-HpODE | 9-HpODE | x | C18:2n6 | common | R-OOH | excellent | JGUNZIWGNMQSBM-ZJHFMPGASA-N | 6439847 | HMDB06940
14 | PGF2a EA | PGF2a_EA | PGF2a | rare | N-Acyl Ethanolamide | XCVCLIRZZCGEMU-FPLRWIMGSA-N | 53481911 | HMDB13628 |  |  | 14 | 12(13)Ep-9-KODE | 12(13)Ep-9-KODE |  | C18:2n6 | common | Epox,R=O | fair | RCMABBHQYMBYKV-BUHFOSPRSA-N | 5283007 | HMDB13623
15 | PGE2 EA | PGE2_EA | PGE2 | very rare | N-Acyl Ethanolamide | GKKWUSPPIQURFM-IGDGGSTLSA-N | 5283119 |  |  |  | 15 | 9-KODE | 9-KODE |  | C18:2n6 | common | R=O | fair | LUZSWWYKKLTDHU-ZJHFMPGASA-N | 9839084 | HMDB04669 | C14766
16 | PGD2 EA | PGD2_EA | PGD2 | rare | N-Acyl Ethanolamide | KEYDJKSQFDUAGF-YIRKRNQHSA-N | 5283120 | HMDB13629 |  |  | 16 | 13-KODE | 13-KODE |  | C18:2n6 | common | R=O | fair | JHXAZBBVQSRKJR-BSZOFBHHSA-N | 6446027 | HMDB04668 | C14765
17 | 11(12)-EpETre EA | 11(12)-EpETrE_EA | C20:4n6 | very rare | N-Acyl Ethanolamide | TYRRSRADDAROSO-KROJNAHFSA-N | 16061183 | HMDB13652 |  |  | 17 | 15,16-DiHODE | 15,16-DiHODE |  | C18:3n3 | common | Diol | excellent | LKLLJYJTYPVCID-OHPMOLHNSA-N | 16061068 | HMDB10208
18 | 19(20)-EpDoPE EA | 19(20)-EpDoPE_EA | C22:6n3 | very rare | N-Acyl Ethanolamide | HQRHKQCFLLFLJV-MBYQGORISA-N | 145950893 |  |  |  | 18 | 12,13-DiHODE | 12,13-DiHODE |  | C18:3n3 | common | Diol | excellent | RGRKFKRAFZJQMS-OOHFSOINSA-N | 16061067 | HMDB10201
19 | 1-OG | 1-OG | C18:1n9 | common | 1-Acyl Glycerol | RZRNAYUHWVFMIP-QJRAZLAKSA-N | 12178130 | HMDB11567 |  |  | 19 | 9,10-DiHODE | 9,10-DiHODE |  | C18:3n3 | common | Diol | excellent | QRHSEDZBZMZPOA-ZJSQCTGTSA-N | 16061066 | HMDB10221
20 | 1-LG | 1-LG | C18:2n6 | common | 1-Acyl Glycerol | WECGLUPZRHILCT-GSNKCQISSA-N | 6436630 | HMDB11568 |  |  | 20 | 15(16)-EpODE | 15(16)-EpODE |  | C18:3n3 | common | Epox | excellent | HKSDVVJONLXYKL-OHPMOLHNSA-N | 16061062 | HMDB10206
21 | 1-AG | 1-AG | C20:4n6 | common | 1-Acyl Glycerol | DCPCOKIYJYGMDN-HUDVFFLJSA-N | 16019980 | HMDB11578 |  |  | 21 | 9(10)-EpODE | 9(10)-EpODE |  | C18:3n3 | common | Epox | excellent | JTEGNNHWOIJBJZ-ZJSQCTGTSA-N | 16061060 | HMDB10220
22 | 2-OG | 2-OG | C18:1n9 | common | 2-Acyl Glycerol | UPWGQKDVAURUGE-KTKRTIGZSA-N | 5319879 | HMDB11537 |  |  | 22 | 12(13)-EpODE | 12(13)-EpODE |  | C18:3n3 | common | Epox | excellent | BKKGUKSHPCTUGE-OOHFSOINSA-N | 16061061 | HMDB10200
23 | 2-LG | 2-LG | C18:2n6 | common | 2-Acyl Glycerol | IEPGNWMPIFDNSD-HZJYTTRNSA-N | 5365676 | HMDB11538 |  |  | 23 | 9-HOTE | 9-HOTE |  | C18:3n3 | common | R-OH | excellent | YUPHIKSLGBATJK-OBKPXJAFSA-N | 53480359 | HMDB10224
24 | 2-AG | 2-AG | C20:4n6 | common | 2-Acyl Glycerol | RCRCTBLIHCHWDZ-DOFZRALJSA-N | 5282280 | HMDB04666 |  |  | 24 | 13-HOTE | 13-HOTE |  | C18:3n3 | common | R-OH | excellent | KLLGGGQNRTVBSU-JDTPQGGVSA-N | 10469728 | HMDB10203
25 | NP-Gly | N-C16:0_Gly | C16:0 | common | N-Acyl Glycine | KVTFEOAKFFQCCX-UHFFFAOYSA-N | 151008 |  |  |  | 25 | LXB4 | LXB4 |  | C20:4n6 | rare | Triol | excellent | UXVRTOKOJOMENI-WLPVFMORSA-N | 5280915 | HMDB05082
26 | NO-Gly | N-C18:1n9_Gly | C18:1n9 | common | N-Acyl Glycine | HPFXACZRFJDURI-KTKRTIGZSA-N | 6436908 | HMDB13631 |  |  | 26 | LXA4 | LXA4 |  | C20:4n6 | rare | Triol | excellent | IXAQOQZEOGMIQS-SSQFXEBMSA-N | 5280914 | HMDB04385 | C06314
27 | NL-Gly | N-C18:2n6_Gly | C20:4n6 | common | N-Acyl Glycine | YCRHZEHWEYAHCO-HZJYTTRNSA-N | 6433346 |  |  |  | 27 | LTB4 | LTB4 |  | C20:4n6 | common | Diol | excellent | KFGOFTHODYBSGM-ZUNNJUQCSA-N | 5280888 | HMDB02886 | C05961
28 | NA-Gly | N-C20:4n6_Gly | 20:4n6 | common | N-Acyl Glycine | YLEARPUNMCCKMP-DOFZRALJSA-N | 5283389 | HMDB05096 |  |  | 28 | 5,15-DiHETE | 5,15-DiHETE |  | C20:4n6 | rare | Diol | excellent | UXGXCGPWGSUMNI-BVHTXILBSA-N | 5283158 | HMDB10216
29 | N-DHA-Gly | N-C22:6n3_Gly | C22:6n3 | rare | N-Acyl Glycine | BEYWKSIFICEQGH-KUBAVDMBSA-N | 9908158 |  |  |  | 29 | 8,15-DiHETE | 8,15-DiHETE |  | C20:4n6 | rare | Diol | excellent | NNPWRKSGORGTIM-RCDCWWQHSA-N | 53480358 | HMDB10219
30 | NA-Ser | N-C20:4n6_Ser | 20:4n6 | rare | N-Acyl Serine | FQUVPTVNRMUOPO-UPQKDGGNSA-N | 10596625 |  |  |  | 30 | 6-trans-LTB4 | 6-trans-LTB4 |  | C20:4n6 | rare | Diol | excellent | VNYSSYRCGWBHLG-UKNWISKWSA-N | 5283128 | HMDB05087
[11 empty] | 31 | 14,15-DiHETrE | 14,15-DiHETrE |  | C20:4n6 | common | Diol | excellent | SYAWGTIVOGUZMM-ILYOTBPNSA-N | 5283147 | HMDB02265 | C14775
[11 empty] | 32 | 11,12-DiHETrE | 11,12-DiHETrE |  | C20:4n6 | common | Diol | excellent | LRPPQRCHCPFBPE-KROJNAHFSA-N | 5283146 | HMDB02314 | C14774
[11 empty] | 33 | 8,9-DiHETrE | 8,9-DiHETrE |  | C20:4n6 | common | Diol | excellent | DCJBINATHQHPKO-TYAUOURKSA-N | 5283144 | HMDB02311 | C14773
[11 empty] | 34 | 5,6-DiHETrE | 5,6-DiHETrE |  | C20:4n6 | common | Diol | excellent | GFNYAPAJUNPMGH-QNEBEIHSSA-N | 5283142 | HMDB02343 | C14772
[11 empty] | 35 | 14(15)-EpETrE | 14(15)-EpETrE |  | C20:4n6 | common | Epox | excellent | WLMZMBKVRPUYIG-LTCHCNGXSA-N | 11954058 | HMDB04693 | C14813
[11 empty] | 36 | 11(12)-EpETrE | 11(12)-EpETrE |  | C20:4n6 | common | Epox | excellent | DXOYQVHGIODESM-IQCOFVSKSA-N | 53480479 | HMDB10409
[11 empty] | 37 | 8(9)-EpETrE | 8(9)-EpETrE |  | C20:4n6 | common | Epox | excellent | DBWQSCSXHFNTMO-TYAUOURKSA-N | 5283203 | HMDB02232 | C14769
[11 empty] | 38 | 20-HETE | 20-HETE |  | C20:4n6 | rare | R-OH | excellent | NNDIXBJHNLFJJP-DTLRTWKJSA-N | 5283157 | HMDB05998 | C14748
[11 empty] | 39 | 15-HETE | 15-HETE |  | C20:4n6 | common | R-OH | excellent | JSFATNQSLKRBCI-VAEKSGALSA-N | 5280724 | HMDB03876 | C04742
[11 empty] | 40 | 12-HETE | 12-HETE |  | C20:4n6 | common | R-OH | excellent | ZNHVWPKMFKADKW-FYMOKONMSA-N | 5312983 | HMDB06111
[11 empty] | 41 | 11-HETE | 11-HETE |  | C20:4n6 | common | R-OH | excellent | GCZRCCHPLVMMJE-RSPKXIRXSA-N | 5312981 | HMDB04682
[11 empty] | 42 | 9-HETE | 9-HETE |  | C20:4n6 | common | R-OH | excellent | KATOYYZUTNAWSA-DLJQHUEDSA-N | 5312978 | HMDB10222
[11 empty] | 43 | 8-HETE | 8-HETE |  | C20:4n6 | common | R-OH | excellent | NLUNAYAEIJYXRB-VYOQERLCSA-N | 5283154 | HMDB04679 | C14776
[11 empty] | 44 | 5-HETE | 5-HETE |  | C20:4n6 | common | R-OH | excellent | KGIJOOYOSFUGPC-JGKLHWIESA-N | 5280733 | HMDB11134 | C04805
[11 empty] | 45 | 15-KETE | 15-KETE |  | C20:4n6 | common | R=O | fair | YGJTUEISKATQSM-USWFWKISSA-N | 5280701 | HMDB10210 | C04577
[11 empty] | 46 | 12-KETE | 12-KETE |  | C20:4n6 | rare | R=O | fair | GURBRQGDZZKITB-VXBMJZGYSA-N | 5283162
[11 empty] | 47 | 5-KETE | 5-KETE |  | C20:4n6 | common | R=O | fair | MEASLHGILYBXFO-XTDASVJISA-N | 5283159 | HMDB10217 | C14732
[11 empty] | 48 | TXB2 | TXB2 |  | C20:4n6 | common | TX | excellent | XNRNNGPBEPRNAR-JQBLCGNGSA-N | 5283137 | HMDB03252
[11 empty] | 49 | 6-keto-PGF1a | 6-keto-PGF1a |  | C20:4n6 | common | PG | excellent | KFGOFTHODYBSGM-ZUNNJUQCSA-N | 5280888 | HMDB02886 | C05961
[11 empty] | 50 | PGF2a | PGF2a |  | C20:4n6 | common | PG | excellent | PXGPLTODNUVGFL-UAAPODJFSA-N | 5283078 | HMDB01139
[11 empty] | 51 | F2IsoP | F2IsoP | x | C20:4n6 | common | PG | excellent | --- | --- | ---
[11 empty] | 52 | PGE2 | PGE2 |  | C20:4n6 | common | PG | excellent | XEYBRNLFEZDVAW-ARSRFYASSA-N | 5280360 | HMDB01220 | C00584
[11 empty] | 53 | 15-keto-PGE2 | 15-keto-PGE2 |  | C20:4n6 | rare | PG | excellent | YRTJDWROBKPZNV-KMXMBPPJSA-N | 5280719 | HMDB03175
[11 empty] | 54 | PGD2 | PGD2 |  | C20:4n6 | common | PG | excellent | BHMBVRSPMRCCGG-OUTUXVNYSA-N | 448457 | HMDB01403 | C00696
[11 empty] | 55 | 15-deoxy PGJ2 | 15-deoxy PGJ2 |  | C20:4n6 | common | PG | excellent | VHRUMKCAEVRUBK-GODQJPCRSA-N | 5311211 | HMDB05079 | C14717
[11 empty] | 56 | RvE1 | RvE1 |  | C20:5n3 | rare | Triol | excellent | AOPOCGPBAIARAV-WEKRNNBPSA-N | 25063347 | HMDB10410
[11 empty] | 57 | LTB5 | LTB5 |  | C20:5n3 | common | Diol | excellent | BISQPGCQOHLHQK-HDNPQISLSA-N | 5283125 | HMDB05073
[11 empty] | 58 | RvE2 | RvE2 |  | C20:5n3 | rare | Diol | excellent | KPRHYAOSTOHNQA-NNQKPOSRSA-N | 16061125 | ---
[11 empty] | 59 | 17,18-DiHETE | 17,18-DiHETE |  | C20:5n3 | common | Diol | excellent | XYDVGNAQQFWZEF-JPURVOHMSA-N | 16061120 | HMDB10211
[11 empty] | 60 | 14,15-DiHETE | 14,15-DiHETE |  | C20:5n3 | common | Diol | excellent | BLWCDFIELVFRJY-QXBXTPPVSA-N | 16061119 | HMDB10204
[11 empty] | 61 | 11,12-DiHETE | 11,12-DiHETE |  | C20:5n3 | common | Diol | excellent | DNPZYIPMAWRQQE-BVILWSOJSA-N | 16061121
[11 empty] | 62 | 8,9-DiHETE | 8,9-DiHETE |  | C20:5n3 | common | Diol | excellent | NXFSSCYFERVGJQ-JJUYGIQRSA-N | 16061118
[11 empty] | 63 | 5,6-DiHETE | 5,6-DiHETE |  | C20:5n3 | common | Diol | excellent | VPXVODYVPILPRC-LTKCOYKYSA-N | 14429105
[11 empty] | 64 | 17(18)-EpETE | 17(18)-EpETE |  | C20:5n3 | common | Epox | excellent | GPQVVJQEBXAKBJ-JPURVOHMSA-N | 16061089 | HMDB10212
[11 empty] | 65 | 14(15)-EpETE | 14(15)-EpETE |  | C20:5n3 | common | Epox | excellent | RGZIXZYRGZWDMI-QXBXTPPVSA-N | 16061088 | HMDB10205
[11 empty] | 66 | 11(12)-EpETE | 11(12)-EpETE |  | C20:5n3 | common | Epox | excellent | QHOKDYBJJBDJGY-BVILWSOJSA-N | 16061087 | ---
[11 empty] | 67 | 8(9)-EpETE | 8(9)-EpETE |  | C20:5n3 | rare | Epox | excellent | YKIOHMXLFWMWKD-JJUYGIQRSA-N | 16061086
[11 empty] | 68 | 18-HEPE | 18-HEPE |  | C20:5n3 | common | R-OH | excellent | LRWYBGFSVUBWMO-UXNZXXPISA-N | 16061132
[11 empty] | 69 | 15-HEPE | 15-HEPE |  | C20:5n3 | common | R-OH | excellent | UDXLGBLAJBYLSZ-XBCQTNLFSA-N | 53480357 | HMDB10209
[11 empty] | 70 | 12-HEPE | 12-HEPE |  | C20:5n3 | common | R-OH | excellent | MCRJLMXYVFDXLS-QGQBRVLBSA-N | 10041593 | HMDB10202
[11 empty] | 71 | 9-HEPE | 9-HEPE |  | C20:5n3 | common | R-OH | excellent | OXOPDAZWPWFJEW-FPRWAWDYSA-N | 5283187 | HMDB60053
[11 empty] | 72 | 5-HEPE | 5-HEPE |  | C20:5n3 | common | R-OH | excellent | FTAGQROYQYQRHF-FCWZHQICSA-N | 6439678 | HMDB05081
[11 empty] | 73 | RvD1 | RvD1 |  | C22:6n3 | very rare | Triol | excellent | OIWTWACQMDFHJG-NJIQAZPPSA-N | 16061135 | HMDB03733
[11 empty] | 74 | RvD2 | RvD2 |  | C22:6n3 | very rare | Triol | excellent | IKFAUGXNBOBQDM-XFMPMKITSA-N | 11383310 | ---
[11 empty] | 75 | Protectin DX | Protectin DX |  | C22:6n3 | rare | Diol | excellent | CRDZYJSQHCXHEG-XLBFCUQGSA-N | 11667655 | ---
[11 empty] | 76 | Maresin 1 | Maresin 1 |  | C22:6n3 | very rare | Diol | excellent | HLHYXXBCQOUTGK-LUSCUACYSA-N | 102518309 | ---
[11 empty] | 77 | 19(20)-EpDoPE | 19(20)-EpDoPE |  | C22:6n3 | common | Epox | excellent | OSXOPUBJJDUAOJ-MBYQGORISA-N | 11631565 | HMDB13620
[11 empty] | 78 | 16(17)-EpDoPE | 16(17)-EpDoPE |  | C22:6n3 | common | Epox | excellent | BCTXZWCPBLWCRV-ZYADFMMDSA-N | 14392758 | HMDB13621
[11 empty] | 79 | 13(14)-EpDoPE | 13(14)-EpDoPE |  | C22:6n3 | common | Epox | excellent | DCFKVKFLEPMEGT-UQZHZJRSSA-N | 11674605
[11 empty] | 80 | 10(11)-EpDoPE | 10(11)-EpDoPE |  | C22:6n3 | common | Epox | excellent | YYZNJWZRJUGQCW-UQZHZJRSSA-N | 11638767
[11 empty] | 81 | 7(8)-EpDoPE | 7(8)-EpDoPE |  | C22:6n3 | common | Epox | excellent | OHYKIJBTVXMLKX-MPQBXPHNSA-N | ---
[11 empty] | 82 | 19,20-DiHDoPE | 19,20-DiHDoPE |  | C22:6n3 | common | Diol | excellent | FFXKPSNQCPNORO-MBYQGORISA-N | 16061148 | HMDB10214
[11 empty] | 83 | 16,17-DiHDoPE | 16,17-DiHDoPE |  | C22:6n3 | common | Diol | excellent | YXQCSWUATWXVGK-ZYADFMMDSA-N | ---
[11 empty] | 84 | 13,14-DiHDoPE | 13,14-DiHDoPE |  | C22:6n3 | common | Diol | excellent | LINXWSBRRJSWHL-UQZHZJRSSA-N | ---
[11 empty] | 85 | 10,11-DiHDoPE | 10,11-DiHDoPE |  | C22:6n3 | common | Diol | excellent | OAZUCYZBXHOCES-UQZHZJRSSA-N | ---
[11 empty] | 86 | 7,8-DiHDoPE | 7,8-DiHDoPE |  | C22:6n3 | common | Diol | excellent | DPZIOENSPXELQY-MPQBXPHNSA-N | ---
[11 empty] | 87 | 17-HDoHE | 17-HDoHE |  | C22:6n3 | common | R-OH | excellent | SWTYBBUBEPPYCX-VIIQGJSXSA-N | 6439179 | HMDB10213
[11 empty] | 88 | 14-HDoHE | 14-HDoHE |  | C22:6n3 | common | R-OH | excellent | ZNEBXONKCYFJAF-BGKMTWLOSA-N | 11566378 | HMDB60044
[11 empty] | 89 | 7-HDoHE | 7-HDoHE |  | C22:6n3 | common | R-OH | excellent | OZXAIGIRPOOJTI-XJAVJPOHSA-N | 16061142
[11 empty] | 90 | 4-HDoHE | 4-HDoHE |  | C22:6n3 | common | R-OH | excellent | IFRKCNPQVIJFAQ-JGDWKEERSA-N | 53394255 | HMDB60049
[11 empty] | 91 | 17-KDoHE | 17-KDoHE |  | C22:6n3 | very rare | R=O | fair | QCEBQMMZCFADMF-VIIQGJSXSA-N | ---
[11 empty] | 92 | 4-KDoHE | 4-KDoHE |  | C22:6n3 | very rare | R=O | fair | UHNUULCIKILOHW-PQVBWYSWSA-N | ---
[10 empty] | Linoleic acid | 93 | LA | C18:2n6 | x |  | common | PUFA | excellent | OYHQOLUKZRVURQ-HZJYTTRNSA-N | 5280450 | HMDB00673
[10 empty] | Alpha linolenic acid | 94 | ALA | C18:3n3 | x |  | common | PUFA | excellent | DTOSIQBPPRVQHS-PDBXOOCHSA-N | 5280934 | HMDB01388
[10 empty] | Arachidonic acid | 95 | AA | C20:4n6 | x |  | common | HUFA | excellent | YZXBAPSDXZZRGB-DOFZRALJSA-N | 444899 | HMDB01043
[10 empty] | Eicosapentaenoic acid | 96 | EPA | C20:5n3 | x |  | common | HUFA | excellent | JAZBEHYOTPTENJ-JLNKQSITSA-N | 446284 | HMDB01999
[10 empty] | Docosahexaenoic acid | 97 | DHA | C22:6n3 | x |  | common | HUFA | excellent | MBMBGCFOFBJSGT-KUBAVDMBSA-N | 445580 | HMDB02183

## Acquisition Parameters
Table S1: Negative Mode Scheduled Multi Reaction Monitoring Experiment a | [7 empty] | Table S2: Positive Mode Scheduled Multi Reaction Monitoring Experiment a | [7 empty] | Table S3: API Scource Parameter Table
Compound | Acq Mid Point (min) | Q1 (Da) | Q3 (Da) | Window (sec) | Dwell Wt | DCP | CE | Compound | Acq Mid Point (min) | Q1 (Da) | Q3 (Da) | Window (sec) | Dwell Wt | DCP | CE | Parameter | (-)ESI Exp | (+)ESI Exp
PUHA_(-) | 1.84 | 249.2 | 130.1 | 12 | 0.5 | -30 | -18 | d4-Acetaminophen | 0.89 | 156.1 | 114.1 | 12 | 0.5 | 55 | 21 | CUR: | 20 | 20
RvE1 | 2.25 | 349.2 | 195.2 | 12 | 2 | -50 | -22 | Acetaminophen | 0.89 | 152.1 | 110.1 | 12 | 1 | 55 | 21 | IS: | -4500 | 4500
d4-6-Keto PGF1a | 2.26 | 373.3 | 199.2 | 12 | 0.5 | -70 | -36 | PUHA_(+) | 1.84 | 251.2 | 114.1 | 12 | 0.5 | 65 | 21 | TEM: | 550 | 550
6-keto-PGF1a | 2.27 | 369.3 | 163.1 | 12 | 2 | -70 | -33 | d4-PGF2a_EA | 2.38 | 384.3 | 62.1 | 12 | 0.5 | 50 | 42 | GS1: | 60 | 60
d4-TXB2 | 2.8833 | 373.3 | 173.1 | 32 | 1 | -50 | -21 | PGF2a_EA | 2.39 | 380.3 | 62.1 | 12 | 2 | 45 | 39 | GS2: | 50 | 50
TXB2 | 2.8833 | 369.3 | 169.1 | 32 | 2 | -50 | -21 | PGE2_EA + PGD2_EA | 2.41 | 378.3 | 62.1 | 18 | 2 | 65 | 40 | CAD: | Medium | Medium
9,12,13-TriHOME | 3.135 | 329.2 | 211.2 | 15 | 1 | -60 | -30 | CUDA_(+) | 6.1017 | 341.3 | 216.2 | 13 | 0.5 | 50 | 24 | EP | -10 | 10
d4-PGF2a | 3.22 | 357.2 | 197.2 | 12 | 0.5 | -70 | -33 | 19(20)-EpDoPE_EA | 7.9817 | 388.3 | 370.3 | 13 | 3 | 40 | 8.5 | CXP | -13 | 12
PGF2a | 3.08 | 353.2 | 193.2 | 30 | 2 | -70 | -33 | 11(12)-EpETrE_EA | 8.6317 | 364.3 | 62.1 | 13 | 3 | 75 | 45
PGE2 + PGD2 | 3.33 | 351.202 | 271.2 | 18 | 2 | -40 | -22 | N-C18:3n3_EA | 10.2117 | 322.2 | 62.1 | 13 | 1 | 60 | 21
LXB4 | 3.46 | 351.2 | 221.2 | 12 | 2 | -55 | -22 | N-C20:5n3_EA | 10.3317 | 346.2 | 62.1 | 13 | 1 | 70 | 39
d4-PGD2 | 3.45 | 355.2 | 275.2 | 12 | 0.5 | -40 | -27 | N-16:1n7_EA | 10.945 | 298.2 | 62.1 | 13 | 1 | 105 | 21
RvD2 | 3.49 | 375.3 | 277.2 | 12 | 2 | -50 | -18 | N-C20:4n6_Ser | 11.3783 | 392.3 | 106.1 | 13 | 1 | 70 | 18
15-keto-PGE2 | 3.48 | 349.2 | 331.3 | 12 | 2 | -50 | -15 | N-C22:6n3_EA | 11.9217 | 372.3 | 62.1 | 13 | 1 | 55 | 45
d3-Naproxen | 3.6 | 232.1 | 188.1 | 12 | 2 | -35 | -9 | d8-C20:4n6_EA | 12.0017 | 356.3 | 63.1 | 13 | 0.5 | 50 | 45
Naproxen | 3.6 | 229.1 | 185.1 | 12 | 1 | -35 | -12 | N-C18:2n6_EA | 12.0417 | 324.2 | 62.1 | 13 | 1 | 70 | 21
RvD1 | 3.93 | 375.3 | 215.1 | 12 | 2 | -40 | -26 | N-C20:4n6_EA | 12.0917 | 348.2 | 62.1 | 13 | 1 | 70 | 39
d5-LXA4 | 3.99 | 356.5 | 222.1 | 12 | 0.5 | -40 | -20 | N-C22:6n3_Gly | 12.03 | 386.3 | 311.2 | 13 | 1 | 50 | 15
LXA4 | 4.01 | 351.2 | 217.2 | 12 | 3 | -45 | -27 | d8-C20:4n6_Gly | 12.11 | 370.3 | 76.1 | 13 | 0.5 | 45 | 21
RvE2 | 4.48 | 333.2 | 253.2 | 12 | 2 | -60 | -20 | N-C20:4n6_Gly | 12.18 | 362.3 | 76.1 | 13 | 1 | 65 | 21
LTB5 | 4.96 | 333.2 | 195.2 | 12 | 2 | -50 | -21 | N-C18:2n6_Gly | 12.17 | 338.3 | 76.1 | 13 | 1 | 90 | 17
15,16-DiHODE | 5.1 | 311.2 | 235.2 | 12 | 1 | -55 | -27 | N-C20:3n6_EA | 12.92 | 350.2 | 62.1 | 12 | 2 | 35 | 36
12,13-DiHODE | 5.15 | 311.2 | 183.2 | 12 | 1 | -60 | -27 | d5-2-AG | 12.8858 | 384.3 | 287.2 | 18.5 | 0.5 | 60 | 21
9,10-DiHODE | 5.46 | 311.2 | 201.2 | 12 | 1 | -65 | -27 | d4-C16:0_EA | 13 | 304.2 | 62.1 | 12 | 0.5 | 90 | 18
8,15-DiHETE | 5.48 | 335.2 | 235.2 | 12 | 2 | -65 | -21 | N-C16:0_EA | 13.02 | 300.2 | 62.1 | 12 | 1 | 70 | 18
Protectin DX | 5.69 | 359.2 | 153.1 | 12 | 2 | -40 | -22 | 1-_&_2-AG | 13 | 379.302 | 287.2 | 18 | 2 | 95 | 21
17,18-DiHETE | 5.72 | 335.2 | 247.2 | 12 | 2 | -70 | -24 | 1-_&_2-LG | 13.12 | 355.202 | 263.2 | 18 | 0.5 | 40 | 12
5,15-DiHETE | 5.76 | 335.2 | 173.1 | 12 | 2 | -40 | -18 | N-C16:0_Gly | 13.17 | 314.2 | 76.1 | 13 | 1 | 50 | 15
Maresin_1 | 5.84 | 359.2 | 250.2 | 12 | 2 | -55 | -20 | N-C18:1n9_EA | 13.47 | 326.2 | 62.1 | 12 | 1 | 105 | 21
6-trans-LTB4 | 5.87 | 335.201 | 195.2 | 12 | 1 | -85 | -21 | N-C22:4n6_EA | 13.57 | 376.3 | 62.1 | 12 | 2 | 105 | 45
14,15-DiHETE | 6.01 | 335.2 | 207.2 | 12 | 2 | -50 | -22 | N-C18:1n9_Gly | 13.56 | 340.2 | 76.2 | 13 | 1 | 60 | 21
d4-LTB4 | 6.09 | 339.2 | 197.2 | 12 | 1 | -50 | -24 | 1-_&_2-OG | 14.1358 | 357.202 | 265.2 | 18.5 | 0.5 | 55 | 15
LTB4 | 6.1 | 335.202 | 195.2 | 12 | 1 | -50 | -24 | N-C18:0_EA | 14.44 | 328.2 | 62.1 | 12 | 1 | 100 | 21
CUDA_(-) | 6.12 | 339.4 | 214.2 | 12 | 0.5 | -70 | -30 | N-C20:0_EA | 15.03 | 356.2 | 339.2 | 12 | 5 | 180 | 25
11,12-DiHETE | 6.17 | 335.2 | 167.1 | 12 | 2 | -40 | -22 | N-C24:1n9_EA | 15.49 | 410.3 | 62.1 | 12 | 5 | 180 | 41
d3-Ibuprofen | 6.2017 | 208.2 | 164.1 | 13 | 0.5 | -50 | -9 | a - A medium collision gas pressure setting and default enterance and exit potentials were fixed and used for all analytes.
Ibuprofen | 6.2217 | 205.1 | 161.1 | 13 | 1 | -50 | -9
12,13-DiHOME | 6.33 | 313.2 | 183.2 | 12 | 1 | -70 | -30
8,9-DiHETE | 6.46 | 335.2 | 185.1 | 12 | 2 | -30 | -22
9,10-DiHOME | 6.67 | 313.3 | 201.2 | 12 | 1 | -65 | -27
d11-14,15-DiHETrE | 6.83 | 348.4 | 207.2 | 12 | 0.5 | -65 | -24
14,15-DiHETrE | 6.91 | 337.2 | 207.2 | 12 | 2 | -60 | -24
19,20-DiHDoPE | 6.92 | 361.3 | 273.2 | 12 | 2 | -80 | -24
5,6-DiHETE | 7.04 | 335.2 | 145.1 | 12 | 2 | -30 | -22
16,17-DiHDoPE | 7.21 | 361.3 | 233.2 | 12 | 3 | -70 | -22
11,12-DiHETrE | 7.38 | 337.3 | 167.1 | 12 | 2 | -55 | -27
13,14-DiHDoPE | 7.38 | 361.3 | 193.1 | 12 | 3 | -80 | -23.5
12(13)-Ep-9-KODE | 7.56 | 309.2 | 291.2 | 12 | 1 | -90 | -21
9-HOTE | 7.59 | 293.2 | 171.1 | 12 | 1 | -60 | -21
10,11-DiHDoPE | 7.64 | 361.3 | 153.1 | 12 | 2 | -55 | -24
13-HOTE | 7.71 | 293.2 | 195.2 | 12 | 1 | -70 | -24
18-HEPE | 7.7058 | 317.201 | 259.2 | 12.5 | 2 | -55 | -17
8,9-DiHETrE | 7.8158 | 337.2 | 127.1 | 12.5 | 3 | -65 | -27
15-deoxy_PGJ2 | 7.87 | 315.2 | 271.2 | 12 | 3 | -50 | -21
9,10-DiHO | 7.97 | 315.2 | 297.2 | 12 | 1 | -110 | -30
15-HEPE | 8.09 | 317.2 | 219.2 | 12 | 1 | -55 | -18
d6-20-HETE | 8.09 | 325.3 | 281.2 | 12 | 0.5 | -80 | -21
20-HETE | 8.11 | 319.2 | 275.2 | 12 | 3 | -95 | -24
7,8-DiHDoPE | 8.1417 | 361.3 | 189.1 | 13 | 2 | -70 | -23
12-HEPE | 8.3417 | 317.2 | 179.1 | 13 | 1 | -45 | -18
5,6-DiHETrE | 8.4317 | 337.2 | 145.1 | 13 | 1 | -55 | -24
9-HEPE | 8.5117 | 317.201 | 167.2 | 13 | 2 | -45 | -18
12-HODE + 10-HODE | 8.7033 | 295.201 | 183.1 | 20 | 1 | -160 | -26
13-HODE | 8.745 | 295.201 | 195.2 | 15 | 1 | -90 | -24
5-HEPE | 8.8417 | 317.2 | 115.1 | 13 | 2 | -40 | -21
d4-9(S)-HODE | 8.8717 | 299.2 | 172.1 | 13 | 0.5 | -85 | -27
9-HODE | 8.8917 | 295.201 | 171.1 | 13 | 1 | -70 | -24
13-HpODE + 9-HpODE | 8.8058 | 311.2 | 293.2 | 18.5 | 1 | -55 | -15
17(18)-EpETE | 9.0217 | 317.2 | 259.2 | 13 | 3 | -55 | -15
d3-13-KODE | 9.0217 | 296.2 | 114.1 | 13 | 0.5 | -120 | -27.5
15(16)-EpODE + 9(10)-EpODE | 8.9817 | 293.201 | 275.2 | 25 | 1 | -65 | -18
13-KODE | 9.0817 | 293.2 | 179.1 | 13 | 1 | -80 | -27
15-HETE | 9.0817 | 319.201 | 219.2 | 13 | 1 | -55 | -18
17-HDoHE | 9.4817 | 343.201 | 281.2 | 13 | 2 | -55 | -18
12(13)-EpODE | 9.2817 | 293.2 | 183.2 | 13 | 1 | -50 | -24
15-KETE | 9.37 | 317.2 | 273.2 | 12 | 2 | -60 | -18
14(15)-EpETE | 9.4217 | 317.2 | 207.2 | 13 | 3 | -45 | -18
9-KODE | 9.4517 | 293.2 | 185.2 | 13 | 1 | -100 | -27
11-HETE | 9.4517 | 319.201 | 167.1 | 13 | 1 | -45 | -21
14-HDoHE | 9.4717 | 343.202 | 281.2 | 13 | 2 | -60 | -18
11(12)-EpETE | 9.5167 | 317.202 | 167.2 | 16 | 3 | -40 | -18
d8-12-HETE | 9.5617 | 327.2 | 184.2 | 13 | 0.5 | -60 | -21
12-HETE | 9.68 | 319.2 | 179.1 | 12 | 1 | -60 | -21
8(9)-EpETE | 9.7 | 317.2 | 155.1 | 12 | 3 | -40 | -16
8-HETE | 9.79 | 319.201 | 155.1 | 12 | 1 | -45 | -21
12-KETE | 9.9683 | 317.201 | 273.2 | 11 | 2 | -30 | -25
7-HDoHE | 9.92 | 343.2 | 281.2 | 12 | 2 | -80 | -17
9-HETE | 9.9517 | 319.202 | 167.1 | 13 | 1 | -60 | -18
d8-5(S)-HETE | 10.2217 | 327.2 | 116.1 | 13 | 0.5 | -70 | -18
19(20)-EpDoPE | 10.3417 | 343.303 | 281.2 | 13 | 3 | -60 | -18
5-HETE | 10.3217 | 319.2 | 115.1 | 13 | 1 | -50 | -18
d4-12(13)-EpOME | 10.3417 | 299.2 | 198.1 | 13 | 0.5 | -90 | -24
12(13)-EpOME | 10.4217 | 295.202 | 195.2 | 13 | 1 | -85 | -21
14(15)-EpETrE | 10.5717 | 319.202 | 219.2 | 13 | 2 | -50 | -18
9(10)-EpOME | 10.6817 | 295.202 | 171.1 | 13 | 1 | -75 | -21
4-HDoHE | 10.8017 | 343.204 | 110.1 | 13 | 5 | -60 | -20
16(17)-EpDoPE | 10.8017 | 343.2 | 274.15 | 13 | 3 | -45 | -15
13(14)-EpDoPE | 10.9217 | 343.2 | 234.1 | 13 | 3 | -55 | -15
10(11)-EpDoPE | 11.0717 | 343.2 | 153.1 | 13 | 3 | -60 | -16
5-KETE | 11.1217 | 317.2 | 203.2 | 13 | 2 | -75 | -27
11(12)-EpETrE | 11.1617 | 319.203 | 167.1 | 13 | 2 | -40 | -21
7(8)-EpDoPE | 11.3517 | 343.2 | 189.1 | 13 | 3 | -40 | -15
8(9)-EpETrE | 11.4217 | 319.202 | 155.1 | 13 | 3 | -40 | -18
17-KDoHE | 11.5417 | 341.201 | 297.2 | 13 | 3 | -50 | -17
4-KDoHE | 11.9117 | 341.202 | 297.2 | 13 | 3 | -40 | -17
9(10)-EpO | 12.2517 | 297.2 | 279.2 | 13 | 1 | -105 | -27
C20:5n3 | 12.96 | 301.2 | 257.15 | 12 | 1 | -60 | -15
C18:3n3 | 13.07 | 277.2 | 259.15 | 12 | 1 | -115 | -24
C22:6n3 | 13.7 | 327.2 | 283.15 | 12 | 1 | -45 | -15
d8-C20:4n6 | 13.86 | 311.2 | 267.15 | 12 | 0.5 | -60 | -18
C20:4n6 | 13.9 | 303.2 | 259.15 | 12 | 1 | -40 | -18
18:2n6 | 14.03 | 279.2 | 261.15 | 12 | 1 | -185 | -38
a - A medium collision gas pressure setting and default enterance and exit potentials were fixed and used for all analytes.
`

## LC Gradient
Table S4: Chromatographic Parameters
Time | % Solv A | % Solv B
0.01 | 75 | 25
0.25 | 75 | 25
0.75 | 60 | 40
1.5 | 58 | 42
4.25 | 50 | 50
6.75 | 43 | 57
8 | 39 | 61
10.5 | 36 | 64
11 | 33 | 67
13 | 20 | 80
13.3 | 15 | 85
13.85 | 5 | 95
14 | 0 | 100
15.5 | 0 | 100
15.68 | 75 | 25
16.68 | 75 | 25
1) Solvent A: 0.1% Acetic Acid 2) Solvent B: 90% Acetonitrile / 10% isopropanol 3) flow rate = 0.5 mL/min 4) column: 2.1 X 150mm, 1.7 µm Waters Acquity C18 BEH 5) column temp: 60°C. 6) Max pressure: 15000 psi. Expected: 8000-12000psi. 7) Sample Temp: 15 °C

## Quantitation Parameters
Analysis after Jan 2026
Table S5: Quantitative parameters for (+/-)-ESI/MS/MS lipid mediator + NSAID analysis
| Compound | tR (min) |  | Concentration Range (nM) | Chemical class | ISTD a | Correction Factor c
1 | d4-Acetaminophen | 0.89 |  | [144 - 144] | SSTD | CUDA_(-) | ---
2 | Acetaminophen | 0.9 |  | [5.716 - 255200] | Rx | PUHA_(+) | 1
3 | PUHA_(-) | 1.84 |  | [101 - 101] | ISTD | CUDA_(-) | ---
4 | PUHA_(+) | 1.84 |  | [101 - 101] | ISTD | CUDA_(+) | ---
5 | RvE1 | 2.16 |  | [0.01248 - 891.6] | Triol | d4-PGF2a | 1
6 | d4-6-Keto PGF1a | 2.18 |  | [24 - 24] | SSTD | CUDA_(-) | ---
7 | 6-keto-PGF1a | 2.18 |  | [0.07557 - 5398] | PG | d4-6-Keto PGF1a | 1
8 | d4-PGF2a_EA | 2.28 |  | [24.9 - 24.9] | SSTD | CUDA_(-) | ---
9 | PGF2a_EA | 2.29 |  | [0.3522 - 15720] | Acyl-EA | d4-PGF2a_EA | 1
10 | PGE2_EA | 2.3 |  | [0.354 - 15800] | Acyl-EA | d4-PGF2a_EA | 1
11 | PGD2_EA | 2.45 |  | [0.354 - 15800] | Acyl-EA | d4-PGF2a_EA | 1
12 | d4-TXB2 | 2.895 |  | [53.4 - 53.4] | SSTD | CUDA_(-) | ---
13 | TXB2 | 2.9 |  | [0.07557 - 5398] | TX | d4-TXB2 | 2
14 | 9,12,13-TriHOME | 2.99 |  | [0.02648 - 1891] | Triol | d4-PGF2a | 1
15 | d4-PGF2a | 3.03 |  | [25.1 - 25.1] | SSTD | CUDA_(-) | ---
16 | PGF2a | 3.05 |  | [0.07899 - 5642] | PG | d4-PGF2a | 1
17 | F2-Isoprostanes | [2.6-3.5] |  | [0 - 0] | PG | d4-PGF2a | 1
18 | PGE2 | 3.1 |  | [0.07943 - 5674] | PG | d4-PGD2 | 1.4
19 | LXB4 | 3.21 |  | [0.05902 - 4216] | Triol | d5-LXA4 | 1
20 | d4-PGD2 | 3.24 |  | [25.2 - 25.2] | SSTD | CUDA_(-) | ---
21 | RvD2 | 3.25 |  | [0.03718 - 1660] | Triol | d5-LXA4 | 1
22 | PGD2 | 3.26 |  | [0.07943 - 5674] | PG | d4-PGD2 | 1.4
23 | 15-keto-PGE2 | 3.26 |  | [0.1433 - 10240] | PG | d4-PGD2 | 1.4
24 | d3-Naproxen | 3.4 |  | [107 - 107] | SSTD | CUDA_(-) | ---
25 | Naproxen | 3.43 |  | [5.471 - 244200] | Rx | d3-Naproxen | 1
26 | RvD1 | 3.71 |  | [0.02324 - 1660] | Triol | d5-LXA4 | 1
27 | d5-LXA4 | 3.74 |  | [25.2 - 25.2] | SSTD | CUDA_(-) | ---
28 | LXA4 | 3.77 |  | [0.03972 - 2837] | Triol | d5-LXA4 | 1
29 | RvE2 | 4.22 |  | [0.02503 - 1788] | Diol | d5-LXA4 | 1
30 | LTB5 | 4.68 |  | [0.05495 - 3925] | Diol | d4-LTB4 | 0.5
31 | 15,16-DiHODE | 5.1 | b | [0 - 0] | vic-Diol | d11-14,15-DiHETrE | 1
32 | 12,13-DiHODE | 5.15 | b | [0 - 0] | vic-Diol | d11-14,15-DiHETrE | 1
33 | 9,10-DiHODE | 5.18 | b | [0 - 0] | vic-Diol | d11-14,15-DiHETrE | 1
34 | 8,15-DiHETE | 5.2 |  | [0.02488 - 1777] | Diol | d4-LTB4 | 0.5
35 | Protectin DX | 5.41 |  | [0.02427 - 1734] | Diol | d4-LTB4 | 0.5
36 | 17,18-DiHETE | 5.45 |  | [0.02986 - 2133] | vic-Diol | d11-14,15-DiHETrE | 1
37 | 5,15-DiHETE | 5.49 |  | [0.02488 - 1777] | Diol | d4-LTB4 | 0.5
38 | Maresin_1 | 5.56 |  | [0.02427 - 1734] | Diol | d4-LTB4 | 0.5
39 | 6-trans-LTB4 | 5.59 |  | [0.026 - 1857] | Diol | d4-LTB4 | 0.5
40 | 14,15-DiHETE | 5.73 |  | [0.02488 - 1777] | vic-Diol | d11-14,15-DiHETrE | 1
41 | d4-LTB4 | 5.82 |  | [66.1 - 66.1] | SSTD | CUDA_(-) | ---
42 | LTB4 | 5.84 |  | [0.026 - 1857] | Diol | d4-LTB4 | 0.5
43 | CUDA_(-) | 5.85 |  | [99.9 - 99.9] | ISTD |  | ---
44 | CUDA_(+) | 5.85 |  | [99.9 - 99.9] | ISTD |  | ---
45 | 11,12-DiHETE | 5.9 |  | [0.04977 - 3555] | vic-Diol | d11-14,15-DiHETrE | 1
46 | d3-Ibuprofen | 5.95 |  | [95.6 - 95.6] | SSTD | CUDA_(-) | ---
47 | Ibuprofen | 5.97 |  | [5.543 - 247500] | Rx | d3-Ibuprofen | 1
48 | 12,13-DiHOME | 6.07 |  | [0.02782 - 1987] | vic-Diol | d11-14,15-DiHETrE | 1
49 | 8,9-DiHETE | 6.2 |  | [0.01991 - 1422] | vic-Diol | d11-14,15-DiHETrE | 1
50 | 9,10-DiHOME | 6.41 |  | [0.02671 - 1908] | vic-Diol | d11-14,15-DiHETrE | 1
51 | d11-14,15-DiHETrE | 6.56 |  | [25.7 - 25.7] | SSTD | CUDA_(-) | ---
52 | 14,15-DiHETrE | 6.64 |  | [0.02585 - 1846] | vic-Diol | d11-14,15-DiHETrE | 1
53 | 19,20-DiHDoPE | 6.65 |  | [0.07724 - 3448] | vic-Diol | d11-14,15-DiHETrE | 1
54 | 5,6-DiHETE | 6.77 |  | [0.01991 - 1422] | vic-Diol | d11-14,15-DiHETrE | 1
55 | 16,17-DiHDoPE | 6.95 |  | [0.06758 - 3017] | vic-Diol | d11-14,15-DiHETrE | 1
56 | 11,12-DiHETrE | 7.11 |  | [0.02585 - 1846] | vic-Diol | d11-14,15-DiHETrE | 1
57 | 13,14-DiHDoPE | 7.12 |  | [0.0662 - 2956] | vic-Diol | d11-14,15-DiHETrE | 1
58 | 12(13)-Ep-9-KODE | 7.285 |  | [0.02708 - 1934] | R=O | d3-13-KODE | 0.5
59 | 9-HOTE | 7.34 |  | [0.02377 - 1698] | R-OH | d4-9(S)-HODE | 1
60 | 10,11-DiHDoPE | 7.38 |  | [0.06694 - 2988] | vic-Diol | d11-14,15-DiHETrE | 1
61 | 13-HOTE | 7.45 |  | [0.02377 - 1698] | R-OH | d4-9(S)-HODE | 1
62 | 18-HEPE | 7.45 |  | [0.02629 - 1878] | R-OH | d8-12-HETE | 1
63 | 8,9-DiHETrE | 7.57 |  | [0.02585 - 1846] | vic-Diol | d11-14,15-DiHETrE | 1
64 | 15-deoxy_PGJ2 | 7.61 |  | [0.03097 - 2212] | PG | d3-13-KODE | 0.5
65 | 19(20)-EpDoPE_EA | 7.73 |  | [0.1445 - 6450] | Acyl-EA | d8-C20:4n6_EA | 0.6
66 | 9,10-DiHO | 7.74 |  | [0.1587 - 11340] | vic-Diol | d11-14,15-DiHETrE | 1
67 | 15-HEPE | 7.82 |  | [0.05258 - 3756] | R-OH | d8-12-HETE | 1
68 | d6-20-HETE | 7.83 |  | [24.5 - 24.5] | SSTD | CUDA_(-) | ---
69 | 20-HETE | 7.87 |  | [0.08736 - 3900] | w-OH | d6-20-HETE | 1
70 | 7,8-DiHDoPE | 7.9097 |  | [0.06319 - 2821] | vic-Diol | d11-14,15-DiHETrE | 1
71 | 12-HEPE | 8.12 |  | [0.02629 - 1878] | R-OH | d8-12-HETE | 1
72 | 5,6-DiHETrE | 8.22 |  | [0.02585 - 1846] | vic-Diol | d11-14,15-DiHETrE | 1
73 | 9-HEPE | 8.29 |  | [0.02629 - 1878] | R-OH | d8-12-HETE | 1
74 | 11(12)-EpETrE_EA | 8.41 |  | [0.1387 - 6190] | Acyl-EA | d8-C20:4n6_EA | 0.6
75 | 13-HODE | 8.56 |  | [0.02683 - 1916] | R-OH | d4-9(S)-HODE | 1
76 | 12-HODE | 8.34 |  | [0.05902 - 4216] | R-OH | d4-9(S)-HODE | 1
77 | 10-HODE | 8.61 |  | [0.05902 - 4216] | R-OH | d4-9(S)-HODE | 1
78 | 5-HEPE | 8.62 |  | [0.02629 - 1878] | R-OH | d8-5(S)-HETE | 1
79 | d4-9(S)-HODE | 8.65 |  | [26.6 - 26.6] | SSTD | CUDA_(-) | ---
80 | 9-HODE | 8.7 |  | [0.02778 - 1984] | R-OH | d4-9(S)-HODE | 1
81 | 13-HpODE | 8.86 | b | [0 - 0] | R-OOH | d4-9(S)-HODE | 1
82 | 17(18)-EpETE | 8.81 |  | [0.02629 - 1878] | Epox | d4-12(13)-EpOME | 1
83 | 15(16)-EpODE | 8.66 | b | [0 - 0] | Epox | d4-12(13)-EpOME | 1
84 | 9(10)-EpODE | 8.8 |  | [0 - 0] | Epox | d4-12(13)-EpOME | 1
85 | d3-13-KODE | 8.83 |  | [26.9 - 26.9] | SSTD | CUDA_(-) | ---
86 | 13-KODE | 8.87 |  | [0.02675 - 1911] | R=O | d3-13-KODE | 0.5
87 | 12(13)-EpODE | 9.02 | b | [0 - 0] | Epox | d4-12(13)-EpOME | 1
88 | 15-HETE | 8.89 |  | [0.0546 - 3900] | R-OH | d8-12-HETE | 1
89 | 17-HDoHE | 9.01 |  | [0.02917 - 2083] | R-OH | d8-12-HETE | 1
90 | 15-KETE | 9.13 |  | [0.08791 - 3925] | R=O | d3-13-KODE | 0.5
91 | 14(15)-EpETE | 9.21 |  | [0.02629 - 1878] | Epox | d4-12(13)-EpOME | 1
92 | 9-KODE | 9.24 |  | [0.02675 - 1911] | R=O | d3-13-KODE | 0.5
93 | 11-HETE | 9.26 |  | [0.0273 - 1950] | R-OH | d8-12-HETE | 1
94 | 14-HDoHE | 9.27 |  | [0.02917 - 2083] | R-OH | d8-12-HETE | 1
95 | d8-12-HETE | 9.36 |  | [24.4 - 24.4] | SSTD | CUDA_(-) | ---
96 | 9-HpODE | 8.94 | b | [0 - 0] | R-OOH | d4-9(S)-HODE | 1
97 | 11(12)-EpETE | 9.4 |  | [0.02629 - 1878] | Epox | d4-12(13)-EpOME | 1
98 | 12-HETE | 9.4485 |  | [0.0273 - 1950] | R-OH | d8-12-HETE | 1
99 | 8(9)-EpETE | 9.48 |  | [0.02629 - 1878] | Epox | d4-12(13)-EpOME | 1
100 | 8-HETE | 9.5854 |  | [0.0273 - 1950] | R-OH | d8-12-HETE | 1
101 | 12-KETE | 9.67 |  | [0.02716 - 1940] | R=O | d3-13-KODE | 0.5
102 | 7-HDoHE | 9.69 |  | [0.08128 - 3628] | R-OH | d8-12-HETE | 1
103 | 9-HETE | 9.75 |  | [0.05495 - 3925] | R-OH | d8-12-HETE | 1
104 | N-C18:3n3_EA | 9.99 |  | [0.1742 - 7776] | Acyl-EA | d8-C20:4n6_EA | 0.6
105 | d8-5(S)-HETE | 10.01 |  | [24.4 - 24.4] | SSTD | CUDA_(-) | ---
106 | 19(20)-EpDoPE | 10.1 |  | [0.08128 - 3628] | Epox | d4-12(13)-EpOME | 1
107 | 5-HETE | 10.11 |  | [0.0273 - 1950] | R-OH | d8-5(S)-HETE | 1
108 | d4-12(13)-EpOME | 10.11 |  | [133 - 133] | SSTD | CUDA_(-) | ---
109 | N-C20:5n3_EA | 10.11 |  | [0.1621 - 7236] | Acyl-EA | d8-C20:4n6_EA | 0.6
110 | 12(13)-EpOME | 10.18 |  | [0.02683 - 1916] | Epox | d4-12(13)-EpOME | 1
111 | 14(15)-EpETrE | 10.35 |  | [0.0546 - 3900] | Epox | d4-12(13)-EpOME | 1
112 | 9(10)-EpOME | 10.44 |  | [0.02587 - 1848] | Epox | d4-12(13)-EpOME | 1
113 | 4-HDoHE | 10.6 |  | [0.02917 - 2083] | R-OH | d8-5(S)-HETE | 1
114 | 16(17)-EpDoPE | 10.55 |  | [0.04064 - 1814] | Epox | d4-12(13)-EpOME | 1
115 | 13(14)-EpDoPE | 10.67 |  | [0.07315 - 3266] | Epox | d4-12(13)-EpOME | 1
116 | N-16:1n7_EA | 10.73 |  | [0.1882 - 8403] | Acyl-EA | d4-C16:0_EA | 1
117 | 10(11)-EpDoPE | 10.82 |  | [0.07315 - 3266] | Epox | d4-12(13)-EpOME | 1
118 | 5-KETE | 10.87 |  | [0.08547 - 3816] | R=O | d3-13-KODE | 0.5
119 | 11(12)-EpETrE | 10.93 |  | [0.0273 - 1950] | Epox | d4-12(13)-EpOME | 1
120 | 7(8)-EpDoPE | 11.11 |  | [0.07315 - 3266] | Epox | d4-12(13)-EpOME | 1
121 | 8(9)-EpETrE | 11.15 |  | [0.0546 - 3900] | Epox | d4-12(13)-EpOME | 1
122 | 17-KDoHE | 11.32 |  | [0.07299 - 3259] | R=O | d3-13-KODE | 0.5
123 | N-C20:4n6_Ser | 11.6 |  | [0.143 - 6386] | Acyl-AA | d8-C20:4n6_Gly | 0.7
124 | 4-KDoHE | 11.73 |  | [0.07358 - 3285] | R=O | d3-13-KODE | 0.5
125 | N-C22:6n3_EA | 11.73 |  | [0.1507 - 6728] | Acyl-EA | d8-C20:4n6_EA | 0.6
126 | d8-C20:4n6_EA | 11.82 |  | [28.1 - 28.1] | SSTD | CUDA_(+) | ---
127 | N-C18:2n6_EA | 11.87 |  | [0.1731 - 7728] | Acyl-EA | d8-C20:4n6_EA | 0.6
128 | N-C20:4n6_EA | 11.91 |  | [0.1612 - 7194] | Acyl-EA | d8-C20:4n6_EA | 0.6
129 | 9(10)-EpO | 12.1 |  | [0.02805 - 2004] | Epox | d4-12(13)-EpOME | 1
130 | N-C22:6n3_Gly | 12.11 |  | [0.1453 - 6485] | Acyl-AA | d8-C20:4n6_Gly | 0.7
131 | d8-C20:4n6_Gly | 12.19 |  | [27.1 - 27.1] | SSTD | CUDA_(+) | ---
132 | N-C20:4n6_Gly | 12.29 |  | [0.1549 - 6916] | Acyl-AA | d8-C20:4n6_Gly | 0.7
133 | N-C18:2n6_Gly | 12.29 |  | [0.1659 - 7407] | Acyl-AA | d8-C20:4n6_Gly | 0.7
134 | N-C20:3n6_EA | 12.83 |  | [0.1602 - 7151] | Acyl-AA | d8-C20:4n6_EA | 0.6
135 | C20:5n3 | 12.88 | b | [0 - 0] | PUFA | d8-C20:4n6 | 1
136 | C18:3n3 | 13 | b | [0 - 0] | PUFA | d8-C20:4n6 | 1
137 | d5-2-AG | 12.95 |  | [26.1 - 26.1] | SSTD | CUDA_(+) | ---
138 | d4-C16:0_EA | 12.9 |  | [26.4 - 26.4] | SSTD | CUDA_(+) | ---
139 | N-C16:0_EA | 12.92 |  | [0.187 - 8347] | Acyl-EA | d4-C16:0_EA | 1
140 | 2-AG | 12.82 |  | [0.2958 - 13210] | MAG | d5-2-AG | 1
141 | 1-AG | 13.04 |  | [0.2958 - 13210] | MAG | d5-2-AG | 1
142 | 2-LG | 12.92 |  | [0.3949 - 17630] | MAG | d5-2-AG | 1
143 | 1-LG | 13.18 |  | [0.3949 - 17630] | MAG | d5-2-AG | 1
144 | N-C16:0_Gly | 13.31 |  | [0.1786 - 7974] | Acyl-AA | d8-C20:4n6_Gly | 0.7
145 | N-C18:1n9_EA | 13.42 |  | [0.172 - 7680] | Acyl-AA | d4-C16:0_EA | 1
146 | N-C22:4n6_EA | 13.52 |  | [0.1864 - 8320] | Acyl-AA | d8-C20:4n6_EA | 0.6
147 | C22:6n3 | 13.65 | b | [0 - 0] | PUFA | d8-C20:4n6 | 1
148 | N-C18:1n9_Gly | 13.78 |  | [0.1649 - 7364] | Acyl-AA | d8-C20:4n6_Gly | 0.7
149 | d8-C20:4n6 | 13.83 |  | [25.6 - 25.6] | SSTD | CUDA_(-) | ---
150 | C20:4n6 | 13.88 | b | [0 - 0] | PUFA | d8-C20:4n6 | 1
151 | C18:2n6 | 14.02 | b | [0 - 0] | PUFA | d8-C20:4n6 | 1
152 | 2-OG | 14.08 |  | [0.4712 - 21040] | MAG | d5-2-AG | 1
153 | 1-OG | 14.25 |  | [0.5278 - 23560] | MAG | d5-2-AG | 1
154 | N-C18:0_EA | 14.45 |  | [0.1709 - 7631] | Acyl-EA | d4-C16:0_EA | 1
155 | N-C20:0_EA | 15.08 |  | [0.1312 - 5859] | Acyl-EA | d4-C16:0_EA | 1
156 | N-C24:1n9_EA | 15.54 |  | [0.1553 - 6934] | Acyl-EA | d4-C16:0_EA | 1
a - ISTD (i.e. internal standard) associations with analytes used to correct quantification for analytical loss and suppression b - analyte levels estimated by ISTD adjusted peak area, but without a quantitative response factor calibration c - Analytical surrogate solutions used in the analysis were not prepared synonymously with the calibration solutions. The concentrations in the new surrogate solution were validated against the calibration curves and correction factors were generated to adjust results for analytes quantified using the subset of surrogates with non-equivalent concentrations.