Table S2. Resting-state fMRI parameters of the HCP

| Parameter | HCP |
| --- | --- |
| Scanner | 3.0T Siemens Trio |
| Sequence | GRE-EPI |
| TR (ms) | 720 |
| TE (ms) | 33.1 |
| FA (°) | 52 |
| FOV (mm²) | 208×180 |
| Matrix size | 104×90 |
| Slice thickness (mm) | 2 |
| Slice gap (mm) | 0 |
| Slices | 72 |
| Time points | 1210 |

HCP, Human Connectome Project; GRE-EPI, gradient-recalled echo-Planar Imaging; FA, flip angle; fMRI, functional magnetic resonance imaging; FOV, field of view; TE, echo time; TR, repetition time.