Synthetic Cannabinoids in Human Post-Mortem Samples – ADB-BUTINACA and Metabolites in Three Fatalities

Annette Zschiesche1,2†, Sophia Köpfler1,3†, Cora Wunder4, Annekathrin M. Keiler5, Johanna Görg4, Cleo P. Walz4, Barbara Fliss4, Tanja Germerott4, Volker Auwärter1*, Laura M. Huppertz1

1Institute of Forensic Medicine, Forensic Toxicology, Medical Center – University of Freiburg, Faculty of Medicine, University of Freiburg, Albertstr. 9, 79104 Freiburg, Germany

2Hermann Staudinger Graduate School, University of Freiburg, Hebelstr. 27, 79104 Freiburg, Germany

3Furtwangen University of Applied Sciences, Robert-Gerwig-Platz 1, 78120 Furtwangen, Germany

4Department of Forensic Toxicology, Institute of Legal Medicine, University Medical Center of the Johannes Gutenberg University, Am Pulverturm 3, 55131 Mainz, Germany

5Faculty of Biology, Environmental Monitoring and Endocrinology, TU Dresden University of Technology, Zellescher Weg 2b, 01217 Dresden, Germany

†These authors share first authorship

Table S1: Limit of quantification (LOQ) of LC-qToF-Screening and thresholds for quantification via GC-MS.

| LC-qToF-MS |  |
| --- | --- |
| Analyte | LOQ |
| Pregabaline | approx. 1000 ng/mL (quant 100 ng/mL) |
| Quetiapine | approx. 10 ng/mL |
| Opiates | approx. 25 ng/mL (quant 5 ng/mL) |
| Psychotropic drugs | approx. 10 ng/mL |
| Ketamine | approx. 10 ng/mL |
| GC-MS |  |
| Analyte | Threshold |
| Ethanol | from 0.1 per mille |
| THC | from 0.5 ng/mL |
| THC-COOH | from 2.5 ng/mL |

Table S2: Dilution factors for every post-mortem matrix and case, linear regression equation and linearity (R2: Regression correlation coefficient) were calculated using the mean values of the triplicates.

|  | Dilution factor |  |  | Equation (linear regression) |  |  | R2 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Matrix/Case | 1 | 2 | 3 | 1 | 2 | 3 | 1 | 2 | 3 |
| Femoral blood | 5 | n.a. | 5 | y = 0.1906x+ 0.1634 | n.a. | y = 0.1815x + 0.3004 | 0.9964 | n.a. | 0.9973 |
| Heart blood | 5 | 5 | 5 | y = 0.1838x + 0.2891 | y = 0.1955x + 0.2241 | y = 0.1656x + 0.3658 | 0.9970 | 0.9974 | 0.9943 |
| Urine | n.a. | 1 | 1 | n.a. | y = 0.1869x + 0.0504 | y = 0.1734x + 0.0632 | n.a. | 0.9997 | 0.9975 |
| Stomach content | 1 | 1 | n.a. | y = 0.2030x + 0.6128 | y = 0.1936x + 0.3011 | n.a. | 0.9920 | 0.9978 | n.a. |
| Bile fluid | 5 | 5 | 5 | y = 0.2540x + 0.2560 | y = 0.1924x + 0.4939 | y = 0.2015x + 0.5346 | 0.9972 | 0.9985 | 0.9990 |
| Brain tissue | 6 | 5 | 6 | y = 0.1695x + 0.0884 | y = 0.2045x + 0.0224 | y = 0.236x + 0.1228 | 0.9979 | 0.9962 | 0.9993 |
| Kidney tissue | 5 | 6 | 6 | y = 0.1927x+ 0.1791 | y = 0.2145x + 0.0581 | y = 0.2236x + 0.2173 | 0.9984 | 0.9979 | 0.9990 |
| Liver tissue | 5 | 5 | 2 | y = 0.1634x + 0.4150 | y = 0.2200x + 0.1594 | y = 0.1801x + 2.4240 | 0.9932 | 0.9955 | 0.9859 |
| Lung tissue | 6 | 6 | 2 | y = 0.1803x + 0.0853 | y = 0.2268x + 0.1150 | y = 0.2024x + 0.1884 | 0.9944 | 0.9981 | 0.9989 |
| Muscle tissue (psoas) | 6 | 1 | 10 | y = 0.1860x + 0.0316 | y = 0.2836x + 0.2210 | y = 0.2180x + 0.2647 | 0.9994 | 0.9933 | 0.9985 |

n.a.: not available

Table S3: Optimized mass spectrometric parameters of the MRM ion transitions of ADB-BUTINACA and its metabolites. tR: retention time, Q1: m/z of the precursor ion, Q3: m/z of the fragment ion, DP: declustering potential, EP: entrance potential, CE: collision energy and CXP: cell exit potential.

| Analyte | tR [min] | Q1 [Da] | Q3 [Da] | DP [V] | EP [V] | CE [V] | CXP [V] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ADB-BUTINACA | 4.41 | 331.21 | 201.1 | 56 | 10 | 35 | 8 |
|  |  |  | 286.19 | 56 | 10 | 21 | 12 |
|  |  |  | 145.02 | 56 | 10 | 57 | 16 |
| N-butyl 3OH | 2.27 | 347.20 | 217.1 | 50 | 10 | 34 | 13 |
|  |  |  | 302.1 | 50 | 10 | 22 | 16 |
|  |  |  | 145 | 50 | 10 | 55 | 13 |
| MonoOH indazole | 3.12 | 347.20 | 217.1 | 50 | 10 | 34 | 13 |
|  |  |  | 302.1 | 50 | 10 | 22 | 16 |
|  |  |  | 161 | 50 | 10 | 52 | 13 |
| N-Butanoic acid | 2.17 | 361.19 | 231.076 | 50 | 10 | 32 | 15 |
|  |  |  | 316.16 | 50 | 10 | 20 | 15 |
|  |  |  | 145 | 50 | 10 | 55 | 13 |
| ADB-INACA | 1.8 | 275.15 | 230.1 | 45 | 10 | 24 | 15 |
|  |  |  | 145 | 45 | 10 | 47 | 11 |
| Amide hydrolysis +Gluc | 3.65 | 508.20 | 286.2 | 62 | 10 | 35 | 15 |
|  |  |  | 201.1 | 62 | 10 | 42 | 13 |
|  |  |  | 332.2 | 62 | 10 | 27 | 17 |
| N-3OH butyl +Gluc | 1.47 | 523.20 | 217.101 | 63 | 10 | 48 | 13 |
|  |  |  | 302.2 | 63 | 10 | 39 | 15 |
|  |  |  | 145.01 | 63 | 10 | 67 | 10 |
| MonoOH Indazole +Gluc | 1.66 | 523.20 | 217.102 | 63 | 10 | 48 | 13 |
|  |  |  | 478.202 | 63 | 10 | 23 | 19 |
|  |  |  | 161 | 63 | 10 | 65 | 10 |
| Amide hydrolysis | 5.14 | 332.21 | 201.1 | 50 | 10 | 35 | 17 |
|  |  |  | 286.2 | 50 | 10 | 27 | 20 |
|  |  |  | 145 | 50 | 10 | 57 | 14 |
| Dihydrodiol (indazole) | 1.54 | 365.20 | 235.1 | 60 | 10 | 35 | 16 |
|  |  |  | 320.2 | 60 | 10 | 18 | 20 |
|  |  |  | 179 | 60 | 10 | 54 | 14 |
| Dihydrodiol (indazole) + Gluc | 0.89 | 541.30 | 496.2 | 65 | 10 | 25 | 19 |
|  |  |  | 235.1 | 65 | 10 | 52 | 11 |
|  |  |  | 411.1 | 65 | 10 | 29 | 16 |

Table S4: TSS criteria (Elliott et al., 2018) and case application.

| TSS | Criteria | Case 1 | Case 2 | Case 3 |
| --- | --- | --- | --- | --- |
| U | Unclassified insufficient data to allow assessment | - | - | - |
| 1 | Possible contributory/low | - | + | - |
| 2 | Contributory cause/medium | - | - | + |
| 3 | Primary cause/high | + | - | - |

Elliott, S., Sedefov, R., Evans-Brown, M., 2018. Assessing the toxicological significance of new psychoactive substances in fatalities. Drug Test. Anal. 10, 120–126. https://doi.org/10.1002/dta.2225