## README
Cost-Benefit Analysis of far-UVC lamps
Tool to assess impact of far-UVC light in hospitality, medical and office settings using the CERN-code CAIMIRA, developed by d-fine GmbH
Overview of excel sheets
Title | Description
Scenarios | List of settings and corresponding parameter sets that are input variables for Caimira (dark orange) followed by occurence frequency per parameter set (light green and yellow) , then output from Caimira (light orange) and upscaled values across whole length of pandemic scenario (dark blue)
Assumptions Benefits | List of assumptions necessary for monetary assessment of impact like hospitalisation rates, average sick days per infection etc. for all three pandemic scenarios including sources
Monetary Benefits calc | Calculation of monetary benefits per setting split into healthcare, national economy and intangible benegfits and total sums and cost-benefit ratio. Numbers shown in red have not been used further (discarded acitivity type from Scenarios sheet)
Calc. Without intangible Ben. | Copied sheet "Monetary benefits calc" but sums and ratios are calculated without intangible benefits
Per Capita benefits | Calculation of benefits per capita in Switzerland (gains and avoided sick days)
Per Capita ben. wo intangible | Copied sheet "Per Capita benefits" but calculations don't include intangible benefits
Costs | Cost calculation per year for far-UVC lamps and HEPA filters
Graphs | Working sheet for graph preparation for the word document
Selected infectious diseases | Table of background information on selected respiratory diseases like confirmed number of cases, hospitalisations etc.
Please contact Sabine Matysik (sabine.matysik@d-fine.com) for questions

## Scenarios
|  |  | Caimira input variables | [15 empty] | Frequency/week normal winter high activity | Frequency/week normal winter low activity | Frequency/week pandemic peak high activity | Frequency/week pandemic peak low activity | Frequency/week severe pandemic high activity | Frequency/week severe pandemic low activity |  | wo farUVC | with farUVC | with farUVC*10 | Result/a normal winter high activity | Result/a normal winter low activity | Result/a pandemic peak high activity | Result/a pandemic peak low activity | Result/a severe pandemic high activity | Result/a severe pandemic low activity | wo farUVC wo ventilation but with HEPA | wo farUVC but with HEPA | wo all | wo vent but with farUVC | wo vent but with farUVC*10 | Result wo vent | Exposure |  | Costs HEPA | Costs farUVC | maintenance far-UVC
Setting | Scenario | Author | Room volume [m^3] | Room area [m^2] | Occupants | Duration | Infected | Duration | Ventilation [ACH] | # far-UVC lamps | ACH from far-UVC | ACH from far-UVC*10 | HEPA (>5ACH) | #HEPA Filter at 430 m^3/h | #HEPA Filter for >= ACH from far-UVC | Activity type | Comments/ACH acc to guideline | Asumptions | 0.042857 | 0.042857 | 0.010714 | 0.010714 | 0.02 | 0.02 | Bin.-Vert. | [15 empty] | mJ/cm^2 in 1h | mJ/cm^2 in 8h | 700$/unit, lasts 3-5a | 1500$/unit | 500$ per excimer lamp, once per year
Restaurant /Bar | Irish pub Saturday night | Sabine | 346 | 122 | 40 | 3h | 1 | 3h | 5 | 9 | 9.8476 | 98.4759 | 1720 | 4 | 8 | Laboratory | mainly 18-40s | Di-Mi low Do-Sa 1 full shift 1 low shift |  | 5 |  | 2 |  | 2 | 0.31058 | 2.24 | 1.28 | 0.3 |  | 105.6 |  | 7.68 |  | 15.36 | 2.26 | 1.61 | 4.53 | 1.59 | 0.29 | 294 | 2.9213 | 23.3705 | 2800 | 13500 | 4500 | 0.81148
Restaurant /Bar | Irish pub Saturday night | Sabine | 346 | 122 | 40 | 3h | 1 | 3h | 5 | 9 | 9.8476 | 98.4759 | 1720 | 4 | 8 | Workshop | mainly 18-40s | -> 410 | 5 |  | 2 |  | 2 |  | 0.31058 | 3.17 | 1.96 | 0.55 | 133.1 |  | 9.68 |  | 19.36 |  | 3.2 | 2.36 | 5.84 | 2.48 | 0.53 | 0 | 2.9213 | 23.3705 | 2800 | 13500 | 4500 | 0.81148
Restaurant /Bar | Irish pub Saturday night | Sabine | 346 | 122 | 70 | 3 h | 2 | 3 h | 5 | 9 | 9.8476 | 98.4759 | 1720 | 4 | 8 | Laboratory | mainly 18-40s | davon 16/4/8 Krank |  | 0 |  | 1 |  | 1 | 0.22562 | 5.62 | 3.42 | 0.9 |  | 0 |  | 8.8 |  | 17.6 | 5.66 | 4.22 | 10.3 | 4.21 | 0.95 | 0 | 2.9213 | 23.3705 | 2800 | 13500 | 4500 | 0.81148
Restaurant /Bar | Irish pub Saturday night | Sabine | 346 | 122 | 70 | 3 h | 2 | 3 h | 5 | 9 | 9.8476 | 98.4759 | 1720 | 4 | 8 | Workshop | mainly 18-40s |  | 0 |  | 1 |  | 1 |  | 0.22562 | 7.67 | 5.01 | 1.56 | 0 |  | 10.64 |  | 21.28 |  | 7.63 | 5.94 | 12.97 | 5.93 | 1.63 | 0 | 2.9213 | 23.3705 | 2800 | 13500 | 4500 | 0.81148
Restaurant /Bar | Irish pub Saturday night | Sabine | 346 | 122 | 70 | 3 h | 3 | 3 h | 5 | 9 | 9.8476 | 98.4759 | 1720 | 4 | 8 | Laboratory | mainly 18-40s |  |  | 1 |  | 0 |  | 0 | 0.22899 | 6.64 | 4.25 | 1.25 |  | 52.58 |  | 0 |  | 0 | 6.73 | 5.06 | 11.73 | 5.06 | 1.3 | 133.4 | 2.9213 | 23.3705 | 2800 | 13500 | 4500 | 0.81148
Restaurant /Bar | Irish pub Saturday night | Sabine | 346 | 122 | 70 | 3 h | 3 | 3 h | 5 | 9 | 9.8476 | 98.4759 | 1720 | 4 | 8 | Workshop | mainly 18-40s |  | 1 |  | 0 |  | 0 |  | 0.22899 | 8.91 | 6.02 | 2.04 | 63.58 |  | 0 |  | 0 |  | 8.86 | 7.09 | 14.46 | 7.04 | 2.16 | 0 | 2.9213 | 23.3705 | 2800 | 13500 | 4500 | 0.81148
Restaurant /Bar | Irish pub Saturday night | Sabine | 346 | 122 | 70 | 3 h | 4 | 3 h | 5 | 9 | 9.8476 | 98.4759 | 1720 | 4 | 8 | Laboratory | mainly 18-40s |  |  | 2 |  | 0 |  | 1 | 0.17174 | 7.37 | 4.84 | 1.52 |  | 111.32 |  | 0 |  | 20.24 | 7.38 | 5.78 | 12.51 | 5.78 | 1.57 | 269.2 | 2.9213 | 23.3705 | 2800 | 13500 | 4500 | 0.81148
Restaurant /Bar | Irish pub Saturday night | Sabine | 346 | 122 | 70 | 3 h | 4 | 3 h | 5 | 9 | 9.8476 | 98.4759 | 1720 | 4 | 8 | Workshop | 5.8671 |  | 2 |  | 0 |  | 1 |  | 0.17174 | 9.67 | 6.73 | 2.48 | 129.36 |  | 0 |  | 23.52 |  | 9.72 | 7.75 | 15.5 | 7.78 | 2.53 | 0 | 2.9213 | 23.3705 | 2800 | 13500 | 4500 | 0.81148
Restaurant /Bar | fast food restaurant | Stefan | 630 | 180 | 110 | 1 h | 1 | 1 h | 5 | 13 | 7.8121 | 78.1207 | 3440 | 8 | 11 | Control Room (day shift) |  | Mo-So 8h a day |  | 30 |  | 8 |  | 14 | 0.0398 | 0.36 | 0.18 | 0.03 |  | 118.8 |  | 5.76 |  | 20.16 | 0.35 | 0.22 | 0.88 | 0.26 | 0.04 | 372 | 2.86 | 22.88 | 5600 | 19500 | 6500 | 0.79444
Restaurant /Bar | fast food restaurant | Stefan | 630 | 180 | 110 | 1 h | 1 | 1 h | 5 | 13 | 7.8121 | 78.1207 | 3440 | 8 | 11 | Laboratory |  | 110 pro Stunde | 30 |  | 8 |  | 14 |  | 0.0398 | 1.8 | 0.98 | 0.2 | 541.2 |  | 26.24 |  | 91.84 |  | 1.72 | 1.16 | 3.66 | 1.4 | 0.21 | 0 | 2.86 | 22.88 | 5600 | 19500 | 6500 | 0.79444
Restaurant /Bar | fast food restaurant | Stefan | 630 | 180 | 110 | 1 h | 4 | 1 h | 5 | 13 | 7.8121 | 78.1207 | 3440 | 8 | 11 | Control Room (day shift) |  | -> 6160 |  | 14 |  | 3 |  | 7 | 0.18752 | 1.23 | 0.66 | 0.13 |  | 175.56 |  | 6.84 |  | 31.92 | 1.18 | 0.76 | 2.66 | 0.96 | 0.14 | 476 | 2.86 | 22.88 | 5600 | 19500 | 6500 | 0.79444
Restaurant /Bar | fast food restaurant | Stefan | 630 | 180 | 110 | 1 h | 4 | 1 h | 5 | 13 | 7.8121 | 78.1207 | 3440 | 8 | 11 | Laboratory |  | 240/60/120 krank | 14 |  | 3 |  | 7 |  | 0.18752 | 4.64 | 2.91 | 0.7 | 532.84 |  | 20.76 |  | 96.88 |  | 4.57 | 3.3 | 7.91 | 3.83 | 0.76 | 0 | 2.86 | 22.88 | 5600 | 19500 | 6500 | 0.79444
Restaurant /Bar | fast food restaurant | Stefan | 630 | 180 | 110 | 1 h | 6 | 30 min | 5 | 13 | 7.8121 | 78.1207 | 3440 | 8 | 11 | Control Room (day shift) |  |  |  | 7 |  | 2 |  | 3 | 0.13948 | 1.09 | 0.54 | 0.1 |  | 84.7 |  | 4.4 |  | 13.2 | 1.04 | 0.64 | 2.76 | 0.8 | 0.1 | 274.4 | 2.86 | 22.88 | 5600 | 19500 | 6500 | 0.79444
Restaurant /Bar | fast food restaurant | Stefan | 630 | 180 | 110 | 1 h | 6 | 30 min | 5 | 13 | 7.8121 | 78.1207 | 3440 | 8 | 11 | Laboratory |  |  | 7 |  | 2 |  | 3 |  | 0.13948 | 4.31 | 2.44 | 0.53 | 287.98 |  | 14.96 |  | 44.88 |  | 4.11 | 2.77 | 8.1 | 3.39 | 0.57 | 0 | 2.86 | 22.88 | 5600 | 19500 | 6500 | 0.79444
Restaurant /Bar | fast food restaurant | Stefan | 630 | 180 | 110 | 30 min | 8 | 30 min | 5 | 13 | 7.8121 | 78.1207 | 3440 | 8 | 11 | Control Room (day shift) |  |  |  | 7 |  | 2 |  | 4 | 0.053492 | 1.01 | 0.59 | 0.12 |  | 64.68 |  | 3.36 |  | 13.44 | 0.98 | 0.69 | 1.68 | 0.8 | 0.13 | 123.2 | 2.86 | 22.88 | 5600 | 19500 | 6500 | 0.79444
Restaurant /Bar | fast food restaurant | Stefan | 630 | 180 | 110 | 30 min | 8 | 30 min | 5 | 13 | 7.8121 | 78.1207 | 3440 | 8 | 11 | Laboratory |  |  | 7 |  | 2 |  | 4 |  | 0.053492 | 3.99 | 2.69 | 0.67 | 200.2 |  | 10.4 |  | 41.6 |  | 3.93 | 2.95 | 5.75 | 3.39 | 0.72 | 0 | 2.86 | 22.88 | 5600 | 19500 | 6500 | 0.79444
Restaurant /Bar | fast food restaurant | Stefan | 630 | 180 | 110 | 30 min | 4 | 30 min | 5 | 13 | 7.8121 | 78.1207 | 3440 | 8 | 11 | Control Room (day shift) |  |  |  | 14 |  | 3 |  | 7 | 0.18752 | 0.57 | 0.32 | 0.06 |  | 77 |  | 3 |  | 14 | 0.55 | 0.38 | 0.99 | 0.45 | 0.07 | 151.2 | 2.86 | 22.88 | 5600 | 19500 | 6500 | 0.79444
Restaurant /Bar | fast food restaurant | Stefan | 630 | 180 | 110 | 30 min | 4 | 30 min | 5 | 13 | 7.8121 | 78.1207 | 3440 | 8 | 11 | Laboratory |  |  | 14 |  | 3 |  | 7 |  | 0.18752 | 2.62 | 1.6 | 0.36 | 314.16 |  | 12.24 |  | 57.12 |  | 2.74 | 1.84 | 3.96 | 2.1 | 0.38 | 0 | 2.86 | 22.88 | 5600 | 19500 | 6500 | 0.79444
Restaurant /Bar | fast food restaurant | Stefan | 70 | 20 | 20 | 15min | 1 | 15 min | 5 | 1 | 5.4084 | 54.0836 | 430 | 1 | 1 | Control Room (day shift) | Queue in front of the cash desk | Mo-So 1h Mittag 2h Abend |  | 64 |  | 16 |  | 32 | 0.37292 | 0.08 | 0.06 | 0.02 |  | 28.16 |  | 1.28 |  | 5.12 | 0.08 | 0.06 | 0.12 | 0.08 | 0.02 | 51.2 | 1.98 | 15.84 | 700 | 1500 | 500 | 0.55
Restaurant /Bar | fast food restaurant | Stefan | 70 | 20 | 20 | 15min | 1 | 15 min | 5 | 1 | 5.4084 | 54.0836 | 430 | 1 | 1 | Laboratory | Queue in front of the cash desk | 1680 -> 64/16/32 | 64 |  | 16 |  | 32 |  | 0.37292 | 0.39 | 0.31 | 0.1 | 112.64 |  | 5.12 |  | 20.48 |  | 0.37 | 0.3 | 0.52 | 0.38 | 0.1 | 0 | 1.98 | 15.84 | 700 | 1500 | 500 | 0.55
Restaurant /Bar | medium restaurant | Bianca | 300 | 100 | 64 | 2 h | 1 | 2 h | 5 | 7 | 8.8337 | 88.3365 | 1720 | 4 | 6 | Office | 6.1867 | Di-So Mittag & Abend |  | 8 |  | 1 |  | 3 | 0.17368 | 0.6 | 0.28 | 0.05 |  | 56.32 |  | 1.28 |  | 7.68 | 0.54 | 0.34 | 1.68 | 0.4 | 0.05 | 204.8 | 2.772 | 22.176 | 2800 | 10500 | 3500 | 0.77
Restaurant /Bar | medium restaurant | Bianca | 300 | 100 | 64 | 2 h | 1 | 2 h | 5 | 7 | 8.8337 | 88.3365 | 1720 | 4 | 6 | Control Room (day shift) | 6.1867 | 768 -> 30/7/15 | 8 |  | 1 |  | 3 |  | 0.17368 | 0.84 | 0.41 | 0.07 | 75.68 |  | 1.72 |  | 10.32 |  | 0.77 | 0.49 | 2.22 | 0.56 | 0.07 | 0 | 2.772 | 22.176 | 2800 | 10500 | 3500 | 0.77
Restaurant /Bar | medium restaurant | Bianca | 300 | 100 | 64 | 2 h | 4 | 2 h | 5 | 7 | 8.8337 | 88.3365 | 1720 | 4 | 6 | Office | 6.1867 |  |  | 3 |  | 1 |  | 2 | 0.15479 | 1.72 | 0.91 | 0.18 |  | 53.46 |  | 3.24 |  | 12.96 | 1.63 | 1.09 | 3.91 | 1.24 | 0.18 | 160.2 | 2.772 | 22.176 | 2800 | 10500 | 3500 | 0.77
Restaurant /Bar | medium restaurant | Bianca | 300 | 100 | 64 | 2 h | 4 | 2 h | 5 | 7 | 8.8337 | 88.3365 | 1720 | 4 | 6 | Control Room (day shift) | 6.1867 |  | 3 |  | 1 |  | 2 |  | 0.15479 | 2.24 | 1.23 | 0.26 | 66.66 |  | 4.04 |  | 16.16 |  | 2.08 | 1.44 | 4.67 | 1.62 | 0.28 | 0 | 2.772 | 22.176 | 2800 | 10500 | 3500 | 0.77
Restaurant /Bar | medium restaurant | Bianca | 300 | 100 | 64 | 1 h | 1 | 1 h | 5 | 7 | 8.8337 | 88.3365 | 1720 | 4 | 6 | Office | mainly 18-70s |  |  | 10 |  | 1 |  | 4 | 0.17368 | 0.29 | 0.14 | 0.02 |  | 33 |  | 0.6 |  | 4.8 | 0.27 | 0.18 | 0.7 | 0.2 | 0.03 | 100 | 2.772 | 22.176 | 2800 | 10500 | 3500 | 0.77
Restaurant /Bar | medium restaurant | Bianca | 300 | 100 | 64 | 1 h | 1 | 1 h | 5 | 7 | 8.8337 | 88.3365 | 1720 | 4 | 6 | Control Room (day shift) | mainly 18-70s |  | 10 |  | 2 |  | 4 |  | 0.17368 | 0.41 | 0.21 | 0.04 | 44 |  | 1.6 |  | 6.4 |  | 0.39 | 0.25 | 0.97 | 0.29 | 0.04 | 0 | 2.772 | 22.176 | 2800 | 10500 | 3500 | 0.77
Doctors Office | Waiting room | Bianca | 48 | 20 | 5 | 30 min | 1 | 30 min | 5 | 1 | 7.8872 | 78.8719 | 430 | 1 | 1 | Office | 3.0208 | Mo-Fr 4h Vormittag 3x 4h Nachm | 3 |  | 1 |  | 2 |  | 0.17985 | 0.04 | 0.03 | 0.01 | 0.66 |  | 0.04 |  | 0.16 |  | 0.03 | 0.02 | 0.07 | 0.04 | 0.01 | 0 | 1.98 | 15.84 | 700 | 1500 | 500 | 0.55
Doctors Office | Waiting room | Bianca | 48 | 20 | 5 | 30 min | 1 | 30 min | 5 | 1 | 7.8872 | 78.8719 | 430 | 1 | 1 | Control Room (night shift) | 3.0208 | 32h 50% voll 50% leerer |  | 3 |  | 1 |  | 2 | 0.17985 | 0.02 | 0.01 | 0 |  | 0.66 |  | 0.04 |  | 0.16 | 0.01 | 0.01 | 0.03 | 0.01 | 0 | 1.2 | 1.98 | 15.84 | 700 | 1500 | 500 | 0.55
Doctors Office | Waiting room | Bianca | 48 | 20 | 10 | 1h | 1 | 1h | 5 | 1 | 7.8872 | 78.8719 | 430 | 1 | 1 | Office | 6.0417 | 240 -> 10/3/5 | 4 |  | 2 |  | 3 |  | 0.28894 | 0.2 | 0.11 | 0.02 | 7.92 |  | 0.72 |  | 2.16 |  | 0.15 | 0.11 | 0.39 | 0.16 | 0.02 | 0 | 1.98 | 15.84 | 700 | 1500 | 500 | 0.55
Doctors Office | Waiting room | Bianca | 48 | 20 | 10 | 1h | 1 | 1h | 5 | 1 | 7.8872 | 78.8719 | 430 | 1 | 1 | Control Room (night shift) | 6.0417 |  |  | 4 |  | 2 |  | 3 | 0.28894 | 0.08 | 0.04 | 0.01 |  | 3.52 |  | 0.32 |  | 0.96 | 0.06 | 0.04 | 0.19 | 0.06 | 0.01 | 10.4 | 1.98 | 15.84 | 700 | 1500 | 500 | 0.55
Doctors Office | Waiting room | Bianca | 48 | 20 | 10 | 1h | 3 | 1h | 5 | 1 | 7.8872 | 78.8719 | 430 | 1 | 1 | Office | 6.0417 | alternatively we could use 1/4/8 as split for 0,12 incidence | 1 |  | 0 |  | 0 |  | 0.0069517 | 0.33 | 0.21 | 0.05 | 2.64 |  | 0 |  | 0 |  | 0.25 | 0.2 | 0.56 | 0.27 | 0.05 | 0 | 1.98 | 15.84 | 700 | 1500 | 500 | 0.55
Doctors Office | Waiting room | Bianca | 48 | 20 | 10 | 1h | 3 | 1h | 5 | 1 | 7.8872 | 78.8719 | 430 | 1 | 1 | Control Room (night shift) | 6.0417 |  |  | 1 |  | 0 |  | 0 | 0.0069517 | 0.16 | 0.09 | 0.02 |  | 1.54 |  | 0 |  | 0 | 0.12 | 0.08 | 0.31 | 0.13 | 0.02 | 3.6 | 1.98 | 15.84 | 700 | 1500 | 500 | 0.55
Hospital | Waiting room Neuro Göppingen | Sabine | 67.2 | 24 | 10 | 30min | 1 | 30 min | 5 | 1 | 5.6337 | 56.3371 | 430 | 1 | 1 | Office | 4.3155 | Mo-Fr 8h | 8 |  | 2 |  | 4 |  | 0.28894 | 0.07 | 0.05 | 0.01 | 3.52 |  | 0.16 |  | 0.64 |  | 0.07 | 0.05 | 0.13 | 0.07 | 0.01 | 0 | 1.65 | 13.2 | 700 | 1500 | 500 | 0.45833
Hospital | Waiting room Neuro Göppingen | Sabine | 67.2 | 24 | 10 | 30min | 1 | 30 min | 5 | 1 | 5.6337 | 56.3371 | 430 | 1 | 1 | Control Room (night shift) | 4.3155 | 400 -> 16/4/8 |  | 8 |  | 2 |  | 4 | 0.28894 | 0.03 | 0.02 | 0 |  | 1.76 |  | 0.08 |  | 0.32 | 0.02 | 0.02 | 0.05 | 0.03 | 0 | 3.2 | 1.65 | 13.2 | 700 | 1500 | 500 | 0.45833
Hospital | Waiting room Neuro Göppingen | Sabine | 67.2 | 24 | 10 | 2h | 1 | 30min | 5 | 1 | 5.6337 | 56.3371 | 430 | 1 | 1 | Office | 4.3155 |  | 8 |  | 2 |  | 4 |  | 0.28894 | 0.1 | 0.06 | 0.01 | 7.04 |  | 0.32 |  | 1.28 |  | 0.09 | 0.05 | 0.33 | 0.09 | 0.01 | 0 | 1.65 | 13.2 | 700 | 1500 | 500 | 0.45833
Hospital | Waiting room Neuro Göppingen | Sabine | 67.2 | 24 | 10 | 2h | 1 | 30min | 5 | 1 | 5.6337 | 56.3371 | 430 | 1 | 1 | Control Room (night shift) | 4.3155 |  |  | 8 |  | 2 |  | 4 | 0.28894 | 0.04 | 0.02 | 0 |  | 3.52 |  | 0.16 |  | 0.64 | 0.03 | 0.02 | 0.16 | 0.04 | 0 | 19.2 | 1.65 | 13.2 | 700 | 1500 | 500 | 0.45833
Hospital | Waiting room Neuro Dortmund | Sabine | 44.8 | 16 | 12 | 1h | 1 | 1 h | 5 | 1 | 8.4506 | 84.5056 | 430 | 1 | 1 | Office | 7.7679 | Mo-Fr 8h | 20 |  | 5 |  | 10 |  | 0.31765 | 0.26 | 0.14 | 0.03 | 52.8 |  | 2.4 |  | 9.6 |  | 0.18 | 0.13 | 0.5 | 0.19 | 0.03 | 0 | 2.475 | 19.8 | 700 | 1500 | 500 | 0.6875
Hospital | Waiting room Neuro Dortmund | Sabine | 44.8 | 16 | 12 | 1h | 1 | 1 h | 5 | 1 | 8.4506 | 84.5056 | 430 | 1 | 1 | Control Room (night shift) | 7.7679 | 480 -> 20/5/10 |  | 20 |  | 5 |  | 10 | 0.31765 | 0.11 | 0.06 | 0.01 |  | 22 |  | 1 |  | 4 | 0.07 | 0.05 | 0.24 | 0.08 | 0.01 | 64 | 2.475 | 19.8 | 700 | 1500 | 500 | 0.6875
Hospital | Notfall Warteraum Thun | Laurent | 276 | 69 | 4 | 1h | 1 | 1h | 5 | 5 | 6.8584 | 68.5843 | 1720 | 4 | 4 | Office | 0.42029 | Mo-So 8h | 6 |  | 2 |  | 3 |  | 0.15032 | 0.02 | 0.01 | 0 | 1.32 |  | 0.08 |  | 0.24 |  | 0.01 | 0.01 | 0.04 | 0.01 | 0 | 0 | 2.8696 | 22.9565 | 2800 | 7500 | 2500 | 0.7971
Hospital | Notfall Warteraum Thun | Laurent | 276 | 69 | 4 | 1h | 1 | 1h | 5 | 5 | 6.8584 | 68.5843 | 1720 | 4 | 4 | Control Room (night shift) | 0.42029 | 50% viel los 50% wenig los |  | 6 |  | 2 |  | 3 | 0.15032 | 0.01 | 0 | 0 |  | 1.32 |  | 0.08 |  | 0.24 | 0 | 0 | 0.01 | 0 | 0 | 1.2 | 2.8696 | 22.9565 | 2800 | 7500 | 2500 | 0.7971
Hospital | Notfall Warteraum Thun | Laurent | 276 | 69 | 10 | 2h | 1 | 2h | 5 | 5 | 6.8584 | 68.5843 | 1720 | 4 | 4 | Office | 1.0507 | 392 -> 16/4/8 | 2 |  | 2 |  | 1 |  | 0.28894 | 0.09 | 0.05 | 0.01 | 1.76 |  | 0.32 |  | 0.32 |  | 0.08 | 0.05 | 0.26 | 0.07 | 0.01 | 0 | 2.8696 | 22.9565 | 2800 | 7500 | 2500 | 0.7971
Hospital | Notfall Warteraum Thun | Laurent | 276 | 69 | 10 | 2h | 1 | 2h | 5 | 5 | 6.8584 | 68.5843 | 1720 | 4 | 4 | Control Room (night shift) | 1.0507 |  |  | 2 |  | 2 |  | 1 | 0.28894 | 0.03 | 0.02 | 0 |  | 0.44 |  | 0.08 |  | 0.08 | 0.03 | 0.02 | 0.11 | 0.03 | 0 | 3.2 | 2.8696 | 22.9565 | 2800 | 7500 | 2500 | 0.7971
Hospital | Notfall Warteraum Thun | Laurent | 276 | 69 | 10 | 2h | 2 | 2h | 5 | 5 | 6.8584 | 68.5843 | 1720 | 4 | 4 | Office | 1.0507 |  | 4 |  | 0 |  | 2 |  | 0.05822 | 0.14 | 0.08 | 0.02 | 5.28 |  | 0 |  | 0.96 |  | 0.13 | 0.08 | 0.36 | 0.12 | 0.02 | 0 | 2.8696 | 22.9565 | 2800 | 7500 | 2500 | 0.7971
Hospital | Notfall Warteraum Thun | Laurent | 276 | 69 | 10 | 2h | 2 | 2h | 5 | 5 | 6.8584 | 68.5843 | 1720 | 4 | 4 | Control Room (night shift) | 1.0507 |  |  | 4 |  | 0 |  | 2 | 0.05822 | 0.06 | 0.03 | 0.01 |  | 2.64 |  | 0 |  | 0.48 | 0.05 | 0.03 | 0.18 | 0.05 | 0.01 | 10.4 | 2.8696 | 22.9565 | 2800 | 7500 | 2500 | 0.7971
Office | Frankfurt 5.17 | Sabine | 64.0644 | 23.64 | 3 | 8h | 1 | 8h | 5 | 1 | 5.9094 | 59.0945 | 430 | 1 | 1 | Office | mainly 18-40s, d-fine Büro | Mo-Fr 8h | 0.25 |  | 0.1 |  | 0.15 |  | 0.11779 | 0.15 | 0.11 | 0.03 | 0.22 |  | 0.016 |  | 0.048 |  | 0.13 | 0.1 | 0.31 | 0.14 | 0.03 | 0 | 1.6751 | 13.401 | 700 | 1500 | 500 | 0.46531
Office | Frankfurt 5.17 | Sabine | 64.0644 | 23.64 | 3 | 8h | 1 | 4h | 5 | 1 | 5.9094 | 59.0945 | 430 | 1 | 1 | Office | 1.358 | 15 -> 0.6/0.2/0.3 | 0.25 |  | 0.1 |  | 0.15 |  | 0.11779 | 0.11 | 0.07 | 0.02 | 0.22 |  | 0.016 |  | 0.048 |  | 0.09 | 0.07 | 0.25 | 0.1 | 0.02 | 0 | 1.6751 | 13.401 | 700 | 1500 | 500 | 0.46531
Office | Frankfurt 5.08 | Sabine | 289.428 | 106.8 | 20 | 8h | 1 | 8h | 5 | 8 | 10.4644 | 104.6437 | 1720 | 4 | 7 | Office | mainly 18-40s, d-fine Büro | Mo-Fr 8h 4 Tage voll | 1 |  | 1 |  | 1 |  | 0.37292 | 0.59 | 0.27 | 0.05 | 7.04 |  | 1.28 |  | 2.56 |  | 0.53 | 0.36 | 1.56 | 0.37 | 0.05 | 0 | 2.9663 | 23.7303 | 2800 | 12000 | 4000 | 0.82397
Office | Frankfurt 5.08 | Sabine | 289.428 | 106.8 | 20 | 8h | 2 | 8h | 5 | 8 | 10.4644 | 104.6437 | 1720 | 4 | 7 | Office | 2.004 | 95 -> 4/1/2 | 1 |  | 0 |  | 0 |  | 0.15863 | 0.88 | 0.46 | 0.09 | 9.24 |  | 0 |  | 0 |  | 0.79 | 0.58 | 2.02 | 0.58 | 0.1 | 0 | 2.9663 | 23.7303 | 2800 | 12000 | 4000 | 0.82397
Office | Frankfurt 5.08 | Sabine | 289.428 | 106.8 | 15 | 8h | 1 | 8h | 5 | 8 | 10.4644 | 104.6437 | 1720 | 4 | 7 | Office | 1.503 |  | 1 |  | 0 |  | 1 |  | 0.34817 | 0.43 | 0.21 | 0.04 | 4.84 |  | 0 |  | 1.76 |  | 0.39 | 0.26 | 1.16 | 0.27 | 0.04 | 0 | 2.9663 | 23.7303 | 2800 | 12000 | 4000 | 0.82397
Office | Frankfurt 5.16 | Sabine | 136.855 | 50.5 | 8 | 8h | 1 | 8h | 5 | 3 | 8.299 | 82.9897 | 860 | 2 | 3 | Office | 1.6952 | Mo-Fr 8h 40 -> 1.6/0.4/0.8 | 1.5 |  | 0.5 |  | 1 |  | 0.25232 | 0.35 | 0.2 | 0.05 | 4.95 |  | 0.3 |  | 1.2 |  | 0.32 | 0.23 | 0.81 | 0.27 | 0.05 | 0 | 2.3525 | 18.8198 | 1400 | 4500 | 1500 | 0.65347
General assumptions
|  |  |  | community incidence rate all resp. Diseases GER |  |  |  | lenght of normal winter
only applied to winter months (month=january) |  |  |  | 0.06 | Robert-Koch-Institut |  |  | 22 | weeks | Robert-Koch-Institut
climate like in Geneva |  |  |  | community incidence rate omicron peak |  |  |  | length of pandemic peak scenario
central heating on |  |  |  | 0.015 | Our World in Data |  |  | 4 | weeks | Covid Omicron wave in Europe (our World in Data)
omicron | [7 empty] | length of severe pandemic scenario
activity type office, workshop, control room |  |  |  | duration of infectiousness |  |  |  | 8 | weeks
ACH from #far-UVC lamps calculated as: | disinfection time (s) = 1046 mJ * room volume / power of lamps | ACH = 3600 s / disinf. time |  | 5 | days
1 lamp = 110 mW
ASHRAE Standard 62.1,14 for a ventilation rate of 7.5 L/s per person
im klinischen Wartezimmer Empfehlung 30m3/h pro Person
DIN1946/2
HEPA filtration | 430m^3/h
GYM | Equipment Area | Stefan | 1000 | 250 | 60 | 2 h | 2 | 2 h | 5 | 4 | 1.5143
GYM | Cardio Area | Stefan | 1000 | 250 | 50 | 30 min | 1 | 30 min | 5 | 4 | 1.5143
GYM | Locker rooms | Stefan | 200 | 50 | 20 | 15 min | 1 | 15 min | 5 | 2 | 3.7859
Train | ICE 4 carriage | Stefan | 176 | 75 | 96 | 1h | 2 | 1 h | 5 | 4 | 8.6042
Train | ICE 4 carriage | Stefan | 176 | 75 | 96 | 4h | 2 | 4 h | 5 | 4 | 8.6042
Note on F11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: That seems to be a lot of people?
Note on I37: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assumption: Enter room at the same time

## Monetary Benefits (hidden)
Benefit Calculation
| health care costs |  |  |  | work related costs
| Hospitalisation | Intensive care | LongCovid |  | 2 w not working | 2w in hospital | 84 d not working due to LC
CHF | 7000 | 100000 | 8500 |  | 3600 | 3600 | 30240 | 10% | Long Covid
€ | 10700 |  | 3000 |  | 1240 | 1240 | 10416 | 11 % Hospitalisation rate GER |  | age-dependency?
[8 empty] | 13,6 % Hospitalisation rate CH |  | age-dependency?
Setting |  | #avoided infections | Benefits health care system |  | Benefits national economy
|  |  | CHF | € | CHF | € |  |  | Quellen
Restaurant |  | 40 | 211208 | 56080 | 250560 | 86304 |  |  | Hospitalisation GER | Was kostet Corona das Gesundheitswesen? (aerztezeitung.de)
[9 empty] | Cost LC, sick days GER | Long COVID: Costs for the German economy and health care and pension system ¦ BMC Health Services Research ¦ Full Text (biomedcentral.com)
[9 empty] | Assumptions CH (hospitalisation, intensive care, costs, sick days, LC) | Frühwarnsystem gegen Pandemien spart bis zu 30 Milliarden Franken (pourdemain.ch)
[9 empty] | Frequency of scenarios, incidence rates | https://www.rki.de/DE/Content/Infekt/Sentinel/Grippeweb/grippeweb_ergebnisse_node.html#doc15368638bodyText4

## Assumptions Benefits
Dimension of Interest | Quantity | alternative? |  | Source
Covid-like pandemic
incidence rate
symptomatic Covid case | 75% |  |  | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC9792933/ - 35% asymptomatic https://pubmed.ncbi.nlm.nih.gov/36263615/ - 28 % asymptomatisch https://bmjopen.bmj.com/content/11/12/e049752 - 24%
Long Covid | 10% |  |  | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC9990879/ file:///C:/Users/d92633/Downloads/ijerph-19-16010.pdf Assumption: not all Long-Covid Symptons actually 'cost' anything
Hospitalisation rate overall | 10% |  |  | RKI - Coronavirus SARS-CoV-2 - Epidemiologischer Steckbrief zu SARS-CoV-2 und COVID-19
Hospitalisation rate 18-59y | 3.3% |  |  | RKI - Coronavirus SARS-CoV-2 - COVID-19-Fälle nach Meldewoche und Geschlecht sowie Anteile mit für COVID-19 relevanten Symptomen, Anteile Hospitalisierter/Verstorbener und Altersmittelwert/-median | https://academic.oup.com/cid/article/72/5/e162/6017811
Mortality Covid overall | 4% | (ungeimpft am Anfang) 0.5% am Ende |  | https://coronavirus.jhu.edu/data/mortality Deutschland: 0.4% Schweiz: 0.3 % https://ourworldindata.org/mortality-risk-covid much higher risks at the beginning of the Pandemic https://www.ncbi.nlm.nih.gov/pmc/articles/PMC9874414/ https://www.worldometers.info/coronavirus/country/germany/
Mortality covid 18-59y | <0.1% | 0.00101% | 0.005% | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC7755064/ https://www.ncbi.nlm.nih.gov/pmc/articles/PMC8611321/ https://www.statista.com/statistics/1105512/coronavirus-covid-19-deaths-by-gender-germany/ https://www.pnas.org/doi/full/10.1073/pnas.2006392117
Cost of hospitalisation GER | 10700 |  |  | Was kostet Corona das Gesundheitswesen? (aerztezeitung.de)
Cost of hospitalisation CH | 30250 |  |  | Frühwarnsystem gegen Pandemien spart bis zu 30 Milliarden Franken (pourdemain.ch)
Cost of disability case for healthcare GER | 3000 | € |  | Long COVID: Costs for the German economy and health care and pension system ¦ BMC Health Services Research ¦ Full Text (biomedcentral.com)
Cost of disability case for healthcare CH | 8500 | CHF |  | Frühwarnsystem gegen Pandemien spart bis zu 30 Milliarden Franken (pourdemain.ch)
Sick days per symptomatic Covid infection | 5 |  |  | Frühwarnsystem gegen Pandemien spart bis zu 30 Milliarden Franken (pourdemain.ch)
Sick days per Covid hospitalisation | 15 |  |  | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC10404051/#:~:text=The%20mean%20length%20of%20hospital,more%20severe%20condition%20than%20survivors. https://bmcinfectdis.biomedcentral.com/articles/10.1186/s12879-022-07971-6 https://www.sciencedirect.com/science/article/pii/S1876034122001563 Average hospital stay: 10+-10 add some days before and after for recovery
Sick days per Long Covid case | 84 |  |  | Long COVID: Costs for the German economy and health care and pension system ¦ BMC Health Services Research ¦ Full Text (biomedcentral.com)
Loss of productivity per sick day GER | 124 | 189.532 |  | Long COVID: Costs for the German economy and health care and pension system ¦ BMC Health Services Research ¦ Full Text (biomedcentral.com) | Absenteeism and associated labour costs according to depressive symptom severity in the German general population: why preventive strategies matter - PMC (nih.gov)
Loss of productivity per sick day CH | 360 |  |  | Frühwarnsystem gegen Pandemien spart bis zu 30 Milliarden Franken (pourdemain.ch)
QALYs lost per death due to covid | 11 |  |  | NERA Study https://raeng.org.uk/media/fupdixju/nera-social-cost-benefit-analysis.pdf | https://www.pnas.org/doi/full/10.1073/pnas.2006392117
Economic loss per premature mortality due to Covid-19 |  | 1050000 CHF |  | sechs verlorene Lebensjahre von verstorbenen Personen an sowie einen Geldwert eines Lebensjahres von 175’000 Franken Frühwarnsystem gegen Pandemien spart bis zu 30 Milliarden Franken (pourdemain.ch)
Losses of QALYs associated with a Covid-19 symptomatic case | 0.008 |  |  | https://resource-allocation.biomedcentral.com/articles/10.1186/s12962-022-00356-1/tables/2
Losses of QALYs associated with a long Covid-19 infection | 0.034 |  |  | https://resource-allocation.biomedcentral.com/articles/10.1186/s12962-022-00356-1/tables/2
Losses of QALYs associated with a Covid-19 hospitalisation | 0.02 |  |  | https://resource-allocation.biomedcentral.com/articles/10.1186/s12962-022-00356-1/tables/2
Economic equivalent of 1 QUALY (€) | 80000 | 20000 |  | https://cordis.europa.eu/article/id/411538-estimating-a-monetary-value-of-health-why-and-how
Economic equivalent of 1 QUALY (CH) | 175000 |  |  | Frühwarnsystem gegen Pandemien spart bis zu 30 Milliarden Franken (pourdemain.ch) | ?
normal winter | conservative | pessimistic
incidence rate | 0.06 |  |  | https://www.rki.de/DE/Content/Infekt/Sentinel/Grippeweb/grippeweb_ergebnisse_node.html#doc15368638bodyText4
disability induced? | na
Hospitalisation rate overall (per infection) | 0.3% |  |  | calculation, see Selected infectious diseases sheet
Hospitalisation rate 18-59y (per infection) | 0.075% |  |  | calculation
Mortality overall (per infection) | 0.006% |  | 8e-05 | https://doi.org/10.1016/S0140-6736(17)33293-2
Mortality 18-59y (per infection) | 0.0018% |  | 2.5e-05 | https://doi.org/10.1016/S0140-6736(17)33293-2
0.3125
Cost of hospitalisation GER in EUR | 3521 | 2033 |  | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC8761049/ (only laboratory-verified) https://bmcpublichealth.biomedcentral.com/articles/10.1186/s12889-019-7458-x |  | large differences between age groups hospitalisation rates and costs not stable over the years numbers not from same year, not always inflation-adjusted
Cost of hospitalisation CH in CHF | 10292.402 |  |  | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC10667819/ (includes rehabilitation, only adults) |  | computed from numbers in the paper
Cost of disability case for healthcare | na
Sick days per infection | 3 |  |  | https://pubmed.ncbi.nlm.nih.gov/18850761/ https://bmcpublichealth.biomedcentral.com/articles/10.1186/s12889-019-7458-x
Sick days per hospitalisation | 17 |  |  | assumption, similar to covid
Loss of productivity per sick day | 124
QALYs lost per death due to resp infection | 3 |  |  | Estimation by https://www.ncbi.nlm.nih.gov/pmc/articles/PMC9151280/ (warning: uses DALYs) Matches in relation with Covid according to https://typeset.io/questions/how-many-years-of-life-are-lost-due-to-the-flu-2ia3t1ciic Outlier: https://www.aerzteblatt.de/int/archive/article/218061/Years-of-life-lost-to-death-a-comprehensive-analysis-of-mortality-in-Germany-conducted-as-part-of-the-BURDEN-nbsp-2020-project gives around 11 years lost (but for all respiratory diseases combined, so possibly swamped by Covid)
Economic loss per premature mortality | 240000 | 60000
Losses of QALYs associated with a respiratory infection | 0.0038 | 0.009 |  | Cost-Effectiveness of Pediatric Influenza Vaccination in The Netherlands (valueinhealthjournal.com) | influenza H1N1, https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3610925/
Losses of QALYs associated with a disability induced from resp. Infection | na
Losses of QALYs associated with hospitalisation | 0.0118 | 0.031 |  | Cost-Effectiveness of Pediatric Influenza Vaccination in The Netherlands (valueinhealthjournal.com) | influenza H1N1, https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3610925/
very severe pandemic
incidence rate | 0.02 |  |  | analogous to "extreme pandemic" in Frühwarnsystem gegen Pandemien spart bis zu 30 Milliarden Franken (pourdemain.ch)
disability induced? | 10%
Hospitalisation rate overall | 30%
Hospitalisation rate 18-59y | 10%
Mortality overall | 20%
Mortality 18-59y | 6.667%
Cost of hospitalisation GER | 10700 |  |  | as for COVID (see above)
Cost of hospitalisation CH | 30250 |  |  | as for COVID (see above)
Cost of disability case for healthcare GER | 3000 |  |  | as for COVID (see above)
Cost of disability case for healthcare CH | 8500 |  |  | as for COVID (see above)
Sick days per infection | 10
Sick days per hospitalisation | 20
Sick days per case of disability | 100
Loss of productivity per sick day | 124
Economic losss per premature mortality
QALYs lost per death | 20
Losses of QALYs associated with an infection | 0.01 | ? |  | extrapolated from covid and influenza
Losses of QALYs associated with a disability induced from Infection | 0.05 | ?
Losses of QALYs associated with hospitalisation | 0.04 | ?
Other consequences
Increase in depression | 6% |  |  | NERA Study https://raeng.org.uk/media/fupdixju/nera-social-cost-benefit-analysis.pdf
loss in days of schooling | equals sick days minus weekend
Increase in domestic violence | 10% |  |  | https://www.dailysabah.com/world/europe/drastic-increase-in-domestic-violence-amid-pandemic-german-group gives 10% to 15% https://pubmed.ncbi.nlm.nih.gov/36636865/ finds no increase (? I cannot check which questions they used - if a questionaire asked about domestic violence "in the past", the number people in danger might not increase, but the amount of danger they face might still increase substantially) https://www.ncbi.nlm.nih.gov/pmc/articles/PMC8164185/ shows impact of pandemic but cannot be easily transformed into percentage
annual economic and social cost per domestic violence victim (GBP) | 34015 |  |  | NERA Study https://raeng.org.uk/media/fupdixju/nera-social-cost-benefit-analysis.pdf
Change in unemployment

## Monetary Benefits calc
Benefit Calculation
Setting |  | #avoided infections
|  | normal winter high activity | normal winter low activity | pandemic peak high activity | pandemic peak low activity | severe pandemic high activity | severe pandemic low activity
Restaurant | Irish Pub | 326.04 | 269.5 | 20.32 | 16.48 | 64.16 | 53.2 |  |  | 186.34 |  | 7.36 |  | 32.88
| fast food | 1876.38 | 520.74 | 84.6 | 23.36 | 332.32 | 92.72
| Queue fast food | 112.64 | 28.16 | 5.12 | 1.28 | 20.48 | 5.12 |  |  |  |  | 0.039498 | 3.3559 | 4.4674 | 52.8287
| medium restaurant | 186.34 | 142.78 | 7.36 | 5.12 | 32.88 | 25.44 | [5 empty] | 0 |  | 0
Doctors Office | Waiting room | 11.22 | 5.72 | 0.76 | 0.36 | 2.32 | 1.12 |  |  | 9.35 |  | 0.44 |  | 1.72
Hospital | Neuro Göppingen | 10.56 | 5.28 | 0.48 | 0.24 | 1.92 | 0.96 | [5 empty] | 0 |  | 0
| Neuro Dortmund | 52.8 | 22 | 2.4 | 1 | 9.6 | 4 |  |  |  |  | 0.047059 | 3.9984 | 3.9091 | 46.2266
| Warteraum Thun | 8.36 | 4.4 | 0.4 | 0.16 | 1.52 | 0.8 | [5 empty] | 0 |  | 0
Office | Frankfurt 5.17 | 0.44 |  | 0.032 |  | 0.096 |  |  |  | 8.8367 |  | 0.53733 |  | 1.872
| Frankfurt 5.08 | 21.12 |  | 1.28 |  | 4.32 | [6 empty] | 0 |  | 0
| Frankfurt 5.16 | 4.95 |  | 0.3 |  | 1.2 | [5 empty] | 0.060807 | 5.1665 | 3.4839 | 41.1982
Pandemic |  | Benefits health care system |  | Benefits national economy |  |  | intangible costs |  |  |  | Total Sum CHF | Total Sum €
|  | CH | DE | # sick days | CH | DE | QALY loss w/o death | QALY loss incl deaths | QALY in CHF | QALY in DE
Normal Winter | All | 30.8772 | 10.563 | 3.051 | 1098.36 | 378.324 | 0.003824 | 0.004004 | 700.7 | 320.32 | 1829.9372 | 709.207
| 18-59y |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
Covid-Pandemic | All | 3875 | 1370 | 13.125 | 4725 | 1627.5 | 0.0102 | 0.3402 | 59535 | 27216 | 68135 | 30213.5
| 18-59y | 1848.25 | 653.1 | 12.2205 | 4399.38 | 1515.342 | 0.009262 |  | 0 | 0 | 6247.63 | 2168.442
Severe Pandemic | All | 9925 | 1356.3 | 26 | 9360 | 3224 | 0.023 | 4.023 | 704025 | 321840 | 723310 | 326420.3
18-59y
Benefits per Setting | Expected monetary benefits by avoided infections in these settings through the implementation of far-UVC in addition to existing ventilation (see Sheet Scenarios). Red numbers have not been used in further calculations (only one activity type was chosen for each subsetting)
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
Benefits health care system |  | CH | DE | CH | DE | CH | DE | CH | DE | CH | DE | CH | DE
Restaurant | Irish Pub | 10067.2042 | 3443.9605 | 8321.407 | 2846.7285 | 78740 | 27838.4 | 63860 | 22577.6 | 636788 | 87020.208 | 528010 | 72155.16
| fast food | 57937.3716 | 19820.2019 | 16078.9962 | 5500.5766 | 327825 | 115902 | 90520 | 32003.2 | 3298276 | 450725.616 | 920246 | 125756.136
| Queue fast food | 3478.0085 | 1189.8163 | 869.5021 | 297.4541 | 19840 | 1478.4 | 4960 | 1753.6 | 203264 | 27777.024 | 50816 | 6944.256
| medium restaurant | 5753.6585 | 1968.3094 | 4408.6475 | 1508.1851 | 28520 | 10083.2 | 19840 | 7014.4 | 326334 | 44595.144 | 252492 | 34504.272
Doctors Office | Waiting room | 346.4423 | 118.5169 | 176.6176 | 60.4204 | 2945 | 1041.2 | 1395 | 493.2 | 23026 | 3146.616 | 11116 | 1519.056
Hospital | Neuro Göppingen | 326.0633 | 111.5453 | 163.0316 | 55.7726 | 1860 | 657.6 | 930 | 328.8 | 19056 | 2604.096 | 9528 | 1302.048
| Neuro Dortmund | 1630.3165 | 557.7264 | 679.2985 | 232.386 | 9300 | 3288 | 3875 | 1370 | 95280 | 13020.48 | 39700 | 5425.2
| Warteraum Thun | 258.1334 | 88.3067 | 135.8597 | 46.4772 | 1550 | 548 | 620 | 219.2 | 15086 | 2061.576 | 7940 | 1085.04
Office | Frankfurt 5.17 | 13.586 | 4.6477 |  |  | 124 | 43.84 |  |  | 952.8 | 130.2048
| Frankfurt 5.08 | 652.1266 | 223.0906 |  |  | 4960 | 1753.6 |  |  | 42876 | 5859.216
| Frankfurt 5.16 | 152.8422 | 52.2868 |  |  | 1162.5 | 411 |  |  | 11910 | 1627.56
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
Benefits national economy |  | CH | DE | CH | DE | CH | DE | CH | DE | CH | DE | CH | DE
Restaurant | Irish Pub | 358109.2944 | 123348.757 | 296008.02 | 101958.318 | 96012 | 33070.8 | 77868 | 26821.2 | 600537.6 | 206851.84 | 497952 | 171516.8
| fast food | 2060940.7368 | 709879.5871 | 571959.9864 | 197008.4398 | 399735 | 137686.5 | 110376 | 38018.4 | 3110515.2 | 1071399.68 | 867859.2 | 298929.28
| Queue fast food | 123719.2704 | 42614.4154 | 30929.8176 | 10653.6038 | 24192 | 8332.8 | 6048 | 2083.2 | 191692.8 | 66027.52 | 47923.2 | 16506.88
| medium restaurant | 204668.4024 | 70496.8942 | 156823.8408 | 54017.1007 | 34776 | 11978.4 | 24192 | 8332.8 | 307756.8 | 106005.12 | 238118.4 | 82018.56
Doctors Office | Waiting room | 12323.5992 | 4244.7953 | 6282.6192 | 2164.0133 | 3591 | 1236.9 | 1701 | 585.9 | 21715.2 | 7479.68 | 10483.2 | 3610.88
Hospital | Neuro Göppingen | 11598.6816 | 3995.1014 | 5799.3408 | 1997.5507 | 2268 | 781.2 | 1134 | 390.6 | 17971.2 | 6190.08 | 8985.6 | 3095.04
| Neuro Dortmund | 57993.408 | 19975.5072 | 24163.92 | 8323.128 | 11340 | 3906 | 4725 | 1627.5 | 89856 | 30950.4 | 37440 | 12896
| Warteraum Thun | 9182.2896 | 3162.7886 | 4832.784 | 1664.6256 | 1890 | 651 | 756 | 260.4 | 14227.2 | 4900.48 | 7488 | 2579.2
Office | Frankfurt 5.17 | 483.2784 | 166.4626 |  |  | 151.2 | 52.08 |  |  | 898.56 | 309.504
| Frankfurt 5.08 | 23197.3632 | 7990.2029 |  |  | 6048 | 2083.2 |  |  | 40435.2 | 13927.68
| Frankfurt 5.16 | 5436.882 | 1872.7038 |  |  | 1417.5 | 488.25 |  |  | 11232 | 3868.8
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
intangible benefits |  | CH | DE | CH | DE | CH | DE | CH | DE | CH | DE | CH | DE
Restaurant | Irish Pub | 228456.228 | 104437.1328 | 188838.65 | 86326.24 | 1209751.2 | 553029.12 | 981136.8 | 448519.68 | 45170244 | 20649254.4 | 37454130 | 17121888
| fast food | 1314779.466 | 601042.0416 | 364882.518 | 166803.4368 | 5036661 | 2302473.6 | 1390737.6 | 635765.76 | 233961588 | 106953868.8 | 65277198 | 29841004.8
| Queue fast food | 78926.848 | 36080.8448 | 19731.712 | 9020.2112 | 304819.2 | 139345.92 | 76204.8 | 34836.48 | 14418432 | 6591283.2 | 3604608 | 1647820.8
| medium restaurant | 130568.438 | 59688.4288 | 100045.946 | 45735.2896 | 438177.6 | 200309.76 | 304819.2 | 139345.92 | 23148342 | 10582099.2 | 17910396 | 8187609.6
Doctors Office | Waiting room | 7861.854 | 3593.9904 | 4008.004 | 1832.2304 | 45246.6 | 20684.16 | 21432.6 | 9797.76 | 1633338 | 746668.8 | 788508 | 360460.8
Hospital | Neuro Göppingen | 7399.392 | 3382.5792 | 3699.696 | 1691.2896 | 28576.8 | 13063.68 | 14288.4 | 6531.84 | 1351728 | 617932.8 | 675864 | 308966.4
| Neuro Dortmund | 36996.96 | 16912.896 | 15415.4 | 7047.04 | 142884 | 65318.4 | 59535 | 27216 | 6758640 | 3089664 | 2816100 | 1287360
| Warteraum Thun | 5857.852 | 2677.8752 | 3083.08 | 1409.408 | 23814 | 10886.4 | 9525.6 | 4354.56 | 1070118 | 489196.8 | 563220 | 257472
Office | Frankfurt 5.17 | 308.308 | 140.9408 |  |  | 1905.12 | 870.912 |  |  | 67586.4 | 30896.64
| Frankfurt 5.08 | 14798.784 | 6765.1584 |  |  | 76204.8 | 34836.48 |  |  | 3041388 | 1390348.8
| Frankfurt 5.16 | 3468.465 | 1585.584 |  |  | 17860.5 | 8164.8 |  |  | 844830 | 386208
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
Sum of all benefits |  | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€)
Restaurant | Irish Pub | 596632.7266 | 231229.8503 | 493168.077 | 191131.2865 | 1384503.2 | 613938.32 | 1122864.8 | 497918.48 | 46407569.6 | 20943126.448 | 38480092 | 17365559.96
| fast food | 3433657.5744 | 1330741.8307 | 952921.5006 | 369312.4532 | 5764221 | 2556062.1 | 1591633.6 | 705787.36 | 240370379.2 | 108475994.096 | 67065303.2 | 30265690.216
| Queue fast food | 206124.1269 | 79885.0765 | 51531.0317 | 19971.2691 | 348851.2 | 149157.12 | 87212.8 | 38673.28 | 14813388.8 | 6685087.744 | 3703347.2 | 1671271.936
| medium restaurant | 340990.4989 | 132153.6324 | 261278.4343 | 101260.5755 | 501473.6 | 222371.36 | 348851.2 | 154693.12 | 23782432.8 | 10732699.464 | 18401006.4 | 8304132.432
Doctors Office | Waiting room | 20531.8955 | 7957.3025 | 10467.2408 | 4056.664 | 51782.6 | 22962.26 | 24528.6 | 10876.86 | 1678079.2 | 757295.096 | 810107.2 | 365590.736
Hospital | Neuro Göppingen | 19324.1369 | 7489.2259 | 9662.0684 | 3744.613 | 32704.8 | 14502.48 | 16352.4 | 7251.24 | 1388755.2 | 626726.976 | 694377.6 | 313363.488
| Neuro Dortmund | 96620.6845 | 37446.1296 | 40258.6185 | 15602.554 | 163524 | 72512.4 | 68135 | 30213.5 | 6943776 | 3133634.88 | 2893240 | 1305681.2
| Warteraum Thun | 15298.275 | 5928.9705 | 8051.7237 | 3120.5108 | 27254 | 12085.4 | 10901.6 | 4834.16 | 1099431.2 | 496158.856 | 578648 | 261136.24
Office | Frankfurt 5.17 | 805.1724 | 312.0511 |  |  | 2180.32 | 966.832 |  |  | 69437.76 | 31336.3488
| Frankfurt 5.08 | 38648.2738 | 14978.4518 |  |  | 87212.8 | 38673.28 |  |  | 3124699.2 | 1410135.696
| Frankfurt 5.16 | 9058.1892 | 3510.5746 |  |  | 20440.5 | 9064.05 |  |  | 867972 | 391704.36
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
Sum of all benefits per lamp |  | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€)
Restaurant | Irish Pub | 66292.5252 | 25692.2056 | 54796.453 | 21236.8096 | 153833.6889 | 68215.3689 | 124762.7556 | 55324.2756 | 5156396.6222 | 2327014.0498 | 4275565.7778 | 1929506.6622
| fast food | 264127.5057 | 102364.7562 | 73301.6539 | 28408.6502 | 443401.6154 | 196620.1615 | 122433.3538 | 54291.3354 | 18490029.1692 | 8344307.2382 | 5158869.4769 | 2328130.0166
| Queue fast food | 206124.1269 | 79885.0765 | 51531.0317 | 19971.2691 | 348851.2 | 149157.12 | 87212.8 | 38673.28 | 14813388.8 | 6685087.744 | 3703347.2 | 1671271.936
| medium restaurant | 48712.9284 | 18879.0903 | 37325.4906 | 14465.7965 | 71639.0857 | 31767.3371 | 49835.8857 | 22099.0171 | 3397490.4 | 1533242.7806 | 2628715.2 | 1186304.6331
Doctors Office | Waiting room | 20531.8955 | 7957.3025 | 10467.2408 | 4056.664 | 51782.6 | 22962.26 | 24528.6 | 10876.86 | 1678079.2 | 757295.096 | 810107.2 | 365590.736
Hospital | Neuro Göppingen | 19324.1369 | 7489.2259 | 9662.0684 | 3744.613 | 32704.8 | 14502.48 | 16352.4 | 7251.24 | 1388755.2 | 626726.976 | 694377.6 | 313363.488
| Neuro Dortmund | 96620.6845 | 37446.1296 | 40258.6185 | 15602.554 | 163524 | 72512.4 | 68135 | 30213.5 | 6943776 | 3133634.88 | 2893240 | 1305681.2
| Warteraum Thun | 3059.655 | 1185.7941 | 1610.3447 | 624.1022 | 5450.8 | 2417.08 | 2180.32 | 966.832 | 219886.24 | 99231.7712 | 115729.6 | 52227.248
Office | Frankfurt 5.17 | 805.1724 | 312.0511 |  |  | 2180.32 | 966.832 |  |  | 69437.76 | 31336.3488
| Frankfurt 5.08 | 4831.0342 | 1872.3065 |  |  | 10901.6 | 4834.16 |  |  | 390587.4 | 176266.962
| Frankfurt 5.16 | 3019.3964 | 1170.1915 |  |  | 6813.5 | 3021.35 |  |  | 289324 | 130568.12
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
Benefits/costs ratio |  | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€)
Restaurant | Irish Pub | 400.8362 | 152.0065 | 331.3254 | 125.6464 | 930.1517 | 403.5924 | 754.375 | 327.323 | 31178.0295 | 13767.6494 | 25852.1068 | 11415.819
| fast food | 1565.3584 | 593.6207 | 434.4241 | 164.7438 | 2627.831 | 1140.2147 | 725.6044 | 314.8394 | 109581.6293 | 48389.2496 | 30574.1715 | 13500.9967
| Queue fast food | 1221.5999 | 463.2594 | 305.4 | 115.8149 | 2067.4755 | 864.9731 | 516.8689 | 224.2692 | 87791.9264 | 38767.3141 | 21947.9816 | 9691.8285
| medium restaurant | 293.6033 | 111.3413 | 224.9688 | 85.3134 | 431.7842 | 187.351 | 300.3716 | 130.3311 | 20477.4046 | 9042.4485 | 15843.8313 | 6996.347
Doctors Office | Waiting room | 122.7078 | 46.5337 | 62.5569 | 23.723 | 309.4759 | 134.2815 | 146.5939 | 63.607 | 10028.9499 | 4428.6014 | 4841.562 | 2137.9455
Hospital | Neuro Göppingen | 115.4897 | 43.7964 | 57.7448 | 21.8982 | 195.4585 | 84.8093 | 97.7292 | 42.4047 | 8299.8206 | 3665.0495 | 4149.9103 | 1832.5247
| Neuro Dortmund | 577.4483 | 218.982 | 240.6035 | 91.2425 | 977.2924 | 424.0467 | 407.2052 | 176.6861 | 41499.1031 | 18325.2473 | 17291.2929 | 7635.5197
| Warteraum Thun | 18.1331 | 6.8765 | 9.5437 | 3.6192 | 32.3043 | 14.0168 | 12.9217 | 5.6067 | 1303.1614 | 575.4523 | 685.8744 | 302.8696
Office | Frankfurt 5.17 | 4.8121 | 1.8248 |  |  | 13.0306 | 5.654 |  |  | 414.991 | 183.2525
| Frankfurt 5.08 | 28.8724 | 10.9491 |  |  | 65.1528 | 28.2698 |  |  | 2334.3245 | 1030.7952
| Frankfurt 5.16 | 18.0453 | 6.8432 |  |  | 40.7205 | 17.6686 |  |  | 1729.1293 | 763.552
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
Incremental cost effectiveness ratio |  | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€)
Restaurant | Irish Pub | -31209.6766 | -10662.1535 | -31183.0982 | -10634.9909 | -2784.881 | -954.5492 | -2779.3064 | -948.852 | -531.9911 | -125.8483 | -531.8591 | -125.7134
| fast food | -21671.947 | -7448.1727 | -21613.4803 | -7388.4211 | -1938.6948 | -671.7772 | -1923.3254 | -656.07 | -368.6189 | -87.4501 | -368.2927 | -87.1168
| Queue fast food | -281653.1523 | -96742.281 | -280530.7866 | -95595.2479 | -25182.3761 | -5533.7156 | -24891.7619 | -8414.9918 | -4791.6384 | -1136.4355 | -4785.4945 | -1130.1566
| medium restaurant | -40067.237 | -13647.6856 | -39999.3942 | -13578.3517 | -3545.0581 | -101192.8481 | -3516.068 | -1161.3668 | -683.558 | -161.3651 | -683.1912 | -160.9902
Doctors Office | Waiting room | -278302.7563 | -93318.2499 | -274721.4891 | -89658.2735 | -24632.0913 | -8149.6142 | -23913.0289 | -7414.7482 | -4775.7588 | -1120.207 | -4756.5508 | -1100.5768
Hospital | Neuro Göppingen | -278069.9739 | -93080.3515 | -274112.6736 | -89036.0776 | -24254.5836 | -7763.8095 | -23229.9197 | -6716.6255 | -4772.0239 | -1116.39 | -4750.3616 | -1094.2516
| Neuro Dortmund | -281235.8141 | -96315.7706 | -280127.7701 | -95183.3739 | -25074.3147 | -8601.5567 | -24787.4088 | -8308.3452 | -4789.3538 | -1134.1008 | -4783.2884 | -1127.902
| Warteraum Thun | -51364.6545 | -14273.3379 | -46827.9342 | -9636.9095 | -3815.8956 | -494.9931 | -1955.9647 | 1405.8154 | -931.1438 | -199.5058 | -906.3097 | -174.1259
Office | Frankfurt 5.17 | -187052.0676 | -62.0516 |  |  | -9909.2887 | 6896.7666 |  |  | -4360.4391 | -695.7594
| Frankfurt 5.08 | -33274.7591 | -10118.4412 |  |  | -2775.657 | -708.6802 |  |  | -589.5831 | -132.4767
| Frankfurt 5.16 | -85566.8508 | -23747.0908 |  |  | -6786.9536 | -1261.5034 |  |  | -1563.2357 | -344.088
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
ICER (only intangible benefits) |  | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€)
Restaurant | Irish Pub | 1140.1847 | 1165.2437 | 1379.3908 | 1409.7071 | 215.3189 | 220.0512 | 265.4903 | 271.3252 | 5.7667 | 5.8934 | 6.9547 | 7.1076
| fast food | 291.9633 | 298.3801 | 1052.0302 | 1075.1517 | 76.2147 | 77.8897 | 276.0171 | 282.0834 | 1.6407 | 1.6768 | 5.8806 | 6.0098
| Queue fast food | 374.1219 | 382.3444 | 1496.4876 | 1529.3774 | 96.8714 | 99.0004 | 387.4856 | 396.0018 | 2.048 | 2.093 | 8.1918 | 8.3718
| medium restaurant | 1556.615 | 1590.8263 | 2031.5145 | 2076.1631 | 463.8411 | 474.0354 | 666.7716 | 681.4259 | 8.7801 | 8.9731 | 11.3479 | 11.5973
Doctors Office | Waiting room | 3724.5179 | 3806.3754 | 7305.7851 | 7466.3518 | 647.1562 | 661.3794 | 1366.2186 | 1396.2453 | 17.9275 | 18.3215 | 37.1355 | 37.9516
Hospital | Neuro Göppingen | 3957.3003 | 4044.2739 | 7914.6006 | 8088.5478 | 1024.6639 | 1047.184 | 2049.3278 | 2094.368 | 21.6624 | 22.1385 | 43.3247 | 44.2769
| Neuro Dortmund | 791.4601 | 808.8548 | 1899.5041 | 1941.2515 | 204.9328 | 209.4368 | 491.8387 | 502.6483 | 4.3325 | 4.4277 | 10.3979 | 10.6265
| Warteraum Thun | 25204.0017 | 25757.9358 | 47887.6033 | 48940.0781 | 6199.7695 | 6336.0282 | 15499.4239 | 15840.0705 | 137.9673 | 140.9996 | 262.1379 | 267.8992
Office | Frankfurt 5.17 | 94975.2066 | 97062.5738 |  |  | 15369.9588 | 15707.7601 |  |  | 433.2472 | 442.7691
| Frankfurt 5.08 | 15829.2011 | 16177.0956 |  |  | 3073.9918 | 3141.552 |  |  | 77.0217 | 78.7145
| Frankfurt 5.16 | 25326.7218 | 25883.353 | 16251.8733 |  | 4918.3868 | 5026.4832 | 4851.7022 |  | 103.9793 | 106.2646 | 88.249
Costs from far-UVC implementation |  | CH (CHF) | DE (€)
Restaurant | Irish Pub | 1488.4703 | 1521.1839 | 1488.4703 | 1521.1839 | 1488.4703 | 1521.1839 | 1488.4703 | 1521.1839 | 1488.4703 | 1521.1839 | 1488.4703 | 1521.1839
| fast food | 2193.5281 | 2241.7375 | 2193.5281 | 2241.7375 | 2193.5281 | 2241.7375 | 2193.5281 | 2241.7375 | 2193.5281 | 2241.7375 | 2193.5281 | 2241.7375
| Queue fast food | 168.7329 | 172.4413 | 168.7329 | 172.4413 | 168.7329 | 172.4413 | 168.7329 | 172.4413 | 168.7329 | 172.4413 | 168.7329 | 172.4413
| medium restaurant | 1161.3988 | 1186.924 | 1161.3988 | 1186.924 | 1161.3988 | 1186.924 | 1161.3988 | 1186.924 | 1161.3988 | 1186.924 | 1161.3988 | 1186.924
Doctors Office | Waiting room | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001
Hospital | Neuro Göppingen | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001
| Neuro Dortmund | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001
| Warteraum Thun | 843.6646 | 862.2067 | 843.6646 | 862.2067 | 843.6646 | 862.2067 | 843.6646 | 862.2067 | 843.6646 | 862.2067 | 843.6646 | 862.2067
Office | Frankfurt 5.17 | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001 | 167.3235 | 171.001
| Frankfurt 5.08 | 1338.5882 | 1368.0077 | 1338.5882 | 1368.0077 | 1338.5882 | 1368.0077 | 1338.5882 | 1368.0077 | 1338.5882 | 1368.0077 | 1338.5882 | 1368.0077
| Frankfurt 5.16 | 501.9706 | 513.0029 | 501.9706 | 513.0029 | 501.9706 | 513.0029 | 501.9706 | 513.0029 | 501.9706 | 513.0029 | 501.9706 | 513.0029
|  | ICER (only intangibles) | restaurant | waiting rooms | office
|  | normal winter | 1556.615 | 16251.8733 | 15829.2011
|  | covid-19 like pandemic | 463.8411 | 4851.7022 | 3073.9918
|  | severe pandemic | 8.7801 | 88.249 | 77.0217

## Calc. without intangible Ben.
Benefit Calculation
Setting |  | #avoided infections
|  | normal winter high activity | normal winter low activity | pandemic peak high activity | pandemic peak low activity | severe pandemic high activity | severe pandemic low activity
Restaurant | Irish Pub | 326.04 | 269.5 | 20.32 | 16.48 | 64.16 | 53.2
| fast food | 1876.38 | 520.74 | 84.6 | 23.36 | 332.32 | 92.72 |  | exclude maybe or add details
| Queue fast food | 112.64 | 28.16 | 5.12 | 1.28 | 20.48 | 5.12
| medium restaurant | 186.34 | 142.78 | 7.36 | 5.12 | 32.88 | 25.44
Doctors Office | Waiting room | 11.22 | 5.72 | 0.76 | 0.36 | 2.32 | 1.12
Hospital | Neuro Göppingen | 10.56 | 5.28 | 0.48 | 0.24 | 1.92 | 0.96
| Neuro Dortmund | 52.8 | 22 | 2.4 | 1 | 9.6 | 4
| Warteraum Thun | 8.36 | 4.4 | 0.4 | 0.16 | 1.52 | 0.8
Office | Frankfurt 5.17 | 0.44 |  | 0.032 |  | 0.096
| Frankfurt 5.08 | 21.12 |  | 1.28 |  | 4.32
| Frankfurt 5.16 | 4.95 |  | 0.3 |  | 1.2
Pandemic |  | Benefits health care system |  | Benefits national economy |  |  | intangible costs |  |  |  | Total Sum CHF | Total Sum €
|  | CH | DE | # sick days | CH | DE | QALY loss w/o death | QALY loss incl deaths | QALY in CHF | QALY in DE
Normal Winter | All | 30.8772 | 10.563 | 3.051 | 1098.36 | 378.324 | 0.003824 | 0.004004 | 700.7 | 320.32 | 1829.9372 | 709.207
| 18-59y |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
Covid-Pandemic | All | 3875 | 1370 | 13.125 | 4725 | 1627.5 | 0.0102 | 0.3402 | 59535 | 27216 | 68135 | 30213.5
| 18-59y | 1848.25 | 653.1 | 12.2205 | 4399.38 | 1515.342 | 0.009262 |  | 0 | 0 | 6247.63 | 2168.442
Severe Pandemic | All | 9925 | 1356.3 | 26 | 9360 | 3224 | 0.0214 | 4.0214 | 703745 | 321712 | 723030 | 326292.3
18-59y
Benefits per Setting | Expected monetary benefits by avoided infections in these settings through the implementation of far-UVC in addition to existing ventilation (see Sheet Scenarios)
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
Benefits health care system |  | CH | DE | CH | DE | CH | DE | CH | DE | CH | DE | CH | DE
Restaurant | Irish Pub | 10067.2042 | 3443.9605 | 8321.407 | 2846.7285 | 78740 | 27838.4 | 63860 | 22577.6 | 636788 | 87020.208 | 528010 | 72155.16
| fast food | 57937.3716 | 19820.2019 | 16078.9962 | 5500.5766 | 327825 | 115902 | 90520 | 32003.2 | 3298276 | 450725.616 | 920246 | 125756.136
| Queue fast food | 3478.0085 | 1189.8163 | 869.5021 | 297.4541 | 19840 | 1478.4 | 4960 | 1753.6 | 203264 | 27777.024 | 50816 | 6944.256
| medium restaurant | 5753.6585 | 1968.3094 | 4408.6475 | 1508.1851 | 28520 | 10083.2 | 19840 | 7014.4 | 326334 | 44595.144 | 252492 | 34504.272
Doctors Office | Waiting room | 346.4423 | 118.5169 | 176.6176 | 60.4204 | 2945 | 1041.2 | 1395 | 493.2 | 23026 | 3146.616 | 11116 | 1519.056
Hospital | Neuro Göppingen | 326.0633 | 111.5453 | 163.0316 | 55.7726 | 1860 | 657.6 | 930 | 328.8 | 19056 | 2604.096 | 9528 | 1302.048
| Neuro Dortmund | 1630.3165 | 557.7264 | 679.2985 | 232.386 | 9300 | 3288 | 3875 | 1370 | 95280 | 13020.48 | 39700 | 5425.2
| Warteraum Thun | 258.1334 | 88.3067 | 135.8597 | 46.4772 | 1550 | 548 | 620 | 219.2 | 15086 | 2061.576 | 7940 | 1085.04
Office | Frankfurt 5.17 | 13.586 | 4.6477 |  |  | 124 | 43.84 |  |  | 952.8 | 130.2048
| Frankfurt 5.08 | 652.1266 | 223.0906 |  |  | 4960 | 1753.6 |  |  | 42876 | 5859.216
| Frankfurt 5.16 | 152.8422 | 52.2868 |  |  | 1162.5 | 411 |  |  | 11910 | 1627.56
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
Benefits national economy |  | CH | DE | CH | DE | CH | DE | CH | DE | CH | DE | CH | DE
Restaurant | Irish Pub | 358109.2944 | 123348.757 | 296008.02 | 101958.318 | 96012 | 33070.8 | 77868 | 26821.2 | 600537.6 | 206851.84 | 497952 | 171516.8
| fast food | 2060940.7368 | 709879.5871 | 571959.9864 | 197008.4398 | 399735 | 137686.5 | 110376 | 38018.4 | 3110515.2 | 1071399.68 | 867859.2 | 298929.28
| Queue fast food | 123719.2704 | 42614.4154 | 30929.8176 | 10653.6038 | 24192 | 8332.8 | 6048 | 2083.2 | 191692.8 | 66027.52 | 47923.2 | 16506.88
| medium restaurant | 204668.4024 | 70496.8942 | 156823.8408 | 54017.1007 | 34776 | 11978.4 | 24192 | 8332.8 | 307756.8 | 106005.12 | 238118.4 | 82018.56
Doctors Office | Waiting room | 12323.5992 | 4244.7953 | 6282.6192 | 2164.0133 | 3591 | 1236.9 | 1701 | 585.9 | 21715.2 | 7479.68 | 10483.2 | 3610.88
Hospital | Neuro Göppingen | 11598.6816 | 3995.1014 | 5799.3408 | 1997.5507 | 2268 | 781.2 | 1134 | 390.6 | 17971.2 | 6190.08 | 8985.6 | 3095.04
| Neuro Dortmund | 57993.408 | 19975.5072 | 24163.92 | 8323.128 | 11340 | 3906 | 4725 | 1627.5 | 89856 | 30950.4 | 37440 | 12896
| Warteraum Thun | 9182.2896 | 3162.7886 | 4832.784 | 1664.6256 | 1890 | 651 | 756 | 260.4 | 14227.2 | 4900.48 | 7488 | 2579.2
Office | Frankfurt 5.17 | 483.2784 | 166.4626 |  |  | 151.2 | 52.08 |  |  | 898.56 | 309.504
| Frankfurt 5.08 | 23197.3632 | 7990.2029 |  |  | 6048 | 2083.2 |  |  | 40435.2 | 13927.68
| Frankfurt 5.16 | 5436.882 | 1872.7038 |  |  | 1417.5 | 488.25 |  |  | 11232 | 3868.8
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
intangible benefits |  | CH | DE | CH | DE | CH | DE | CH | DE | CH | DE | CH | DE
Restaurant | Irish Pub | 228456.228 | 104437.1328 | 188838.65 | 86326.24 | 1209751.2 | 553029.12 | 981136.8 | 448519.68 | 45152279.2 | 20641041.92 | 37439234 | 17115078.4
| fast food | 1314779.466 | 601042.0416 | 364882.518 | 166803.4368 | 5036661 | 2302473.6 | 1390737.6 | 635765.76 | 233868538.4 | 106911331.84 | 65251236.4 | 29829136.64
| Queue fast food | 78926.848 | 36080.8448 | 19731.712 | 9020.2112 | 304819.2 | 139345.92 | 76204.8 | 34836.48 | 14412697.6 | 6588661.76 | 3603174.4 | 1647165.44
| medium restaurant | 130568.438 | 59688.4288 | 100045.946 | 45735.2896 | 438177.6 | 200309.76 | 304819.2 | 139345.92 | 23139135.6 | 10577890.56 | 17903272.8 | 8184353.28
Doctors Office | Waiting room | 7861.854 | 3593.9904 | 4008.004 | 1832.2304 | 45246.6 | 20684.16 | 21432.6 | 9797.76 | 1632688.4 | 746371.84 | 788194.4 | 360317.44
Hospital | Neuro Göppingen | 7399.392 | 3382.5792 | 3699.696 | 1691.2896 | 28576.8 | 13063.68 | 14288.4 | 6531.84 | 1351190.4 | 617687.04 | 675595.2 | 308843.52
| Neuro Dortmund | 36996.96 | 16912.896 | 15415.4 | 7047.04 | 142884 | 65318.4 | 59535 | 27216 | 6755952 | 3088435.2 | 2814980 | 1286848
| Warteraum Thun | 5857.852 | 2677.8752 | 3083.08 | 1409.408 | 23814 | 10886.4 | 9525.6 | 4354.56 | 1069692.4 | 489002.24 | 562996 | 257369.6
Office | Frankfurt 5.17 | 308.308 | 140.9408 |  |  | 1905.12 | 870.912 |  |  | 67559.52 | 30884.352
| Frankfurt 5.08 | 14798.784 | 6765.1584 |  |  | 76204.8 | 34836.48 |  |  | 3040178.4 | 1389795.84
| Frankfurt 5.16 | 3468.465 | 1585.584 |  |  | 17860.5 | 8164.8 |  |  | 844494 | 386054.4
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
Sum of Benefits (without intangible benefits) |  | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€)
Restaurant | Irish Pub | 368176.4986 | 126792.7175 | 304329.427 | 104805.0465 | 174752 | 60909.2 | 141728 | 49398.8 | 1237325.6 | 293872.048 | 1025962 | 243671.96
| fast food | 2118878.1084 | 729699.7891 | 588038.9826 | 202509.0164 | 727560 | 253588.5 | 200896 | 70021.6 | 6408791.2 | 1522125.296 | 1788105.2 | 424685.416
| Queue fast food | 127197.2789 | 43804.2317 | 31799.3197 | 10951.0579 | 44032 | 9811.2 | 11008 | 3836.8 | 394956.8 | 93804.544 | 98739.2 | 23451.136
| medium restaurant | 210422.0609 | 72465.2036 | 161232.4883 | 55525.2859 | 63296 | 22061.6 | 44032 | 15347.2 | 634090.8 | 150600.264 | 490610.4 | 116522.832
Doctors Office | Waiting room | 12670.0415 | 4363.3121 | 6459.2368 | 2224.4336 | 6536 | 2278.1 | 3096 | 1079.1 | 44741.2 | 10626.296 | 21599.2 | 5129.936
Hospital | Neuro Göppingen | 11924.7449 | 4106.6467 | 5962.3724 | 2053.3234 | 4128 | 1438.8 | 2064 | 719.4 | 37027.2 | 8794.176 | 18513.6 | 4397.088
| Neuro Dortmund | 59623.7245 | 20533.2336 | 24843.2185 | 8555.514 | 20640 | 7194 | 8600 | 2997.5 | 185136 | 43970.88 | 77140 | 18321.2
| Warteraum Thun | 9440.423 | 3251.0953 | 4968.6437 | 1711.1028 | 3440 | 1199 | 1376 | 479.6 | 29313.2 | 6962.056 | 15428 | 3664.24
Office | Frankfurt 5.17 | 496.8644 | 171.1103 |  |  | 275.2 | 95.92 |  |  | 1851.36 | 439.7088
| Frankfurt 5.08 | 23849.4898 | 8213.2934 |  |  | 11008 | 3836.8 |  |  | 83311.2 | 19786.896
| Frankfurt 5.16 | 5589.7242 | 1924.9906 |  |  | 2580 | 899.25 |  |  | 23142 | 5496.36
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
Sum of all benefits per lamp (without intangible benefits) |  | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€)
Restaurant | Irish Pub | 40908.4998 | 14088.0797 | 33814.3808 | 11645.0052 | 19416.8889 | 6767.6889 | 15747.5556 | 5488.7556 | 137480.6222 | 32652.4498 | 113995.7778 | 27074.6622
| fast food | 162990.6237 | 56130.753 | 45233.7679 | 15577.6166 | 55966.1538 | 19506.8077 | 15453.5385 | 5386.2769 | 492983.9385 | 117086.5612 | 137546.5538 | 32668.1089
| Queue fast food | 127197.2789 | 43804.2317 | 31799.3197 | 10951.0579 | 44032 | 9811.2 | 11008 | 3836.8 | 394956.8 | 93804.544 | 98739.2 | 23451.136
| medium restaurant | 30060.2944 | 10352.1719 | 23033.2126 | 7932.1837 | 9042.2857 | 3151.6571 | 6290.2857 | 2192.4571 | 90584.4 | 21514.3234 | 70087.2 | 16646.1189
Doctors Office | Waiting room | 12670.0415 | 4363.3121 | 6459.2368 | 2224.4336 | 6536 | 2278.1 | 3096 | 1079.1 | 44741.2 | 10626.296 | 21599.2 | 5129.936
Hospital | Neuro Göppingen | 11924.7449 | 4106.6467 | 5962.3724 | 2053.3234 | 4128 | 1438.8 | 2064 | 719.4 | 37027.2 | 8794.176 | 18513.6 | 4397.088
| Neuro Dortmund | 59623.7245 | 20533.2336 | 24843.2185 | 8555.514 | 20640 | 7194 | 8600 | 2997.5 | 185136 | 43970.88 | 77140 | 18321.2
| Warteraum Thun | 1888.0846 | 650.2191 | 993.7287 | 342.2206 | 688 | 239.8 | 275.2 | 95.92 | 5862.64 | 1392.4112 | 3085.6 | 732.848
Office | Frankfurt 5.17 | 496.8644 | 171.1103 |  |  | 275.2 | 95.92 |  |  | 1851.36 | 439.7088
| Frankfurt 5.08 | 2981.1862 | 1026.6617 |  |  | 1376 | 479.6 |  |  | 10413.9 | 2473.362
| Frankfurt 5.16 | 1863.2414 | 641.6635 |  |  | 860 | 299.75 |  |  | 7714 | 1832.12
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
Benefits/costs ratio (without intangible benefits) |  | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€)
Restaurant | Irish Pub | 247.3523 | 83.3513 | 204.4578 | 68.897 | 117.4038 | 40.0407 | 95.2172 | 32.4739 | 831.2733 | 193.1864 | 689.2728 | 160.1857
| fast food | 965.9681 | 325.5064 | 268.0791 | 90.3357 | 331.6848 | 113.1214 | 91.5858 | 31.2354 | 2921.6819 | 678.9936 | 815.1732 | 189.4448
| Queue fast food | 753.8379 | 254.024 | 188.4595 | 63.506 | 260.9568 | 56.8959 | 65.2392 | 22.2499 | 2340.7215 | 543.9794 | 585.1804 | 135.9949
| medium restaurant | 181.1799 | 61.0529 | 138.8261 | 46.7808 | 54.4998 | 18.5872 | 37.9129 | 12.9302 | 545.9716 | 126.8828 | 422.4306 | 98.1721
Doctors Office | Waiting room | 75.7218 | 25.5163 | 38.6033 | 13.0083 | 39.0621 | 13.3221 | 18.5031 | 6.3105 | 267.3934 | 62.1417 | 129.0865 | 29.9995
Hospital | Neuro Göppingen | 71.2676 | 24.0153 | 35.6338 | 12.0077 | 24.6708 | 8.414 | 12.3354 | 4.207 | 221.2911 | 51.4276 | 110.6455 | 25.7138
| Neuro Dortmund | 356.338 | 120.0767 | 148.4742 | 50.032 | 123.3538 | 42.0699 | 51.3974 | 17.5291 | 1106.4553 | 257.1382 | 461.0231 | 107.1409
| Warteraum Thun | 11.1898 | 3.7707 | 5.8894 | 1.9846 | 4.0774 | 1.3906 | 1.631 | 0.55625 | 34.7451 | 8.0747 | 18.2869 | 4.2498
Office | Frankfurt 5.17 | 2.9695 | 1.0006 |  |  | 1.6447 | 0.56093 |  |  | 11.0646 | 2.5714
| Frankfurt 5.08 | 17.8169 | 6.0038 |  |  | 8.2236 | 2.8047 |  |  | 62.2381 | 14.464
| Frankfurt 5.16 | 11.1356 | 3.7524 |  |  | 5.1397 | 1.7529 |  |  | 46.1023 | 10.7141
| All | normal winter high activity |  | normal winter low activity |  | pandemic peak high activity |  | pandemic peak low activity |  | severe pandemic high activity |  | severe pandemic low activity
ICER far-UVC vs HEPA |  | CH ($) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€) | CH (CHF) | DE (€)
Restaurant | Irish Pub | 282.1093
| fast food |  | better compare to just ventilation?
Queue fast food
medium restaurant
Doctors Office | Waiting room
Hospital | Neuro Göppingen
Neuro Dortmund
Warteraum Thun
Office | Frankfurt 5.17
Frankfurt 5.08
Frankfurt 5.16
Costs from far-UVC implementation
Restaurant | Irish Pub | 1488.4703
| fast food | 2193.5281
| Queue fast food | 168.7329
| medium restaurant | 1161.3988
Doctors Office | Waiting room | 167.3235
Hospital | Neuro Göppingen | 167.3235
| Neuro Dortmund | 167.3235
| Warteraum Thun | 843.6646
Office | Frankfurt 5.17 | 167.3235
| Frankfurt 5.08 | 1338.5882
| Frankfurt 5.16 | 501.9706

## Per Capita benefits
[5 empty] | normal winter high activity |  |  |  | covid-like pandemic high activity |  |  |  | severe pandemic
Setting | How many in CH? |  | Source |  | Benefits-Costs for 1 | Benefits-costs for all | Avoided sick days for 1 | Avoided sick days for all | Benefits-Costs for 1 | Benefits-costs for all | Avoided sick days for 1 | Avoided sick days for all | Benefits-Costs for 1 | Benefits-costs for all | Avoided sick days for 1 | Avoided sick days for all
Restaurants ("Gastronomiebetriebe") |  | 32600 | https://de.statista.com/statistik/daten/studie/500866/umfrage/gastronomiebetriebe-in-der-schweiz/ | https://www.nzz.ch/zuerich/zuerich-gastronomie-experte-peter-herzog-es-gibt-zu-viele-restaurants-ld.1752260 | 339829.1002 | 11078428665.2509 | 568.5233 | 18533860.884 | 500312.2012 | 16310177759.6416 | 96.6 | 3149160 | 23781271.4012 | 775269447679.6416 | 854.88 | 27869088
Bars & Clubs | 94 (in Zurich) | 300 | https://www.20min.ch/story/bars-und-clubs-machen-198-millionen-fr-umsatz-840380386389 |  | 595144.2564 | 178543276.9055 | 994.748 | 298424.412 | 1383014.7297 | 414904418.9232 | 266.7 | 80010 | 46406081.1297 | 13921824338.9232 | 1668.16 | 500448
large Fast Food places | 8.7% | 100 | https://www.htr.ch/edition-francaise/article/fast-food-hotspots-schweiz-jedes-zehnte-restaurant-33925 |  | 950727.9725 | 95072797.253 | 1588.7777 | 158877.774 | 1589440.0719 | 158944007.1936 | 306.6 | 30660 | 67063109.6719 | 6706310967.1936 | 2410.72 | 241072
[8 empty] | 0 | [5 empty] | 0 |  | 0
Waiting rooms GP |  | 17233 | https://www.bfs.admin.ch/asset/de/28085082 |  | 10299.9173 | 177498474.7909 | 17.4517 | 300745.4908 | 24361.2765 | 419817877.5798 | 4.725 | 81425.925 | 809939.8765 | 13957693891.3798 | 29.12 | 501824.96
Emergency rooms | 1,6 Mio Notaufnahmen | 278 | https://de.statista.com/themen/4556/krankenhaeuser-in-der-schweiz/#topicOverview | https://www.obsan.admin.ch/sites/default/files/obsan_bulletin_2013-03_d.pdf | 7208.0591 | 2003840.4203 | 13.4244 | 3731.9832 | 10057.9354 | 2796106.0301 | 2.1 | 583.8 | 577804.3354 | 160629605.2301 | 20.8 | 5782.4
Hospital waiting rooms |  | 1390 |  |  | 24793.02 | 34462297.7559 | 41.6156 | 57845.7396 | 42076.3765 | 58486163.3072 | 8.1375 | 11311.125 | 1793641.4765 | 2493161652.3072 | 64.48 | 89627.2
Single offices 10m^2 |  | 100000 | calculation and assumption | [8 empty] | 0 |  | 0 |  | 0
Office (small) | 59,44 Mio m^2 Bürofläche | 300000 | https://de.statista.com/statistik/daten/studie/494208/umfrage/bestand-an-bueroflaechen-in-der-schweiz/ |  | 637.8489 | 191354655.1771 | 1.3424 | 402732 | 2012.9965 | 603898944 | 0.42 | 126000 | 69270.4365 | 20781130944 | 2.496 | 748800
Office (large) |  | 10000 | calculation and assumption |  | 37309.6856 | 373096856.2834 | 64.4371 | 644371.2 | 85874.2118 | 858742118.4 | 16.8 | 168000 | 3123360.6118 | 31233606118.4 | 112.32 | 1123200
Office (medium) |  | 40000 | calculation and assumption |  | 8556.2186 | 342248744.3657 | 15.1024 | 604098 | 19938.5294 | 797541177.6 | 3.9375 | 157500 | 867470.0294 | 34698801177.6 | 31.2 | 1248000
Huge offices (300m^2) |  | 10000 | calculation and assumption
[6 empty] | 1378.4615 |  | 2.3869 |  | 2139.519 |  | 0.43235 |  | 98241.3415 |  | 3.6736
[6 empty] | CHF/capita |  | Sick days/capita |  | CHF/capita |  | Sick days/capita |  | CHF/capita |  | Sick days/capita
[6 empty] | 12130460863.8371 |  |  |  | 18827767395.0755 |  |  |  | 864523805197.0757
Bevölkerung CH | 8800000 | [8 empty] | CHF total |  |  |  | CHF total
[10 empty] | 16884026185.7584 |  |  |  | 795897582985.7584
[10 empty] | CHF restaurants only |  |  |  | CHF restaurants only
Total results:
|  | CHF/capita | sick days avoided/capita |  | sick days avoided for all
| normal winter | 1380 | 2.4 |  | 21004687.4836
| covid-like pandemic peak | 2140 | 0.4
| severe pandemic | 98240 | 3.7

## Per Capita ben. wo intangible
[5 empty] | normal winter high activity |  |  |  | covid-like pandemic high activity |  |  |  | severe pandemic
Setting | Anzahl in der Schweiz |  | Quelle |  | Benefits-Costs for 1 | Benefits-costs for all | Avoided sick days for 1 | Avoided sick days for all | Benefits-Costs for 1 | Benefits-costs for all | Avoided sick days for 1 | Avoided sick days for all | Benefits-Costs for 1 | Benefits-costs for all | Avoided sick days for 1 | Avoided sick days for all
Restaurants (Gastronomiebetriebe) | 23200 | 32600 | https://de.statista.com/statistik/daten/studie/500866/umfrage/gastronomiebetriebe-in-der-schweiz/ | https://www.nzz.ch/zuerich/zuerich-gastronomie-experte-peter-herzog-es-gibt-zu-viele-restaurants-ld.1752260 | 209260.6622 | 6821897586.4509 | 568.5233 | 18533860.884 | 62134.6012 | 2025587999.6416 | 96.6 | 3149160 | 632929.4012 | 20633498479.6416 | 854.88 | 27869088
Bars & Clubs | 94 (Zürich) | 300 | https://www.20min.ch/story/bars-und-clubs-machen-198-millionen-fr-umsatz-840380386389 |  | 366688.0284 | 110006408.5055 | 994.748 | 298424.412 | 173263.5297 | 51979058.9232 | 266.7 | 80010 | 1235837.1297 | 370751138.9232 | 1668.16 | 500448
große Fast Food Lokale? | 8.7% | 100 | https://www.htr.ch/edition-francaise/article/fast-food-hotspots-schweiz-jedes-zehnte-restaurant-33925 |  | 585845.4545 | 58584545.453 | 1588.7777 | 158877.774 | 198702.4719 | 19870247.1936 | 306.6 | 30660 | 1785911.6719 | 178591167.1936 | 2410.72 | 241072
[8 empty] | 0 | [5 empty] | 0 |  | 0
Wartezimmer GP |  | 17233 | https://www.bfs.admin.ch/asset/de/28085082 |  | 6291.9133 | 108428541.8589 | 17.4517 | 300745.4908 | 2928.6765 | 50469881.7798 | 4.725 | 81425.925 | 21431.8765 | 369335527.3798 | 29.12 | 501824.96
Krankenhäuser Notaufnahmen | 1,6 Mio Notaufnahmen | 278 | https://de.statista.com/themen/4556/krankenhaeuser-in-der-schweiz/#topicOverview | https://www.obsan.admin.ch/sites/default/files/obsan_bulletin_2013-03_d.pdf | 4124.9791 | 1146744.1803 | 13.4244 | 3731.9832 | 532.3354 | 147989.2301 | 2.1 | 583.8 | 14584.3354 | 4054445.2301 | 20.8 | 5782.4
KH Wartezimmer |  | 1390 |  |  | 15235.472 | 21177306.0359 | 41.6156 | 57845.7396 | 5164.6765 | 7178900.3072 | 8.1375 | 11311.125 | 47659.4765 | 66246672.3072 | 64.48 | 89627.2
Einzelbüros 10m^2 |  | 100000 | calculation and assumption | [8 empty] | 0 |  | 0 |  | 0
Büros (klein) | 59,44 Mio m^2 Bürofläche | 300000 | https://de.statista.com/statistik/daten/studie/494208/umfrage/bestand-an-bueroflaechen-in-der-schweiz/ |  | 329.5409 | 98862255.1771 | 1.3424 | 402732 | 107.8765 | 32362944 | 0.42 | 126000 | 1684.0365 | 505210944 | 2.496 | 748800
Büros (groß) |  | 10000 | calculation and assumption |  | 22510.9016 | 225109016.2834 | 64.4371 | 644371.2 | 9669.4118 | 96694118.4 | 16.8 | 168000 | 81972.6118 | 819726118.4 | 112.32 | 1123200
Büros (mittel) |  | 40000 | calculation and assumption |  | 5087.7536 | 203510144.3657 | 15.1024 | 604098 | 2078.0294 | 83121177.6 | 3.9375 | 157500 | 22640.0294 | 905601177.6 | 31.2 | 1248000
Riesige Büros 300m^2 |  | 10000 | calculation and assumption
[6 empty] | 846.0469 |  | 2.3869 |  | 259.5785 |  | 0.43235 |  | 2607.6607 |  | 3.6736
| 14500000 | 1820000 | 1500000 |  |  | CHF/capita |  | Sick days/capita |  | CHF/capita |  | Sick days/capita |  | CHF/capita |  | Sick days/capita
Bevölkerung CH | 8800000
|  | CHF/capita | sick days avoided/capita
| normal winter | 850 | 2.4
| covid-like pandemic peak | 260 | 0.4
| severe pandemic | 2610 | 3.7

## Costs
|  | optimistic | Baseline ($) | CHF | pessimistic |  | Source
Purchase+Installation Cost per Unit ($) |  | 800 | 1500 | 1365 | 2500 |  | expert estimate; assume to be expected again in full after lamp lifecycle
Energy Usage per Unit (W) |  | 6 | 11 |  | 16 |  | Ushio
Lamp Lifecycle (Hours) |  | 20000 | 15000 |  | 10000 |  | https://onlinelibrary.wiley.com/doi/full/10.1002/gch2.202200236 | https://uv-can.com/products/carnation-far-uv-ceiling-light | https://www.egms.de/static/en/journals/dgkh/2021-16/dgkh000378.shtml
Maintenance Costs per Unit (% of P+I) |  | 1% | 2% |  | 5% |  | NERA Study https://raeng.org.uk/media/fupdixju/nera-social-cost-benefit-analysis.pdf
Energy Cost ($/kWh) |  | 0.4 | 0.4 |  | 0.4 |  | d-fine internal estimation (Flamingo project)
Total costs per year |  | 113.8304 | 290.5824 | 264.43 | 764.9744
working hours (8h*6d*52w): | 2496 | [5 empty] | 6.0096 | Expected lifespan of lamp
|  |  | Baseline with 10 years lifespan limit | Baseline without limit on lifespan |  |  | Annual costs per setting given the lamps are always turned on during business hours up to a maximum of 8h/day and only during winter (22 weeks)
Office, waiting rooms working hours (8h*5*22w) | 880 | 40.1325 | 183.872 | 102.4489 | 269.7025 |  | 17.0455 | Assumption: max lifespan of 10 years
Hospital Thun, fast food hours (8h*7d*22w) | 1232 | 56.1855 | 185.4208 | 143.4285 | 377.5835 |  | 12.1753
restaurant working hours (4h*6d*22w) | 528 | 24.0795 | 182.3232 | 61.4694 | 161.8215 |  | 28.4091
irish pub hours (3h*6d*22w) | 396 | 18.0596 | 181.7424 | 46.102 | 121.3661 |  | 37.8788
| 1$ | 0.91 | CHF
| 1$ | 0.93 | €
lamps increase ozone conc by 10 ppm | 3.5e-08 | DALYs lost | 0.006125 | CHF cost per person per hour exposure |  | DALY harm | https://www.tandfonline.com/doi/full/10.1080/14733315.2023.2198800
[6 empty] | ozone from GUV | https://chemrxiv.org/engage/chemrxiv/article-details/665a5c8d91aefa6ce17d493a
e.g. irish pub | 165.7425 | cost per season |  |  |  |  | https://pubs.acs.org/doi/suppl/10.1021/acs.estlett.3c00314/suppl_file/ez3c00314_si_001.pdf
[6 empty] | 6L/h breathing | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC8672270/
Hepa Filter |  |  | first 3 years |  | following years | average over 10 years
3 years 600€ | https://www.philips.de/c-p/AC4236_10/series-4000i-luftreiniger
new Filter 100€ | https://www.philips.de/c-w/search.html#q=%20FY4440%2F30&cq=%40ps_contenttype_key%3D%3Dproduct
60 Watt
Office, waiting rooms working hours (8h*5*22w) | 880 |  | 221.12 |  | 54.4533 | 104.4533
Hospital Thun, fast food hours (8h*7d*22w) | 1232 |  | 229.568 |  | 62.9013 | 112.9013
restaurant working hours (4h*6d*22w) | 528 |  | 212.672 |  | 46.0053 | 96.0053
irish pub hours (3h*6d*22w) | 396 |  | 209.504 |  | 42.8373 | 92.8373
|  |  | #Lamps |  | #Filter |  | Kosten Lamps | Kosten Filter |  | Differenz | %
Restaurant | Irish Pub |  | 9 |  | 8 |  | 1635.6816 | 1676.032 |  | 40.3504 | 102.5%
| fast food |  | 13 |  | 11 |  | 2410.4704 | 2525.248 |  | 114.7776 | 104.8%
| Queue fast food |  | 1 |  | 1 |  | 185.4208 | 229.568 |  | 44.1472 | 123.8%
| medium restaurant |  | 7 |  | 6 |  | 1276.2624 | 1276.032 |  | -0.2304 | 99.98%
Doctors Office | Waiting room |  | 1 |  | 1 |  | 183.872 | 221.12 |  | 37.248 | 120.3%
Hospital | Neuro Göppingen |  | 1 |  | 1 |  | 183.872 | 221.12 |  | 37.248 | 120.3%
| Neuro Dortmund |  | 1 |  | 1 |  | 183.872 | 221.12 |  | 37.248 | 120.3%
| Warteraum Thun |  | 5 |  | 4 |  | 927.104 | 918.272 |  | -8.832 | 99.05%
Office | Frankfurt 5.17 |  | 1 |  | 1 |  | 183.872 | 221.12 |  | 37.248 | 120.3%
| Frankfurt 5.08 |  | 8 |  | 7 |  | 1470.976 | 1547.84 |  | 76.864 | 105.2%
| Frankfurt 5.16 |  | 3 |  | 3 |  | 551.616 | 663.36 |  | 111.744 | 120.3%
Note on G7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Aktuell kostet die kWh in Deutschland fast 40Cent im durchschnitt In der Schweiz 30Rappen
Note on B13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Vermutlich sollten wir hier mit den Stunden noch hoch gehen oder?
Note on B14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: In den Assumptions bin ich von Di & Mi 3h Do-Sa 6h ausgegangen das wären dann 528 wie im Beispiel drüber...

## Graphs
Sum of Benefits Split up
|  | Benefits health care system | Benefits national economy | intangible benefits
normal winter | restaurant | 5753.6585 | 204668.4024 | 130568.438 | 341198.3849
| waiting room | 288.7019 | 10269.666 | 6551.545 | 17212.8138
| office | 652.1266 | 23197.3632 | 14798.784 | 38050.0528
|  | 6694.487 | 238135.4316 | 151918.767
|  | Benefits health care system | Benefits national economy | intangible benefits
pandemic peak | restaurant | 28520 | 34776 | 438177.6 | 501473.6
| waiting room | 1705 | 2079 | 26195.4 | 29979.4
| office | 4960 | 6048 | 76204.8 | 87212.8
|  | 35185 | 42903 | 540577.8
|  | Benefits health care system | Benefits national economy | intangible benefits
severe pandemic | restaurant | 326334 | 307756.8 | 23148342 | 23782432.8
| waiting room | 17071 | 16099.2 | 1210923 | 1244093.2
| office | 42876 | 40435.2 | 3041388 | 3124699.2
|  | 386281 | 364291.2 | 27400653
DISCARDED IDEAS:
Benefits health care system
normal winter | avg restaurant | 5961.5445
| avg waiting room | 391.6028
| avg office | 53.9056
6407.0529
Benefits health care system
normal winter | restaurant avg activity | 5081.153
| avg waiting room average activity | 464.4704
| large office | 652.1266
6197.75
Benefits health care system
pandemic peak | restaurant avg activity | 24180
| avg waiting room average activity | 2809.375
| large office | 4960
RESTAURANTS
raw data |  | Benefits health care system | Benefits national economy | intangible benefits
| normal winter | 5753.6585 | 204668.4024 | 130568.438
| pandemic peak | 28520 | 34776 | 11093751.9
| severe pandemic | 326334 | 307756.8 | 23139135.6
rounded to 50 |  | Benefits health care system | Benefits national economy | intangible benefits
| normal winter | 5750 | 204650 | 130550
| pandemic peak | 28500 | 34800 | 11093750
| severe pandemic | 326350 | 307750 | 23139150
| WAITING ROOM | Benefits health care system | Benefits national economy | intangible benefits
| normal winter | 288.7019 | 10269.666 | 6551.545
| pandemic peak | 1705 | 2079 | 26195.4
| severe pandemic | 17071 | 16099.2 | 1210923
rounded to 50 |  | Benefits health care system | Benefits national economy | intangible benefits
| normal winter | 300 | 10250 | 6550
| pandemic peak | 1700 | 2100 | 26200
| severe pandemic | 17050 | 16100 | 1210900
raw data | Sum of all benefits all restaurant types
|  | normal winter | covid-like pandemic peak | severe pandemic
| Irish Pub | 596632.7266 | 19585543.4 | 46389604.8
| fast food | 952921.5006 | 1591633.6 | 67039341.6
| Queue fast food | 51531.0317 | 87212.8 | 3701913.6
| medium restaurant | 340990.4989 | 11157047.9 | 23773226.4
rounded to 50 |  | normal winter | covid-like pandemic peak | severe pandemic
| Irish Pub | 596650 | 19585550 | 46389600
| fast food | 952900 | 1591650 | 67039350
| Queue fast food | 51550 | 87200 | 3701900 |  |  | restaurant | waiting room | office
| medium restaurant | 341000 | 11157050 | 23773250 |  | normal winter | 290 | 90 | 30
[6 empty] | covid-like pandemic peak | 9610 | 170 | 950
[6 empty] | severe pandemic | 20470 | 6740 | 2330
| Benefits/costs ratio |  | normal winter | covid-like pandemic peak | severe pandemic |  | Irish Pub | fast food | Queue fast food | medium restaurant | Waiting room | Neuro Göppingen | Neuro Dortmund | Warteraum Thun | Frankfurt 5.17 | Frankfurt 5.08 | Frankfurt 5.16
| Restaurant | Irish Pub | 400.8362 | 13158.1691 | 31165.9602 | normal winter | 400.8362 | 434.4241 | 305.4 | 294 | 62.5569 | 57.7448 | 240.6035 | 9.5437 | 4.8121 | 28.8724 | 18.0453
|  | fast food | 434.4241 | 725.6044 | 30562.3359 | covid-like pandemic peak | 13158.1691 | 725.6044 | 516.8689 | 9606.5607 | 146.5939 | 97.7292 | 407.2052 | 12.9217 | 158.2001 | 947.556 | 592.2225
|  | Queue fast food | 305.4 | 516.8689 | 21939.4853 | severe pandemic | 31165.9602 | 30562.3359 | 21939.4853 | 20469.4776 | 4839.6878 | 4148.3038 | 17284.5993 | 685.6089 | 414.8304 | 2333.4209 | 1728.4599
|  | medium restaurant | 294 | 9606.5607 | 20469.4776
| Doctors Office | Waiting room | 62.5569 | 146.5939 | 4839.6878
| Hospital | Neuro Göppingen | 57.7448 | 97.7292 | 4148.3038
|  | Neuro Dortmund | 240.6035 | 407.2052 | 17284.5993
|  | Warteraum Thun | 9.5437 | 12.9217 | 685.6089
| Office | Frankfurt 5.17 | 4.8121 | 158.2001 | 414.8304
|  | Frankfurt 5.08 | 28.8724 | 947.556 | 2333.4209
|  | Frankfurt 5.16 | 18.0453 | 592.2225 | 1728.4599

## Selected infectious diseases
Name of disease | Time period | Number of registered diseases | Number of hospitalisation | Hospitalisation rate | Number of deaths | Mortality rate | Mortality hospitalisation | Estimation of long term effects | Source
Influenza 2022/23 | KW 40 2022 - KW 39 2023 | 294039 | 43036 | 14.64% | 1096 | 0.3727% | 2.547% | - | Number of registered diseases:https://influenza.rki.de/Wochenberichte/2022_2023/2023-39.pdf (Tab.2) Hospitalisation rate:https://influenza.rki.de/Wochenberichte/2022_2023/2023-39.pdf (Tab.2) Mortality rate:https://influenza.rki.de/Wochenberichte/2022_2023/2023-39.pdf (Tab.2) Estimation of long term effects:
Influenza 2023/24 | KW 40 2023 - KW 52 2023 | 16618 | 3437 | 20.68% | 42 | 0.2527% | 1.222% | - | Number of registered diseases:https://influenza.rki.de/Wochenberichte/2023_2024/2023-52.pdf (Tab.3) Hospitalisation rate:https://influenza.rki.de/Wochenberichte/2023_2024/2023-52.pdf (Tab.3) Mortality rate:https://influenza.rki.de/Wochenberichte/2023_2024/2023-52.pdf (Tab.3) Estimation of long term effects:
COVID-19 2022/23 | KW 40 2022 - KW 39 2023 | 5035474 | 287799 | 5.715% | 22266 | 0.4422% | 7.737% | 3 %- 14% | Number of registered diseases:https://influenza.rki.de/Wochenberichte/2022_2023/2023-39.pdf (Tab.2) Hospitalisation rate:https://influenza.rki.de/Wochenberichte/2022_2023/2023-39.pdf (Tab.2) Mortality rate:https://influenza.rki.de/Wochenberichte/2022_2023/2023-39.pdf (Tab.2) Estimation of long term effects: https://www.rki.de/SharedDocs/FAQ/NCOV2019/FAQ_Liste_Gesundheitliche_Langzeitfolgen.html ¦ https://academic.oup.com/ofid/article/10/7/ofad233/7150886 ¦ https://www.nature.com/articles/s41467-022-30836-0 ¦ Test results are not unambiguous, because there is often a lack of comparability. RKI lists various studies Long Covid can be estimated at approx. 3% - 14%. The effects of Long Covid can vary significantly.
COVID-19 2023 | KW 40 2023 - KW 52 2023 | 269196 | 87589 | 32.54% | 3576 | 1.328% | 4.083% | 3 %- 14% | Number of registered diseases:https://influenza.rki.de/Wochenberichte/2023_2024/2023-52.pdf (Tab.3) Hospitalisation rate:https://influenza.rki.de/Wochenberichte/2023_2024/2023-52.pdf (Tab.3) Mortality rate:https://influenza.rki.de/Wochenberichte/2023_2024/2023-52.pdf (Tab.3) Estimation of long term effects:
Respiratory syncytial virus (RSV) | KW 40 2023 - KW 52 2023 | 14543 | 4320 | 29.71% | - | - | - | - | Number of registered diseases:https://influenza.rki.de/Wochenberichte/2023_2024/2023-52.pdf (Tab.4) Hospitalisation rate:https://influenza.rki.de/Wochenberichte/2023_2024/2023-52.pdf (Tab.4) Mortality rate:Results on mortality are not yet available in Germany Estimation of long term effects:
Tuberculosis (TB) | 2022 | 4076 | 3740 | 91.76% | 116 | 2.846% | 3.102% | - | Number of registered diseases:https://www.rki.de/DE/Content/InfAZ/T/Tuberkulose/Download/TB2022.pdf?__blob=publicationFile (p. 13) Hospitalisation rate:https://www.rki.de/DE/Content/InfAZ/T/Tuberkulose/Download/TB2022.pdf?__blob=publicationFile (p.27) Mortality rate:https://www.rki.de/DE/Content/InfAZ/T/Tuberkulose/Download/TB2022.pdf?__blob=publicationFile (p.48) Estimation of long term effects:
Tuberculosis (TB) | 2019 | 4791 | 4400 | 91.84% | 129 | 2.693% |  | - | Number of registered diseases: https://edoc.rki.de/bitstream/handle/176904/6987/TB2019.pdf?sequence=1&isAllowed=y (p. 17) Hospitalisation rate:https://edoc.rki.de/bitstream/handle/176904/6987/TB2019.pdf?sequence=1&isAllowed=y (p.33) Mortality rate:https://influenza.rki.de/Wochenberichte/2023_2024/2023-52.pdf (p.57) Estimation of long term effects:
Whooping cough (Dt. Keuchhusten) | 2019 | 10302 | 494 | 4.795% | 0 | 0% |  | - | Number of registered diseases: https://www.rki.de/DE/Content/Infekt/Jahrbuch/Jahrbuch_2019.pdf?__blob=publicationFile (S.147) Hospitalisation rate: https://www.rki.de/DE/Content/Infekt/Jahrbuch/Jahrbuch_2019.pdf?__blob=publicationFile (S.148) / Number of hospitalisation caused by Whooping cough Mortality rate: https://www.rki.de/DE/Content/Infekt/Jahrbuch/Jahrbuch_2019.pdf?__blob=publicationFile (S.155) Estimation of long term effects:
Pox | - | - | - | 100% | - | 30% |  | - | Hospitalisation rate: https://www.rki.de/DE/Content/Infekt/Biosicherheit/Agenzien/bg_pocken.pdf?__blob=publicationFile / Quarantine in designated facilities should be carried out for people who are ill due to pox Mortality rate: https://www.dzif.de/de/glossar/pocken / https://www.msdmanuals.com/de-de/profi/infektionskrankheiten/pockenviren/pocken
Plague | - | - | - | 100% | - | 8%-10% |  | - | Hospitalisation rate: https://www.rki.de/DE/Content/Infekt/EpidBull/Merkblaetter/Ratgeber_Pest.html#doc10166986bodyText12 (Treatment of the plague should take place in quarantine centres) Mortality rate: https://www.rki.de/SharedDocs/FAQ/Pest/FAQ_Liste.html Plaque Madagaskar: https://wwwnc.cdc.gov/eid/article/30/2/23-0759_article